## WS & SW
Schedule of Prices
REPAIR / RE-CONSTRUCTION / RENOVATION OF ELEMENTARY / PRIMARY & SECONDARY SCHOOL IN KARACHI @ G.B.L.S.S ECK ECK COLONY SADDAR TOWN, KARACHI ADP NO: 1612 / 2014-15.
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 5 | Nos | 5772.8 | Each | Rs. | 28864
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 2 | Nos | 11477.4 | Each | Rs. | 22955
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 4 | Nos | 4928 | Each | Rs. | 19712
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 4 | Nos | 2533.47 | Each | Rs. | 10134
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 4 | Nos | 2042.43 | Each | Rs. | 8170
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 4 | Nos | 1412.95 | Each | Rs. | 5652
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 4 | Nos | 2376 | Each | Rs. | 9504
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 2 | Nos | 4905.67 | Each | Rs. | 9811
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 1 | Nos | 37505.42 | Each | Rs. | 37505
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 2 | Nos | 1071.4 | Each | Rs. | 2143
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 5 | Nos | 14748 | Each | Rs. | 73740
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 3 | Nos | 200.42 | Each | Rs. | 601
| 3/4" dia | 3 | Nos | 271.92 | Each | Rs. | 816
| 1" dia | 3 | Nos | 365.42 | Each | Rs. | 1096
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 4 | Nos | 169.4 | Each | Rs. | 678
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 2 | Nos | 3179 | Each | Rs. | 6358
16 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1,d)
|  | 100 | Rft | 414 | P.Rft | Rs. | 41400
17 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 70 | Rft | 516 | P.Rft | Rs. | 36120
18 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 170 | Rft | 363.35 | P.Rft | Rs. | 61770
19 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/45-13,d).
|  | 170 | Rft | 102 | P.Rft | Rs. | 17340
20 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 1 | Nos | 26246.55 | Each | Rs. | 26247
[5 empty] | Total:. | Rs. | 442616
| SUB ENGINEER |  |  | ASSISTANT ENGINEER
EDU:WORKS SUB-DIV: SADDAR
KARACHI
______%above/below
NON SCHEDULE ITEMS :.
21 | P/F "U" P.V.C pipe of schedule 40 of Nepro plastic for waswte and vent pipe i/c cutting and fitting jointing special "U" P.V.C cement soulation as approved directed by D.O.Incharge (R.A).
| 4" dia | 200 | Rft | 324.39 | P.Rft | Rs. | 64878
| 6" dia | 100 | Rft | 400 | P.Rft | Rs. | 40000
22 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 6 | Nos | 2449.37 | Each | Rs. | 14696
23 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 20 | Nos | 395.34 | Each | Rs. | 7907
| 6" dia | 5 | s | 750 | Each | Rs. | 3750
24 | P/F "U" P.V.C Socket i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
| 4" dia | 20 | Nos | 305.14 | Each | Rs. | 6103
| 6" dia | 10 | Nos | 690 | Each | Rs. | 6900
25 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 945.78 | Each | Rs. | 9458
26 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
27 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 690 | Each | Rs. | 3450
28 | P/F "U" P.V.C tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
| 4" dia | 30 | Nos | 650 | Each | Rs. | 19500
29 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 20 | Nos | 800 | Each | Rs. | 16000
30 | P/F P.V.C Nepro make of Schedule 40 in/c cutting fitting complete in/c the cost of breaking through walls and roof and making good with c.c and testing with water to pressure head of 200 ft and handling etc complete (R.A).
| 1/2" dia | 30 | Rft | 45 | P.Rft | Rs. | 1350
| 3/4" dia | 150 | Rft | 58.91 | P.Rft | Rs. | 8837
| 1" dia | 200 | Rft | 91.68 | P.Rft | Rs. | 18336
31 | P/F P.V.C socket of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 37.8 | Each | Rs. | 378
| 3/4" dia | 10 | Nos | 45.8 | Each | Rs. | 458
| 1" dia | 10 | Nos | 55.48 | Each | Rs. | 555
32 | P/F P.V.C Elbow of Schedule 40 of 90 degree in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 20 | Nos | 54.95 | Each | Rs. | 1099
| 3/4" dia | 20 | Nos | 75.79 | Each | Rs. | 1516
| 1" dia | 20 | Nos | 140.25 | Each | Rs. | 2805
33 | P/F P.V.C union of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 1 | Nos | 350.88 | Each | Rs. | 351
| 3/4" dia | 5 | Nos | 381.13 | Each | Rs. | 1906
| 1" dia | 5 | Nos | 471.88 | Each | Rs. | 2359
34 | P/F P.V.C Tee of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 109.67 | Each | Rs. | 1097
| 3/4" dia | 10 | Nos | 136.29 | Each | Rs. | 1363
| 1" dia | 10 | Nos | 160.49 | Each | Rs. | 1605
35 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 4 | Nos | 61.7 | Each | Rs. | 247
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
36 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 6 | Nos | 260.7 | Each | Rs. | 1564
| 1" dia | 3 | Nos | 350.9 | Each | Rs. | 5614
37 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
38 | P/F cancelled stop cock of superior quality with crystal head 1/2" dia ((Master or equivalent ) (L.Q.R).
|  | 30 | Nos | 800 | Each | Rs. | 24000
39 | P/F long bib cock of superior crystal head with C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 20 | Nos | 1200 | Each | Rs. | 24000
40 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 20 | Nos | 800 | Each | Rs. | 16000
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 5.83 | Each | Rs. | 58
| 3/4" dia | 10 | Nos | 10.56 | Each | Rs. | 106
| 1" dia | 10 | Nos | 10.36 | Each | Rs. | 104
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 225.06 | Each | Rs. | 450
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C conceled stop cock 1/2" dia of schedule 40 in/c fitting etc complete as approved by the D.O.Incharge (R.A).
|  | 12 | Nos | 290.73 | Each | Rs. | 3489
44 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 10 | Nos | 69.03 | Each | Rs. | 690
| 3/4" dia | 10 | Nos | 89.65 | Each | Rs. | 897
| 1" dia | 5 | Nos | 154.66 | Each | Rs. | 773
|  |  | Cost of Non Sch: Items |  |  | Rs. | 319992
| SUB ENGINEER |  |  | ASSISTANT ENGINEER
EDU:WORKS SUB-DIV: SADDAR
KARACHI
______%above/below

## SCHEDULE B
Schedule of Prices
REPAIR / RE-CONSTRUCTION OF ELEMENTARY / PRIMARY & SECONDARY SCHOOL IN KARACHI @ G.B.L.S.S ECK ECK COLONY SADDAR TOWN, KARACHI ADP NO: 1612/ 2014-15.
S.NO. | Description of items |  |  | Quantity |  |  | Rate | Unit | Amount
SCHEDULE ITEMS :.
1 | Dismantling c.c.plain 1:2:4.(P/10-19,c)
| 1465.29 |  | 3327.5 |  | %Cft |  |  | Rs. | 48758
2 | Dismantling c.c.reinforced separating reinfor cement from concrete cleaning and straightening the same (P/10-20).
| 2475.11 |  | 5445 |  | %Cft |  |  | Rs. | 134770
3 | Dismantling cement block masonary (P/10-14)
| 3854.5 |  | 1134.38 |  | %Cft |  |  | Rs. | 43725
4 | Dismantling cement concrete plain 1:4:8 (P/10,19,a)
| 1494.28 |  | 1663.75 |  | %Sft |  |  | Rs. | 24861
5 | Excvation in foundation of building bridges and other structure i/c degbelling dressing refilling around structure with excvated earth watering and ramming lead upto 5 ft (b) ordinary soil (P/4-18,b).
| 12458 | Cft | 3176.25 |  | %0Cft |  |  | Rs. | 39570
6 | Random, rubble masonary (uncoused) (a) Dry Masonary (P/27-1,a).
| 2159.82 |  | 13051.5 |  | %Cft |  |  | Rs. | 281889
7 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:4:8 (P/16,5,I).
| 3543.16 | Cft | 11288.75 |  | %Cft |  |  | Rs. | 399978
8 | P/L single per layer of polythene sheet 0.13 mm thick for water proofing as per specification and instruction of Engineer Incharfge (P/38-38).
| 7086.32 | Sft | 10.7 |  | P.Sft |  |  | Rs. | 75824
9 | Hire charges of pumping set of upto 10 H.P.pumping out water from 10 ft deep trench (P/76-23,i) (P.H.E.S)
| 30 | day | 1500 |  | P.day |  |  | Rs. | 45000
10 | Extra salush or daldal.
| 7474.8 |  | 2420 |  | %0Cft |  |  | Rs. | 18089
11 | Bailing or pumping out sub soil water during excvation concreting, cost in situ concretew or masonary work in foundation etc (P/75-18).(P.H.E.S)
| 11563.5 |  | 543 |  | %Cft |  |  | Rs. | 62790
12 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,a-ii).
| 10330.38 |  | 337 |  | P.Cft |  |  | Rs. | 3481338
13 | Erection & removal of centering for R.C.C. or plain c.c.work or deodar wood (2nd class) (ii) for vertical (P/18-19,(ii) ).
| 3225 | Sft | 7000 |  | %Sft |  |  | Rs. | 225750
14 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:3:6 (P/16,5,h).
| 1459.13 | Cft | 12595 |  | %Cft |  |  | Rs. | 183777
15 | Damp proof course with cement sand and shingle concrete (1:2:4) including 2 coats of asphaltic mixture (b) 2" thick. (P/19-28,b)
| 872.65 |  | 3912.85 |  | %Sft |  |  | Rs. | 34145
16 | Damp proof course with cement sand Ratio (1:2) mixed with dampo (b) 3/4" thick (P/107-69,b).
| 8147.94 |  | 2401.58 |  | %Sft |  |  | Rs. | 195679
17 | Two coat of bitumen laid hout using 34 Lbs for % sft, over roof and blinded with sand at one cft per % Sft (P/35-13)
| 11935.59 | Sft | 1887.4 |  | %Sft |  |  | Rs. | 225272
18 | P/L 1:3:6 c.c.solid block masonary set in 1:6 C.M.in plinth and foundation i/c racking out joints and curing etc complete (P/19-22).
| 407.5 |  | 14268.53 |  | %Cft |  |  | Rs. | 58144
19 | P/L 1:3:6 c.c.solid block masonary wall 6" & below thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-24).
| 3460.13 |  | 15771.01 |  | %Cft |  |  | Rs. | 545697
20 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary wall) (P/52-11,d)
| 19352 |  | 3191.76 |  | %Sft |  |  | Rs. | 617669
21 | First class deodar wood wrought joinery doors & windows fixed in position i/c chowkets hold fasts hinges tower bolts chocks cleats handles cords with hook 1-3/4" thick (P/58-7,b) (Only shuttrs)
| 141.5 |  | 902.93 |  | P.Sft |  |  | Rs. | 127765
22 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 1480.5 |  | 49.97 |  | P.Rft |  |  | Rs. | 73981
23 | M/F Notice board made with cement on walls (P/95-1)
| 280 |  | 58.11 |  | P.Sft |  |  | Rs. | 16271
24 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 20 |  | 261.25 |  | Each |  |  | Rs. | 5225
25 | P/L 2" thick topping c.c.i/ surface finishing & dividing into the panells ratio 1:2:4. (P/42-16,c).
| 2951.5 |  | 3275.5 |  | %Sft |  |  | Rs. | 96676
26 | Providing and fixing deodar Almirah 9" - 12" depth i/c boxing with back shelves, shutters brass fittings complete (P/61-23)
| 36 |  | 1778.5 |  | P.Sft |  |  | Rs. | 64026
27 | Distempring three coats.(P/54-24,C)
| 4562.5 |  | 1079.65 |  | %Sft |  |  | Rs. | 49259
28 | P/L 3" thick topping c.c.i/ surface finishing & dividing into the panells ratio 1:2:4. (P/42-16,d).
| 1600 |  | 4411.82 |  | %Sft |  |  | Rs. | 70589
29 | Hard wood railing of any shape and design i/c bends and corners fixed in position i/c polishing complete as directed by Engineer Inchrage (a) Shisham wood) (62-30,a)
| 64 |  | 375.78 |  | P.Rft |  |  | Rs. | 24050
30 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 594 |  | 2116.41 |  | %Sft |  |  | Rs. | 12571
31 | Extra for lime mud or cement plaster and pointing from 12' and above (for each additional 10' height) (P/54-29)
| 9676 |  | 140.97 |  | %Sft |  |  | Rs. | 13640
32 | Extra labour for each storey above ground for mosaic, conglomerate or tiles, stone and wooden floor (P/42-18)
| 2590 |  | 680.64 |  | %Sft |  |  | Rs. | 17629
33 | Extra labour for two coat of bitumen 6% of composite rate.
| 2590 |  | 113.24 |  | %Sft |  |  | Rs. | 2933
34 | Add extra labour for R.C.C.(for first floor) (P/17-6,d).
| 3008.49 |  | 12.1 |  | P.Cft |  |  | Rs. | 36403
35 | Extra labour for lifting of steel above first floor for every additional floor (P/19-29).
| 295.15 |  | 151.25 |  | P.Cwt |  |  | Rs. | 44641
36 | Add Extra labour for block masonary in (first floor) (P/19-30,a)
| 1730.06 |  | 328.97 |  | %Cft |  |  | Rs. | 5691
[8 empty] | Rs. | 7404074
________%above/below
b) | Scheduel items such as fabricaton & steel works.
37 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 737.88 |  | 5001.7 |  | P.Cwt |  |  | Rs. | 3690675
39 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-29).
| 335 |  | 228.9 |  | P.Rft |  |  | Rs. | 76682
40 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for windows using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-28).
| 74 |  | 240.5 |  | P.Rft |  |  | Rs. | 17797
38 | S/F in position iron steel grill 3/4"x1/4" approved design & shape i/c painting 3 coats.(P93-26).
| 1262.5 |  | 180.5 |  | P.Sft |  |  | Rs. | 227881
42 | M/F steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement (P/92-24).
| 128 |  | 726.72 |  | P.Sft |  |  | Rs. | 93020
41 | M/F grating in opening i/c fixing at site with flat iron 2"x3/8" and 3/4" bars at 4" centre to centre (P/92-25)
| 192 |  | 293.15 |  | P.Sft |  |  | Rs. | 56285
[8 empty] | Total Part (b) | 4162340
________%above/below
c) | Schedule items which stands 20% below.
43 | P/F in position, doors windows and ventilators of first class deodar wood frames, and 1-1/2" thick teak wood, ply shutters of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood and Teak Ply wood (3-ply) on both sides i/c hold fasts, hinges, iron tower bolts, handles and cleats with cord etc complete (P/65-57).(Only shutters)
| 262.5 |  | 856.53 |  | P.Sft |  |  | Rs. | 224839
44 | S/F in position Aluminium channels framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, stoppers etc (b) Dluxe model (Bronze).(P/108-83,b)
| 468 |  | 1507.66 |  | P.Sft |  |  | Rs. | 705585
45 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 1762.5 |  | 28299.3 |  | %Sft |  |  | Rs. | 498775
46 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43-25).
| 395.91 |  | 27747.06 |  | %Sft |  |  | Rs. | 109853
47 | P/L tiles glazed 6" x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 3456.33 |  | 30509.77 |  | %Sft |  |  | Rs. | 1054518
[8 empty] | Rs. | 2593570
________%above/below
d) | Cost of Non schedule Items
48 | Removing dabries for 20 miles.
| 9289.18 |  | 1227.8 |  | %Cft |  |  | Rs. | 114053
49 | Filling with proper granalar material supplying mixing leveling dressing watering and ramming compacting pit run gravel mixed with sand haro or any other course sand of same modulesl of same medules of fineress hill sand i/c the cost of carriage from the sources to the site of work lead upto 15 miles as required by Engineer Incharge (L.Q.R).
| 18781.25 |  | 19 |  | P.Cft |  |  | Rs. | 356844
50 | P/L floor of Verona marble tiles of size 24" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 3764.27 |  | 245 |  | P.Sft |  |  | Rs. | 922246
51 | P/A Graffito (3/8" to 1/2" thick) the product composede of material marble guard stone, iron oxide, detonium HSC natural colour, chips and pigments ammonia nitrogen, jelicoal, heated on high temperature on ultra violet lamp mixed with acrylic resin anti bacterial & fungal additives & anti fuming against alkali, showing no blistering wrinkling or lifting after application, resistant to accelerated weather change and resistant to water head of 100 ft liters per 8 hours drying time, having tocuhn dry from 4 to 8 hours and full dry in 72 hours, the specific gravity various from texture to texture form 2.5 to 2.8 (R.A).
| 16845.67 |  | 35 |  | P.Sft |  |  | Rs. | 589598
52 | Difference of S.R.Cement (R.A)
| 1006.11 |  | 40 |  | P.bag |  |  | Rs. | 40244
[6 empty] | Total Part ( d ) |  |  | 2022984
________%above/below

## SUI GAS
PART- C SUI GAS :.
1 | Providing G.I.pipe specials, and clamps etc, including fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc, painting two coats after cleaniang the pipe etc with white zink paintg with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling (P/12-1.,i,iv)
2"dia | 300 | Rft |  | 233 | P.Rft | Rs. | 69900
1/2"di | 400 | Rft |  | 73.21 | P.Rft | Rs. | 29284
[6 empty] | Total Rs. | 99184
2 | S/I manifold Brass Union Cocks of approved patterns and make suitable for Gas line also i/c the cost of testing complete in all respect (3/4" dia) (R.A).
| 30 | Nos |  | 384 | Each | Rs. | 11520
3 | S/I lock wing pattern plug type meter lock cock complete of approved quality/ make complete in all respect as Directed by Engineer Incharge (R.A).
| 25 | Nos |  | 934 | Each | Rs. | 23350
4 | S/F Bunsen Burner of approved make testing with required pressure complete in all respect (R.A).
| 36 | Nos |  | 417 | Each | Rs. | 15012
5 | P/F Lab cock of standard make approved quality i/c testing with required pressure complete in all respect (R.A).
| 25 | Nos |  | 527 | Each | Rs. | 13175
6 | P/F Single Gas Stove 12" x 12" of approved quality/make complete in all respect as directed by Engineer Incharge (R.A).
| 30 | Nos |  | 917 | Each | Rs. | 27510
7 | Making required Sui Gas Point for fixing of Bunsen Burner, Gas Stove etc i/c the cost of required fitting fixture and special connection Rubber pipe of required size and length (where reqauired) making Hoes in tables etc complete in all respect as directed by Engineer Incharge (R.A)
| 25 | Nos |  | 182 | Each | Rs. | 4550
[6 empty] | Total Rs. | 95117
| SUB ENGINEER |  | ASSISTANT ENGINEER
EDU:WORKS SUB-DIV: SADDAR
KARACHI
______%above/below