SCHEDULE B.

Name of work: S/R to DS Flat No. 39-A GOR Bath Island Karachi.( Renovation of kitchen

Wood work Tiles Bath Room Fitting & fixture & coloring & Painting works).

(Residence of Mr. Yaqoob Mangrio).

| S. No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling c.c. block masonry 1:3;6, (s.i.No.19-b/10). | 31.32 Cft. | 1306/80 | % Cft. | 409/- |
| 2. | Providing and laying 1.3.6. cement concrete solid block masonary wall6” and below thickness set in `1.6. cement mortar in ground floor super structure including raking out joints and curing etc complete(s.i.no.24/19) | 33.6 Cft. | 15771/01 | % Cft. | 5299/- |
| 3. | P/L 2” thick topping c.c. 1:2:4. I/c surface finishing & dividing into pannle (s.i.No.16-d/42). | 123.5 | 3275/50 | % Sft. | 4045/- |
| 4. | Cement plaster 1:6 upto 20’ height (s.i.No. 13-b/57) ½” thick (s.i.No.13-b/52). | 160.0 Sft. | 2206/60 | % Sft. | 3531/- |
| 5. | Dismantling glazed encaustic tiles.(s.i.No.55/13). | 334.75 | 786/50 | % Sft. | 2633/- |
| 6. | Scraping ordinary distemper oil bound distemper or paint on walls (s.i.No. 54-a/13). | 5760.30 | 226/88 | % Sft/ | 13069 |
| 7. | First class deodar wood wrought joinery in door and window etc, fixed in position I/c chowkats hold fast hinges iron tower bolts chocks cleats handle and cords with hooks etc, (b) 1 ¾” thick. (s.i.No.7/58) (only shutter). | 82.87Sft. | 902/93 | P. Sft. | 74830/- |
| 8. | Distempering two coats (s.i.No.24-b/54). | 1570.15 | 1043/90 | % Sft. | 16391/- |
| 9. | Prepairing the surface & painting with matt finish paint of approved make to old matt finish surface 2nd each subsequent cost (s.i.No.37-a+b/55). | 4190.15 | 1772/38 | % Sft. | 74265 |
| 10. | Painting door & windows any type (s.i.No.4-c-i+ii/68). | 965.50 | 1160/06 | % Sft | 1200/- |
| 11. | Painting guard bars gates of Iron bars gratings railing I/c standard brass etc, and similar open work first oat each subsequent cost (s.i.No.4-d-i+ii/69). | 239.0 | 674/60 | % Sft. | 1612 |
| 13. | P/F approved quality mortic lock (s.i.No.21/60) | 4-Nos. | 1786/13 | Each | 7145/- |
|  | Total |  |  |  | 204429 |
|  | Part: , B, |  |  |  |  |
| 1 | P/L tiles glazed 6” x6” x ¼” on floor or wall facing in required colour and pattern of stile specification jointing in white cement mortor ¾” thick I/c washing and filling of joint with slaury of white cement and pigment in desired (s.i.No.60/47). | 334.75 | 30509/77 | % Sft. | 102131/- |
|  | Total % Below |  |  |  | 102131 |
|  | Part: C. N.S.I. |  |  |  |  |
| 1. | P/F tee stop cock of superior quality with c.p. head ½” dia imported quality etc, complete.(imported ). | 6-Nos. |  | Each |  |
| 2. | S/F wash basin mixture of superior quality with c.p. head ¾” dia etc, complete. | 2-No. |  | Each |  |
| 3. | M/F wooden kitchen cabinet with shutter of lassani wood sheet ¾” thick frame work of first class deodar wood 2”x1” pasted with classic formica and 18” deep I/c necessary hinges catcher handle sliding wheel in draws nail / screws etc, with approved design and shape the cost also I/c necessary tools and plants to be used in making etc, complete as directed by the Eng: Incharge. | 105.0 |  | P. Sft. |  |
| 4. | S/F sink mixture imported of superior quality etc, complete. | 1-No. |  | Each |  |
| 5. | S/F Muslim shower with double bib cock approved quality etc, complete. | 2-No. |  | Each |  |
| 6. | P/F stainless steel sint double bowl approved quality with necessary fitting I/c fixed in marble top fitting with cement mortor & curing etc, complete. | 1-No. |  | Each |  |
| 7. | Providing and fixing marble top ¾” thick as approved colour make and design including making edges with round shape and chemical polishing including the cost of material labor Westgate and cartage etc complete | 45.0 |  | P. Sft. |  |
| 8. | P/F of precost salab as per approved design and shape 2” thick after laying of precost beam asper required area and length I/c laying slab tiles with proper shape and jointing with cement sand 1:4. ratio I/c curing and all cost of labour and wastage etc, complete. | 45.0 |  | P. Sft. |  |
| 9. | P/F upvc pipe 3” dia I/c cutting making and jointing with solution and special and approved quality with all cost of labour & necessary required etc, complete. | 5.0 Rft. |  | P. Rft. |  |
| 10. | -do- ½” dia | 10.0 Rft |  | P. Rft. |  |

TERMS AND CONDTION

Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

Arbitration clause stands deleted from the agreement.

No premium shall be paid on a Non schedule items.

100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6.  All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                               ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.