SCHEDULE B.

NAME OF WORK 	S/R TO D.S. FLAT NO.59 AT GOR BATH ISLAND KARACHI.

(RESIDENCE OF MR.  DR MANSOOR ABBAS)

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of glazed or encaustic tiles (S.NO.55/13) | 1534.60 Sft | 786/10 | %Sft | 12066 |
|  | Total |  |  |  | 12066 |
| 1 | Providing and laying tiles glazed 6” x6”x1/4” on floor or wall facing in required colour and pattern of stile specification jointed in white cement and pigment over a base of 1.2. grey cement mortar ¾” thick including washing and filling of joints with slaury of white cement and pigement in desired shpae with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile.(S.I.NO.60/47) | 1534.10 Sft | 30509/77 | %Sft | 468050 |
|  | TOTAL |  |  |  | 468050 |
|  | LESS % BELOW |  |  |  |  |
|  | Part C Electric Items |  |  |  |  |
| 1 | Wiring for light or fan point with (3/.029) PVC insulated wire (S.I.123/p-15) | 16-Pts | 797/00 | Per point | 12752 |
| 2 | Wiring for plug point with 1/1.13(3/.029)PVC insulated wire(S.I.NO.125/15) | 8 points | 669/- | “ | 5352 |
| 3 | Providing and fixing bacolite ceiling rose with two terminals (S.I.228/33). | 8-Nos | 72/- | Nos. | 576 |
| 4 | P/f B.C. batten holder (S.I.232/33) | 8 Nos | 70/- | Nos. | 560 |
| 5 | P/F brass ceiling fan 56” good quality (235/34) | 4-Nos | 3185/- | Nos. | 12740 |
| 6 | P/L Main or Sub-Main PVC insulated size 2-7/029 copper conductor in ¾” PVC conduit on surface.(S.I.3/1). | 30-Meter | 171/- | P. Meter | 5130 |
| 7 | P/L Main or Sub-Main PVC insulated size 2-7/036 copper conductor in ¾” PVC conduit on surface.(S.I.3/1). | 20-Meter | 200/- | P. Meter | 4000 |
| 8 | P/F circuit bracker 6,10,15,20,30,40,50 & 63amp SP(TB-5S)onpreparedboardrequired.(S.I.203/31) | 8-Nos | 916/- | Nos. | 7328 |
| 9 | P/F circuit bracker 6,10,15,20,30,40,50, & 63- amp DP (TB-5S) on prepared board as required.(S.I.204/31) | 4-Nos | 2456/- | Nos. | 9824 |
| 10 | P/F circuit bracker 15,20,30,40,50 & 60 amp TP (XE-100CS(CB)on prepared board as required.(S.I.206/31) | 1-No | 5521/- | Nos. | 5521 |
|  | TOTAL |  |  |  | 63783 |
|  | Part C N.S.I |  |  |  |  |
| 1 | S/F of Steel Sink Bowl as approved shape &size fixing with existing marble top etc complete | 1-No |  | Each |  |
| 2 | Making and fixing wooden cabinet American /Italian style with shutters of lasani wood sheet ¾” thick frame work of first class deodar wood 2”x1” pasted with classic Formica and 18” deep including necessary hanges catcher handle sliding wheels in draws nails /screws etc with approved design and shape. The cost also includes necessary tools and plants to be used in making etc complete as directed by the engineer incharge etc complete | 109.49 Sft |  | P.Sft |  |
| 3 | Providing and fixing marble top ¾” thick as approved colour make and design including making edges with round shape and chemical polishing including the cost of material labor Westgate and cartage etc complete | 44.00 Sft |  | P.Sft |  |
| 4 | S/F of fancy switch /socket imported make with double sheets fixing with existing concealed board on approved shape and design by the E.E. incharge etc complete. | 20-Nos |  | Each |  |
| 5 | S/F fancy type fan dimmer imported make with existing fancy sheet as approved shape design and make by the E.E. incharge including necessary electric connection etc. | 3-nos |  | Each |  |
| 6 | Providing and fixing universal POWER plug 3 pin 20 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 2-No |  | Each |  |
| 7 | Providing and fixing universal light plug 3 pin 13 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 1-Nos |  | Each |  |
| 8 | Providing and fixing energy server superior quality including fixing on existing holder etc complete. | 10-Nos |  | Each |  |
| 9 | Supplying & Fixing Water heater (Geyser 30-gallons) capacity best quality of singer make i/c cartage etc complete. | 1-No |  | Each |  |

TERMS AND CONDTION

- Any typographical errors in the schedule B are subject to the correction with Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as approved by the S R C, Sindh Karachi

- Arbitration clause stands deleted from the agreement.

- No premium shall be paid on a Non schedule items.

- 100% WELL Graded crushed bajri shall be used in items of work without any extra payment

- No Any items of exvceed then the Quantity Provided in the Schedule B without Prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                                     ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.