SCHEDULE B.

NAME OF WORK 	S/R TO D.S. FLAT NO.42 AT GOR BATH ISLAND KARACHI.

(RESIDENCE OF MR. AIJAZ AHMED MEMON )

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Scraping ordinary distemper oil bound distemper on walls(S.I.NO.54-A/13) | 5760.30 Sft | 226/88 | %Sft | 13069 |
| 2 | First class deodar wood wrought joinery in doors and windows etc fixed in position including chowkats hold fasts hinges, iron tower bolts chocks cleats handles and cords with hooks etc deodar paneled or paneled and glazed or fully glazed (b)1-3/4” thick(S.I.NO.7-b/58).(1273/76(-)370/83=902/93 (Only Shutter). | 245.00 | 902/93 | Sft | 221218 |
| 3 | Distempering two coats (S.I.NO.24-b/P-54) | 1570.15 | 1043/90 | %Sft | 16391 |
| 4 | First class deodar wood wrought joinery work in wire gauze door & windows with 22 SWG galvanized wire gauze 144 mesh per sq inch iron fittings complete. 1 ½” thick deodar wood framing in wire gauze with ordinary hinges (S.I.14-b/p-59) | 19.50 Sft | 562/98 | P.Sft | 10978 |
| 5 | Painting doors and windows any type any type(S.I.NO.4-C-I+II/68) | 965.50 Sft. | 1160/06 | %Sft | 11200 |
| 6 | Painting guard bars, gates of iron bars gratings railings including standard braces etc and similar open work first oat each subsequent cost(S.I.4-D-I+II/69) | 238/89 Sft | 674/60 | %Sft | 1612 |
| 7 | Preparing the surface & painting with matt finish paint of approved make to old matt finish surface 2nd each subsequent coat (S.I.37-A+B/55) | 4190/15 Sft | 1772/38 | %Sft | 74265 |
| 8 | Providing and fixing approved quality mort ice lock (S.I.NO.21/60)- | 6-Nos | 1786/13 | Each | 10717 |
| 9 | P/f deodar wooden ward rob i/c boxing with back sheves shutters drawers,and brass fitting such as handles locking arrangement hanger rod shoe rod and mirror measuring 2’x3’x1’ complete as per approved design (S.I.NO 24-p/61) | 51.00 Sft | 2364/63 | P.Sft | 120596 |
| 10 | Nylon wire gauze 144 mesh per square inch fixed to chow Kats with3/4’ deodar strips and screws(S.I.63-a/68) | 54.00 | 193/53 | P.Sft | 10451 |
| 11 | Fixing expanded metal with 1” deodar wooden strips and screws(22-a/61) | 54.00 | 296/05 | P.Sft | 15987 |
| 12 | Providing and fixing with sunk iron screw wooden Architrave approved design / shape having with not less than 2-1/2 inches as directed by Engineer incharge..(S.I.No.60 /66) | 114.0 Sft | 49/97 | P. Rft | 5697 |
| 13 | P/f aluminieum sheet on doors pasted with glue as per requirement. (S.I.61/p-66). | 40.50 Sft | 63/77 | P.Sft | 2583 |
|  | Total |  |  |  | 514764 |
|  | Part C W/S & S/F |  |  |  |  |
| 1 | P/F 22”x16” lavatory basin in white glazed earthen ware complete with & i/c the cost of WI or CI cantilever brackets 6 inches built into walls painted white in 2 coats after a primary coat of red lead paint a pair of ½”rubber plug & chrome brass waste of approved patten 1-1/4” dia mallable iron of cp brass unons and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1.2.4 (foreign or equilent) (S.I.13/4). | 2-Nos | 6237/- | Each | 12474 |
| 2 | S/F wash basin mixture of superior quality with CP head ½”dia (S.I.14-a/19) | 2-No | 2882/- | Each | 5764 |
| 3 | Providing and fixing 15”x12” beveled edge mirror of Belgium glass complete with 1/8” thick hard board and C.P screws fixed to wooden pleat (b)superior patern(S.I.NO.3-b | 2-Nos | 2047/76 | Each | 4096 |
| 4 | Supplying & fixing bath room accessories set(7 piece)I/c towel rod, brush holder, soap tray , shelf of approved design I/c cost of screws, nuts etc. complete ()master brand)(25/16) | 2-No | 8122/40 | Each | 16244 |
| 5 | S/F muslim Shower with double bib cock etc complete. | 2-Nos | 3432/- | Each | 6864 |
| 6 | Supplying and fixing fiber glass tank of approved quality and design and wall thickness as specified including cost of nut bolts and fixing in plate form of cement concrete 1.3.6. and making connections for in let outlet and over flow inlet outlet flow pipes etc complete 350 gallons capacity(S.I.NO. 3-b/21) | 1-No | 30773/42 | Each | 30773 |
|  | Total |  |  |  | 76215 |
|  | Part C Electric Items |  |  |  |  |
| 1 | Wiring for light or fan point with (3/.029) PVC insulated wire (S.I.18/p-3) | 8-Pts | 797/00 | Per point | 6376 |
| 2 | Wiring for plug point with 1/1.13(3/.029)PVC insulated wire(S.I.NO.20/3) | 4 points | 669/- | “ | 2676 |
| 3 | Providing and fixing bacolite ceiling rose with two terminals (S.I.228/33). | 4-Nos | 72/- | P. No. | 288 |
| 4 | P/f B.C. batten holder (S.I.232/33) | 4 Nos | 70/- | P. No. | 280 |
| 5 | P/F circuit bracker 6,10,15,20,30,40,50 & 63 amps SP (TB-5S)on a prepared board as required.(S.I.203/31) | 4-Nos | 916/- | P. No. | 3664 |
| 6 | P/F circuit bracker 15,20 & 30,40,50 & 60 amps TP (XS-30NS(NB) on a prepared board as required.(S.I No. 205/31). | 1-No | 5521/- | P. No. | 5521 |
| 7 | P/F brass ceiling fan 56” good quality | 3-Nos | 3185/- | P. No. | 9555 |
|  | TOTAL |  |  |  | 28360 |
|  | Part D NSI |  |  |  |  |
| 1 | S/F of fancy switch /socket imported make with double sheets fixing with existing concealed board on approved shape and design by the E.E. incharge etc complete. | 20-Nos |  | Each |  |
| 2 | Supplying & Fixing Water heater (Geyser 30-gallons) capacity best quality of singer make i/c cartage etc complete. | 1-No |  | Each |  |
| 3 | Providing and fixing of fine quality exhaust fan royal make or equal quality 6” metal body etc including making frame and necessary electric wiring and connection etc compete0 | 2-Nos |  | Each |  |
| 4 | P/F hobe imported double execss fan touch screen glass tope or as approved quality I/c all cost of labour material cartage and fixing charge in all respect etc, complete. | 1-No. |  | Each |  |
| 5 | Providing and fixing turbo imported make double excess fan touch screen glass tope or as approved quality including all cost of labour material cartage and fixing charges in all respect | 1-No |  | Each |  |
| 6 | P/F fancy type power plug 15 amp best quality with board sheet etc, complete. | 1-No |  | Each |  |
| 7 | P/F universal light plug 3 pin best quality I/c fixing with board & electric connection etc, complete. | 1-No. |  | Each |  |
|  | D |  |  |  |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS AND CONDTION.

Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

Arbitration clause stands deleted from the agreement.

No premium shall be paid on a Non schedule items.

100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6.  All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                         ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI