Draft  Bidding Document for works upto 1.00 M.

Work No. 11

N.I.T – 11 Works.

NIT-075/15

NAME OF WORK: Repair / improvement of Jiyapo Hand pumps at Pub Malir, Gajjan & Radho

jokhio Goth U C Gadap

BILL OF QUANTITIES

- Description and rate of Items based on Composite Schedule of Rates.

| ### Sr. No | Quantities | Description of item to be executed at site | Rate | Rates in Words | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- | --- |
| ### 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 1 | 255 Nos | Supply of Rising 2” dia PVC “D” Class 10 ft. long of approved make and quality etc. complete. |  |  | Each Pipe |  |
| 2 | 255 Nos. | Supply of Aluminum Rods 10 ft. long with rubber washer 2” dia etc. complete. |  |  | Each Rod |  |
| 3 | 17 Nos. | Supply of Cylinder of approved quality for Jyapoo Hand Pump etc. complete. |  |  | Each |  |
| 4 | 16 Nos. | Supply of Plungen of approved quality for Jyapoo Hand pumps etc. complete. |  |  | Each |  |
| 5 | 8 Nos. | Supply of Foot valve with washer of approved quality for Jyapo Hand Pumps etc. complete. |  |  | Each |  |
| 6 | 8 Nos. | Supply of M/S Stand with plate and nut bolts etc. complete |  |  | Each |  |
| 7 | 8 Nos. | Supply of complete body of Jyapoo hand pumps of Jyapoo make etc. complete. |  |  | Each |  |
| 8 | 8 Nos. | Supply of Jyapoo Hand pump handle in two pieces etc. complete. |  |  | Each |  |
| 9 | 10 Nos. | Supply of Kone for Jyapoo Hand Pump etc. complete. |  |  | Each |  |
| 10 | 10 Nos. | Supply of Hanger with nut bolts of approved quality for Jyapo hand pumps etc. complete. |  |  | Each |  |
| 11 | 10 Nos. | Supply of Central Laser Rubber of approved quality for Jyapoo Hand Pumps etc. complete. |  |  | Each |  |
| 12 | 1900 Rft. | Development / washing the Bore of Jyapoo hand pump 6” dia 200 ft. depth approx. etc. complete. |  |  | P.Rft. |  |
| 13 | 10 Nos. | Labour for taking (dismantling) of Jyapoo Hand Pump and refining making good the same etc. complete. |  |  | Each |  |
| 14 | 10 Nos. | Cartage of Jyapoo hand pump material (Parks) upto 70 mile lead etc. complete. |  |  | Each |  |

Amount Total (a) Rs. 			/=

______________ % Above / Below on the rates of CSR.		Amount to be added / deducted on the basis

Of premium quoted                     Total (b)

Total (A) = a+b in words & figures:

Contractor							Executive Engineer / Procuring Agency

(Cont…….Page No. 2)

(NIT-11 Works)

Page No. 02  (Work No. 11)

Summary of Bill of Quantities

Cost of Bid 								Amount__________________

________________________

- ( A) Cost based on composite Schedule of Rate

- (B) Cost of based on Non / Offered Schedule of Rates.			__________________________

TOTAL COST OF BID ( C ) = Total (A) + Total (B) 			__________________________

Contractor						Executive Engineer / Procuring Agency