Name of work:  REPAIR & RENOVATION OF SECRETARY BUNGALOW NO.02 TOWN HOUSES GOR III

KARACHI (P/F NEW KITCHEN CABINET RAISING OF C/WALL)

Schedule B

Estimate No. M&R/Sec Bung No.02 GOR Town/ /1491 dated 25-03-2015

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | P/L 1.3.6 cement concrete soilid block masonary set in 1.6 cement sand mortor in ground plinth and foundation in i/c racking out joints and curing etc complete. | 133.87 Cft | 15771/01 | %cft | 21113 |
| 2 | Cement plaster 1.6 upto 12 height ½ thick | 267.74 | 2206/60 | %Sft | 5908 |
| 3 | Cement plaster 1.4 upto 12 height ¾” thick(S.I.11-a/52) | 267.74 | 2197/52 | %Sft | 5884 |
| 4 | Distempering three coats | 267.74 | 1079/65 | %Sft | 2891 |
| 5 | P/F approved quality mortice door lock (s.i.21/60). | 3-Nos | 1786/13 | Each | 5358 |
| 5 | S/F in Position Alluminum channel framing for slidding windows & ventilators of alcop made with 5mm thick tinted glass glazing (Belgium) & Alluminum fly screen i/c handles stoppers & locking arrangement etc complete.(Dulex Model (White).(S.I.84-a/108) | 12.00 Sft | 1592/69 | Sft | 19112 |
|  | Total |  |  |  | 60266 |
|  | Add % below on Item No. |  |  |  |  |
|  | Total |  |  |  |  |
|  | Part B W/S & S/F |  |  |  |  |
| 1 | S/F CP Muslim Shower with double bib cock & Ring Pipe etc complete.(S.I.19-b/19) | 1-Nos | 3432/- | Each | 3432 |
|  | Total |  |  |  | 3432 |
|  | Add % above |  |  |  |  |
|  | Part B N.S.I |  |  |  |  |
| 1 | Maaking Fixing Kitchen Cabinet i/c cabinet, Gas Hobe Techno Wind Cooker, Granite Marble top and Electric Accessories Sink & Mixture etc complete as directed by the Enginerer Incharge etc complete. | 1-Job |  | P.Job |  |
| 2 | P/F Fiber Glass Shade upto 3mm sheets fixing on windows height upto 20’ft fixed with angle Iron frame with nuts & bolts etc complete. | 42.00 Sft |  | P.Sft |  |
| 3 | P/F Angle Iron grill square bar (1/2x1/2)” with arrows also i/c Painting 3 coats after one coat of Zink Oxide Paint etc complete. | 139.50 Sft |  | P.Sft |  |
|  | Total B |  |  |  |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- Arbitraction clause stands deleted from the agreement.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi