SCHEDULE B.

NAME OF WORK :-     S/R TO ADDITIONAL SECRETARY FLAT 03 AT GOR BATH IS LAND KARACHI

(RESIDENCE OF MRS ZOHRA MOHSIN SHAH) (Wood work floor tile false ceiling work Renovation of

Kitchen colouring & painting etc).

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Removing of windows & sky light with chowkhats (S.I.No.33-b/p-12) | 1-No | 102/85 | P.No. | 103 |
| 2 | Removing of doors with chowkahts (S.I.No.33-a”p-12) | 2-Nos. | 142/18 | P.No. | 284 |
| 3 | Dismantling c.c. plain 1:2:4 (S.I.19-c/p-10) | 428.20 | 3327/50 | % Cft | 14248 |
| 4 | Dismantling of glazed or encaustic tiles (S.NO.55/13) | 758.75 Sft | 786/50 | %Sft | 5968 |
| 5 | Providing and laying 1.3.6. cement concrete solid block masonary wall6” and below thickness set in `1.6. cement mortar in ground floor super structure including raking out joints and curing etc complete(s.i.no.22/19) | 95.84 Cft | 14268/53 | %Cft | 13675 |
| 6 | Cement plaster 1:6. Upto 12” height ½” (b) ½” thick. (s.i.No.13-b/52) | 72.0 Sft | 2206/60 | % Sft. | 1589 |
| 7 | Scraping ordinary distemper oil bound distemper or paint on walls (54-A/15) | 7160.95 Sft | 226/88 | % Sft | 16247 |
| 8 | Fixing exp[anded metal with 1” deadar wooden strips and screws (22-A/61) | 16.25 Sft | 296/05 | P. Sft | 4811 |
| 9 | P/f deodar wooden ward rob i/c boxing with back shaves shutters drawers, and brass fitting such as handles locking arrangement hanger rod shoe rod and mirror measuring 2’x3’x1’ complete as per approved design (S.I.NO 24-p/61) | 44.00 Sft | 2364/63 | P.Sft | 104044 |
| 10 | P/l 2” thick topping c.c. 1:2:4 i/c surface finishing & dividing into panels(S.I.16-b/42) | 2518.85 Sft | 3275/50 | % Sft | 82505 |
| 11 | Providing and fixing bitumen jute felt double ply of 70 Lbs over roof for making quality roof including cleaning of roof with wire brush and removing us including applying bitumen coat at the rates of 34 Lbs per% Sft as per primer in two coats and three laying jute felt with 10% wastag4e and 15% over lapping then spreading hills sand at the rate of 1 Cft p% SFT the cost also includes necessary fire material Karolin oil wood etc (S.I.41/p-38) | 2744.27 Sft | 54/70 | P.Sft | 150111 |
| 12 | Distempering two coats (S.I. 24-b/p-54) | 2133.59 Sft | 1043/90 | % Sft | 22273 |
| 13 | Preparing the surface & painting with matt finish paint of approved make to old matt finish surface 2nd each subsequent coat (S.I.37-A+B/55) | 5027.36 Sft | 1772/38 | % Sft | 89104 |
| 14 | Painting guard bars, gates of iron bars gratings railings including standard braces etc and similar open work first oat each subsequent cost(S.I.4-D-I+II/76) | 590.00 Sft | 674/60 | % Sft | 3980 |
| 15 | Providing and fixing approved quality mortice lock(S.I.NO.21/60) | 2-Nos | 1786/13 | Each | 3572 |
| 16 | Providing and fixing aluminum sheet on doors pasted with glue as per requirement(S.I.NO.61/66) | 20.25 Sft | 63/77 | P. Sft | 1291 |
|  | Total |  |  |  | 513805 |
|  | PART B, W/S & S/F. |  |  |  |  |
| 1. | First Class Deodar wood wrought jornery in doors and windows etc fixed in position including chowkats hold fasts hinges. Iron tower bolts chocks cleats handles and cords with hooks etc dseodar paneled or paneled and glazed or fully glazed (b) 1-3/4” thick (S.I No. 7-b/58) (1273/76(-)370/83=902/93 (Only Shutter). | 20.25 Sft | 902/93 | P.sft | 18284 |
| 2. | Nylon wire gauze 144 Meter P.Squre inch fixed to chowkats with strips and screws (S.I 63-a/66) | 16.25 Sft | 193/53 | P.Sft | 3145 |
|  | Total: Less: Below on item No.02 Total: |  |  |  | 21429 |
|  | PART C, W/S & S/F. |  |  |  |  |
| 1 | Providing and fixing 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and including making requisite number of holes in walls plinth and floor for pipe connections and making good in C.C. 1.2.4.(S.I.20/6) | 2 No | 2042/43 | Each | 4085 |
| 2 | Providing and fixing 15”x12” beveled edge mirror of Belgium glass complete with 1/8” thick hard board and C.P screws fixed to wooden pleat (b)superior patern(S.I.NO.4-b17) | 1-Nos | 2047/76 | Each | 2048 |
| 3 | Supplying and fixing C.P. Muslim shower with crystal head etc complete(S.I.NO.19-b/19) | 1-Nos | 3432/- | Each | 3432 |
| 4 | S/F long bib cock of crystal head with ½” dia. (S.I.13-b/19) | 1-Nos | 1384/24 | Each | 1384 |
|  | Total Add: above Total |  |  |  | 10949 |
|  | PART C, Electric work. |  |  |  |  |
| 1. | Wiring for light or fan point with 3/029 PVC insulated wire in 20mm ¾”channel patti on surface as required. (S.I 129/15) | 25.0 Pts | 910/- | P.Pts | 22750 |
| 2 | Wiring for Plug point with 3/029 PVC insulated wire in 20mm ¾”channel patti on surface as required. (S.I 130/15) | 10-Pts Ts | 742/- | P.Pts | 7420 |
| 3 | Wiring for call bell point with 3-092 PVC insulated wire in 20mm ¾” PVC conduit on surface as required (S.I. 127/15) | 1-Nos | 1380/- | P.Pts | 1380 |
| 4 | Providing and fixing bacolite ceiling rose with two terminals (S.I.228/33). | 6-Nos | 72/- | Each | 432 |
| 5 | P/f B.C. batten holder (S.I.232/33) | 8-Nos | 70/- | Each | 560 |
|  | Total |  |  |  | 32542 |
|  | PART E, N.S.I. |  |  |  |  |
| 1 | Making and fixing wooden kitchen cabinet with shutters of lasani wood sheet ¾” thick frame work of first class deodar wood 2”x1” pasted with classic Formica and 18” deep including necessary hinges catcher handle sliding wheels in draws nails /screws etc with approved design and shape. The cost also includes necessary tools and plants to be used in making etc complete as directed by the engineer Incharge etc complete | 97.00 |  | P. Sft |  |
| 2 | Providing and fixing granite marble top ¾” thick as approved colour make and design including making edges with round shape and chemical polishing including the cost of material labor Westgate and cartage etc complete as directed by the E.I. | 56.00 Sft |  | P.Sft |  |
| 3 | S/f sink mixture of approved quality plastic coated to required colour heavy pattern as required. | 1-No |  | Each |  |
| 4 | S/f sink bowl pproved quality plastic coated to required colour heavy pattern as required. | 1-No |  | Each |  |
| 5 | S/F fancy type fan dimmer imported make with existing fancy sheet as approved shape design and make by the E.E. incharge including necessary electric connection etc (Clipsal) | 6-Nos |  | Each |  |
| 6 | S/F of fancy switch /socket imported make with double sheets fixing with concealed board on approved shape and design by the E.E. inmchage etc complete. | 25-Nos |  | Each |  |
| 7 | P/F full body porcelain glazed tiles 24”x24” ¼” thick or as approved shape & size Imported make as approved quality, design & color i/c laying over dry bond/ cement sand mortar ¾” thick as required i/c jointing in white cement & washing of tiles after laying & filling of joints with matching color imported grouting in desired shape with finishing i/c cutting of tiles & proper profile on floor & skirting with cartage & wastage etc complete. As directed by the Eng: Incharge. | 2675.81 |  | P. Sft |  |
| 8 | P/F fancy type falseceiling of gypsum board size 24” x 24” I/c making & fixing aluminum T sanction channel patti imported make with fine finishing approved make & design I/c all cost of labour material & toles and wastage as directed by the E.I. | 1132.56 sft |  | P. Sft. |  |
| 9 | P/F hobe imported double execss fan touch screen glass tope or as approved quality I/c all cost of labour material cartage and fixing charge in all respect etc, complete. | 1-No. |  | Each |  |
| 10 | Disposal of debries concrete from site of work to out side city limits through mechanical means i.e tractor trolley/ trucks etc complete. | 1-Nos |  | Each |  |
| 11 | Supplying & Fixing Water heater (Geyser 30-gallons) capacity best quality of singer make i/c cartage etc complete. | 1-No |  | Each |  |
| 12 | Providing and fixing U PVC pipe 2” dia including cutting making and jointing with switch pest with special approved quality including all cost of labour as directed by the engineer incharge etc complete. | 8-Rft |  | Rft |  |
| 13 | Providing and fixing U PVC pipe ½” dia including cutting making and jointing with solution pest with special approved quality including all cost of labour as directed by the engineer incharge etc complete. | 25.0 Rft |  | P. Rft |  |
| 14 | Providing and fixing C PVC pipe ½” dia including cutting making and jointing with solution pest with special approved quality including all cost of labour as directed by the engineer incharge etc complete. | 25.0 Rft |  | P. Rft. |  |
|  | TOTAL |  |  |  |  |

TERMS AND CONDTION.

Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

Arbitration clause stands deleted from the agreement.

No premium shall be paid on a Non schedule items.

100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6.  All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                               ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.