Name of work:  M/R TO CHIEF MINISTER HOUSE KARACHI (DEPUTY SECRETARY OFFICES 2-NOS) I/C

GENERAL LAVATORY IN GERRAGE SIDE AT CHIEF MINISTER HOUSE KARACHI.

Schedule ‘B’

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation in foundation of buildings bridges and other structure i/c dagbelling dressing refilling around the structure with excavated earth watering and ramming lead upto 5’ft In ordinary soil (S.I.4/18-b) | 381.00 | 3176/25 | %0cft | 1210 |
| 2 | Cement concrete brick or stone ballast 1-1/2”to 2”guage ratio 1.4.8 (S.I.4-b/15). | 305.75 | 9416/25 | %Cft | 28790 |
| 3 | P/L 1.3.6 cement concrete soilid block masonary set in 1.6 cement sand mortor in ground plinth and foundation in i/c racking out joints and curing etc complete. | 198.50 Cft | 14268/53 | %cft | 28323 |
| 4 | P/L 1.3.6 cement concrete soilid block masonary set in 1.6 cement sand mortor in ground plinth and foundation in i/c racking out joints and curing etc complete. | 343.00 Cft | 15771/01 | %cft | 54095 |
| 5 | Cement plaster 1.6 upto 20’ft height ½”thick (S.I.13b/52) | 1792.30 | 2206/60 | %Sft | 39550 |
| 6 | Cement plaster 1.4 upto 20’ft height 3/8”thick.(s.i 11-A/52) | 1792.30 | 2197/52 | %Sft | 39386 |
| 7 | P/F in position doors & windows and ventilators of first class deodar wood frame and 1-3/4 thick commercial ply venner shutter of first class deodar skeleton (hollow) and commercial ply wood (3-ply)on both sides.(S.I.9/58) | 126.00 | 1227/36 | Sft | 154647 |
| 8 | First class deodar wood wrought joinery in doors and windows etc fixed in position i/c chowkats hol;d fasts hinges iron tower bolts chocks cleats handles and cords with hooks etc (b) 1-3/4”thick (S.I.54/70-b) | 33.00 | 1273/76 | P.Sft | 42034 |
| 9 | Preparing the surface & Painting applying rock wall shield/Natural wall texture coating to provide durable crust to wall thickness b/w 2mm to 32mm (1/8”)with acrylic co-polymer emulsion selected marble chips adhesive and bacterides water resistance and fire and termite resistance (upto 20.0’ft height)(S.I 43/56) | 1420.37 | 4504/50 | %Sft | 63981 |
| 10 | Preparing the surface & painting weather coat i/c rubbing the surface with rubbing brick sand paper filling the joints with chalk plaster of paris and then painting with weather coat of approved make.(2nd & each subsequent)(S.I.38-A+B/56). | 371.93 | 2567/95 | %Sft | 9551 |
| 11 | Dismantling glazed or encaurtic tiles (s.i.No.55/13). | 235.00 | 786/50 | % Sft. | 1848 |
|  | TOTAL |  |  |  | 463415 |
|  | Less 20%Below |  |  |  |  |
|  | A |  |  |  |  |
|  | Part A-II N.S.I (Civil Work) |  |  |  |  |
| 1 | P/F Bath Room tiles 18”x12” ‘laid on ¾” over cement sand mortor ratio 1.2 i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile i/c all cost of material labour & cartage etc complete. | 583.58 Sft |  | P.Sft |  |
| 2 | P/F approved quality Porceilien floor pipe (Imported quality) size upto 20”x20” laid over cement chemical bond i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile for floor or dado i/c all cost of material labour & cartage etc complete. | 521.11 Sft |  | P. Sft. |  |
| 3 | P/F False Ceiling make gepsum board 2’x2’ i/c making aluminum channel frame work sheet wire with nails & screwes etc complete as directed by the Engineer Incharge. | 421.00 Sft |  | Sft |  |
| 4 | French Polishing of doors & windows / floor work etc i/c preparing surface & Painting by using Indian Lakhadan Sprit pigment i/c lacquer tarpene oil etc complete as directed by the Engineer Incharge. | 309.00 Sft |  | P.SFT |  |
| 5 | P/L Precast Lintel i/c fixing in CC 1.3.6(Size 4”x6”x6” | 25.00 |  | P.Rft |  |
|  | Total A(II) |  |  |  |  |
|  | Part B W/S & S/F S.Items |  |  |  |  |
| 1 | P/F 6x2 or 6x3 CI floor trape of the approved self cleaning design with a CI screwed down gratting with or without a vent arm complete with & i/c the making requisite number of holes in walls plinth & floor for pipe connection & making good cement concrete 1.2.4(S.I 20/6) | 8-Nos | 2042/43 | Each | 16339 |
| 2 | P/F 22x16 lavatory basin in white glazed earthen ware complete with and i/c the cost of WI or CI ventilator brackets 6”built into walls pointed white in two coats after a primary coat of red head of paint a pair of 1-1/2 dia rubber plug and chrome plated brass chain 1-1/4 dia maloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement mortor 1.2.4 Foreig or equilent)(S.I.13/4) | 4-Nos | 6237/- | Each | 24948 |
|  | P/F flat back lipped from urinal basin (of not less than 17”in height ) of white glazed earthen ware complete with & i/c the cost of 1 gallon CI automatic flushing cistern with fittings a pot cock CI or WI brackets standard flush pipe with fitting standard waste pipe (Enamelled iron coonection complete & making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1.2.4.(Foreign or equilent )(S.I.7/3) | 2-Nos | 4440/70 | Each | 8881 |
| 3 | Add extra for labour for providing and laying of earthen ware pedestal white or coloured glazed foreign or equilent.(S.I 11/3) | 4-Nos | 2533/47 | Each | 10134 |
| 4 | S/F Bath Room Accessories set (7-Pieces ) i/c towel rod brush holder soap tray shelf of approved design i/c cost of screwes nuts etc complete (Master Brand). | 4-Nos | 10322/40 | Each | 41290 |
| 5 | S/F CP Muslim Shower with double bib cock & Ring Pipe etc complete.(S.I.19-b/19) | 4-Nos | 3432/- | Each | 13728 |
| 6 | Providing chamber 9”x6” inside dimension x 24” deep for stop cock and valves etc with 6”thick CC 1.3.6 cost in situ walls 6”thick CC 1.4.8 in foundation ½”thick cement plaster 1.3 to all inside walls surface and to top 1”thick cc 1.2.4 flooring complete with hinged cast iron cover and frame 9”x6”(inside) clear opening (wt ½”qr)etc fixed in cement concrete 1.2.4 including curing excavation back filling & disposal of earth etc complete.(S.I.1/20). | 4-No | 2582/47 | Each | 10330 |
| 7 | P/F Fiber Glass Tank of approved quality and design and wall thickness as specified i/c cost of nuts bolts and fixing in plate form of cement concrete 1.3.6 and make in connection for inlet & out let & over flow pipes etc complete.(A) 250 gallons wall thickness 3.5mm (S.I.3-A/21). | 1-No | 21989/61 | Each | 21990 |
|  | Total |  |  |  | 147640 |
|  | Add % above |  |  |  |  |
|  | B |  |  |  |  |
|  | Part B(II) W/S & S/F NSI |  |  |  |  |
| 1 | P/F European Commode set make Porta USA in matching colour and approved shape and design coupled with Flush tank seat cover and making holes in walls plinth & floor for pipe connection & making good with CC 1.2.4 i/c carriage charges from show room to site of work as directed by consultant. | 4-Nos |  | Each |  |
| 2 | P/F 1/2 diaUCPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge. | 60.00 Rft |  | P.Rft |  |
| 3 | P/F 1” diaUCPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge. | 150-Rft |  | P.Rft |  |
| 4 | P/F 4” diaUCPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge. | 42.00 |  | P.Rft |  |
| 5 | P/F 3” diaUCPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge. | 48.00 |  | P.Rft |  |
| 6 | P/F UPVC Sanitary fitting make Pak Arab or equilent quality with AGM solution as directed by the Engineer Incharge. |  |  |  |  |
| A | 4” dia bend | 4-No |  | Each |  |
| B | 3” dia bend | 8-No |  | Each |  |
| C | 3” dia Y-tee | 4-No |  | “ |  |
| D | CI floor trape jalli 6x6 | 8-Nos |  | “ |  |
| 7 | P/F double bib cock master make in CP coated as directed by Engineer Incharge. | 4-No |  | “ |  |
| 8 | P/F Basin Mixture heavy pattern CP coated lever type master make or equelent quality as directed by the Engineer Incharge. | 4-Nos |  | Each |  |
| 9 | P/F Tee Stop Cock master make in CP coated as directed by Engineer Incharge etc complete. | 12-Nos |  | “ |  |
|  | Total (B) II |  |  |  |  |
|  | Part C Electric S.Item |  |  |  |  |
| 1 | Wiring for light or fan point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.129/18) | 38-Nos | 910/- | P.Point | 34580 |
| 2 | Wiring for Plug point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.134/15) | 8-Nos | 742/- | P.Point | 5936 |
| 3 | Wiring for call bell point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.131/18) | 4-Nos | 1590/- | P.Point | 6360 |
| 4 | P/L main or Sub main PVC insulated with size 2-7/036 (4mm2) copper conductor in ¾ ” dia PVC conduit on surface.(S.I.4/1) | 40-Meter | 200/- | p.Meter | 8000 |
| 5 | P/L main or Sub main PVC insulated with size 2-7/044 (6mm2) copper conductor in 1” dia PVC conduit on surface.(S.I.5/1) | 35.00 | 305/- | P.Meter | 10675 |
| 6 | P/F Circuit Brackers 6,10,15,20, 30,40,50 & 63 amps SP (TB SS) on a prepared board as required.(S.I.203/31) | 2-Nos | 916/- | P.Point | 1832 |
| 7 | P/F Circuit Brackers ,15,20, 30,40,50 60, amps TP (XE-100CS)(CB) on a prepared board as required.(S.I.206/31) | 1-No | 5521/- | P.Point | 5521 |
| 8 | P/F one Way SP 5 amps switch flush type (S.I.219/33) | 38-Nos | 58/- | P.Point | 2204 |
| 9 | P/F two Pin 5-amps plug & socket flush type (S.I.225/33) | 8-Nos | 83/- | P.Point | 664 |
|  | TOTAL C |  |  |  | 75620 |
|  | Part C(II) Electric NSI |  |  |  |  |
| 1 | S/F False Ceiling Light with holder & Energy Saver bulb i/c necessary electric connection etc complete. | 24-Nos |  | Each |  |
| 2 | P/F Power Plug 15 amps with board etc complete. | 2-No |  | Each |  |
| 3 | P/F Universal 5 amps with PVC board i/c necessary electric connection etc complete. | 8-Nos |  | “ |  |
| 4 | P/F Wall Brcaket Fan 18” dia make Pak or equelent quality necessary election etc complete. | 6-Nos |  | “ |  |
|  | Total C II NSI |  |  |  |  |
|  | Total CI Electric S.Item |  |  |  |  |
|  | Total B(II) W/S & S/F NSI |  |  |  |  |
|  | Total B W/S & S/F S.Item |  |  |  |  |
|  | Total A-II N.S.Item Civil |  |  |  |  |
|  | Total A-I S.Item Civil |  |  |  |  |
|  | G.Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- Arbitraction clause stands deleted from the agreement.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi