| NAME OF WORK :- | ESTABLISHMENT AND STRENGTHENING OF DARUL ATFAL AND REHABILITATION OF STREET CHILDERN THROUGH CIVIL SOCIETY ORGANIZATION AT KARACHI (I.R.R.S. CENTER FOR GIRLS (G+1) PLINTH PROTECTION & OTHER MISC: WORKS) |
| --- | --- |

“ SCHEDULE ‘B’  “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | PART-“A” SCHEDULE ITEMS ( CIVIL WORK ) |  |  |  |  |  |
| 1 | Excavation in foundation of Bldgs: bridges and other structures in/c dabbling dressing refilling around structure with excavated earth watering and ramming lead upto 5’ft (C) In hard soil or soft murum (18-C / P-04)_. | 1420.00- Cft | 3554/38 | %oCft | 5047/- |  |
|  | Rupees. Three thousand five hundred fifty four. And. Thirty eight. Paisa |  |  |  |  |  |  |
| 2 | Cement concrete brick or stone ballast 1-1/2” to 2” gauge (b) Ratio 1:4:8 (4-b / P-15). | 234.30 Cft. | 9416/28 | %Cft | 22062/- |  |
|  | Rupees. Nine thousand four hundred sixteen. And. Twenty eight. Paisa |  |  |  |  |  |  |
| 3 | P/L 1:3:6 CC solid block masonary wall 6” and below in thickness set in 1:6 cement mortar in ground floor super structure in/c raking out joints & curing etc complete. (24/P-19) | 710.00- Cft | 15771/01 | %Cft | 111974/- |  |
|  | Rupees. Fifteen thousand seven hundred seventy one. And. One. Paisa |  |  |  |  |  |  |
| 4 | Cement plaster 1:4 upto 12' height. (c) 1/2" thick. (SI.11-b/ P 52) | 710.00 Sft | 2283/93 | %Sft | 16216/- |  |
|  | Rupees. Two thousand two hundred eighty three. And. Ninety three. Paisa |  |  |  |  |  |  |
| 5 | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet. (SI.22/P4) Extra lead 21.00 Miles (771.96+32.56x15=1260.36 P%Cft For 1000 Cft 12603.60 + composite rate of schedule i.e. 12603.60 + 3630 = 16233.60 | 1065.00 Cft | 16233/60 | %0Cft | 17289/- |  |
|  | Rupees. Sixteen thousand two hundred thirty three. And. Sixty. Paisa |  |  |  |  |  |  |
| 6 | Cement concrete brick or stone ballast 1-1/2” to 2” gauge (d) Ratio 1:5:10 (SI.4-c/P-15) | 177.50 Cft | 8694/95 | %Cft | 15434/- |  |
|  | Rupees. Eight thousand six hundred ninety four. And. Ninety five. Paisa |  |  |  |  |  |  |
| 7 | P/L 1” thick topping cement concrete (1:2:4) in/c surface finishing and dividing into panels . (d) 2" thick. (SI.16-d/P42) | 887.50 Sft | 3275/50 | %Sft | 29070/- |  |
|  | Rupees. Three thousand two hundred seventy five. And. Fifty. Paisa |  |  |  |  |  |  |
| 8 | P/F aluminum sheet on doors pasted with glue as per requirement (SI.61/P-66) | 77.50 Sft | 63/77 | P/Sft | 4942/- |  |
|  | Rupees. Sixty three. And. Seventy seven. Paisa |  |  |  |  |  |  |
| 9 | R.C.C.spout including fixing in position 2-1/2x6”x5”(SI.14/P-18) | 10 Nos | 261/25 | Each. | 2613/- |  |
|  | Rupees. Two hundred eleven. And. Seventy five. Paisa |  |  |  |  |  |  |
| 10 | Two coats of bitumen laid hot using 34 L.bs for % Sft. Ober roof and blinded with sand at one Cft per % Sft. ( SI.13 / P-35 ) | 5082.00 Sft | 1887/40 | %Sft | 95918/- |  |
|  | Rupees. One thousand eight hundred eighty seven. And. Forty. Paisa |  |  |  |  |  |  |
| 11 | Providing and fixing with sunk iron screws wooden Architrave approved design/ shape having width not less than 2- 1/2 inches as directed by Engineer Incharge. ( SI.60/P-66 ) | 438.00 Rft | 49/97 | P.Rft | 21887/- |  |
|  | Rupees. Forty nine. And. Ninety seven. Paisa |  |  |  |  |  |  |
| 12 | Erection and removal of centering for R.C.C. or plain cement concrete works of Deodar wood (2nd class) (SI.19/P-18) for partial wood (b-i) Vertical | 712.00 Sft | 3127/41 | %Sft | 22267/- |  |
|  | Rupees. Three thousand one hundred twenty seven. And. Forty one. Paisa |  |  |  |  |  |  |
| 13 | Cement concrete plain including placing compacting, finishing and curing, complete ( including screening and washing at stone aggregate without shuttering.(h). Ratio 1: 3: 6. ( SI.5-h / P-16 ). | 183.00 Cft | 12595/- | %Cft | 23049/- |  |
|  | Rupees. Twelve thousand five hundred ninety five. Only. |  |  |  |  |  |  |
| 14 | Providing and fixing Iron collapsible gate with channel framing of section ¾” 5/16” at 4” in/c refitted with ¾” x 1/8” flat Iron pati placed diagonally and provided with top & bottom T-section 1” x 1” 1/8” along with rollers also on/c locking arrangement and fixing in floor / Ceiling or wall etc. completed.( SI.32 / P-94 ). | 76.00 Sft | 387/04 | P.Sft | 29415/- |  |
|  | Rupees. Three hundred eighty seven. And. Four. Paisa. |  |  |  |  |  |  |
|  | Total |  |  |  |  | 417183/- |  |
|  | Add: above Item No. Rs. |  |  |  |  |  |  |
|  | (A). Total Rs. |  |  |  |  |  |  |
|  | PART-“B” NON-SCHEDULE ITEMS |  |  |  |  |  |  |
| 1 | P/F iron steel grill using solid square bars of size 3/8” x3/8” placed @ 4” in/c and frame of flat iron patti of ¾”x3/16” in/c circle design shape @ 1”-0 apart of equivalent fitted with screws or pins in/c painting 3-coats with 1st coat of red oxide paint etc complete. | 1820.00 Sft |  | P.Sft |  |  |  |
| 2 | P/F marble top 7/8” thick china Verona / Teravera or equivalent for stair steps upto size of 5’-0x1’-0 in/c cutting in required size making round gola, making cuts 3 Nos. for avoiding slipping and laid over a base of 3/4" thick cement sand mortar, filling joints with slurry of white cement, grinding & chemical polishing etc compete. The rate in/c all carriage and wastage as required and wastage as required and directed by the Engineer Incharge. | 254.00 Sft |  | P.Sft |  |  |  |
| 3 | P/F fancy glazed tiles border (size 10”x2” to 8”x3) of approved quality & design & required color to match the color of bath tiles jointed in white cement in/c finishing cleaning etc complete. - | 278.00 Rft |  | P.Rft |  |  |  |
| 4 | P/F in position M.S. stair case railing 2’-9” high consisting of ¾”x3/4” solid square vertical bars grouted in RCC steps @ 11” apart with flat iron Patti 2”x3/16” on top of square bars with hand rail of sheesham wood 3”x2-1/2” (round on top) fixed on flat iron Patti. The cost includes providing & fixing 3’x3” sheesham wood balustrade at top & bottom of each flight. The cost also includes anticorrosive red oxide primer with 3 coats of enamel paint on bars & polishing of wooden hand rail & balustrades etc complete. | 144.00 Sft |  | P.Sft |  |  |  |
| 5 | P/L pre cast RCC beam / slab roof by using pre cast beams of required size & no and precast slab of size 4.0x2.0x0.25 after leveling of wall by CC erection of beams & slab filling joints in cement sand mortar as directed by the Engineer Inchege, | 168.0 Sft |  | P.Sft |  |  |  |
|  |  | (B)Total Rs. |  |  |  |  |  |
|  |  | (A). Total Rs |  |  |  |  |  |
|  |  | (A+B) G. Total Rs. |  |  |  |  |  |
|  |  | Say Rs. |  |  |  |  |  |

CONDITION.

- Typographical errors in the schedule “B” are the subject to the correction with ref: to the schedule of rate Gen: vol: III Part V in forced: 2012 as approved by the standing rate committee.

- No cartage will be paid on any items of works.

- No premium shall be paid on Non-Schedule items.

- Arbitrative clause stand deleted from agreement.

- Water shall be arranged by the Contractor.

| CONTRACTOR | ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB- DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-I, KARACHI. |
| --- | --- | --- |