| NAME OR WORK :- | ESTABLISHMENT AND STRENGTHENING OF DARUL ATFAL REHABILITATION OF STREET CHILDEREN THROUGH CIVIL SOCIETY ORAGANIZATION @ KARACHI ( HOSTEL BLOCK FOR GIRLS PLINTH PROTECTION & OTHER WORKS ). |
| --- | --- |

“ SCHEDULE  ‘B’   “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORK ) |  |  |  |  |
| 1. | Excavation in foundation of Building Bridges and other structures including dabbling dressing , refilling around structure with excavated earth Watering and ramming lead upto 5 ft.( c ) In hard soil or soft murum.( SI.18-c / P-04 ). | 1316.00 Cft | 3554/38 | %Cft | 4678/- |
|  | Rupees. Three thousand five hundred fifty four. And. Thirty eight. Paisa |  |  |  |  |
| 2. | Cement concrete brick or stone ballast 1 ½” to 2” gauge.( b ).Ratio 1: 4: 8.( SI.4-b / P-15 ). | 217.14 Cft | 9416/28 | %Cft | 20447/- |
|  | Rupees. Nine thousand four hundred sixteen. And. Twenty eight. Paisa |  |  |  |  |
| 3. | Providing and laying 1: 3: 6 cement concrete solid block masonary wall 6” and below in thickness set in 1:6 cement mortar in ground floor Super Structure including raking out joints & curring etc, complete.( SI.24 / P-19 ). | 658.00 Cft | 15771/01 | % Cft | 103773/- |
|  | Rupees. Fifteen thousand seven hundred seventy one. And. One. Paisa |  |  |  |  |
| 4. | Cement plaster 1:4 upto 12’ height.( b ) 1/2” thick. ( SI.11-b / P-52 ). | 658.00 Sft | 2283/93 | %Sft | 15028/- |
|  | Rupees. Two thousand two hundred eighty three. And. Ninety three. Paisa |  |  |  |  |
| 5. | Filling, watering and ramming earth under floor with new earth (Excavated from outside) lead upto one chain and lift upto 5 feet. (SI.22/P4) Extra lead 21.00 Miles (771.96+32.56x15=1260.36 P%Cft For 1000 Cft 12603.60 + composite rate of schedule i.e. 12603.60 + 3630 = 16233.60 P%Cft) | 987.00 Cft | 16233/60 | %0Cft | 16023/- |
|  | Rupees. Sixteen thousand two hundred thirty three. And. Sixty. Paisa |  |  |  |  |
| 6 | Cement concrete brick or stone ballast 1-1/2” to 2” gauge (d) Ratio 1:5:10 (SI.4-c/P-15) | 164.50 Cft | 8694/95 | %Cft | 14303/- |
|  | Rupees. Eight thousand six hundred ninety four. And. Ninety five. Paisa |  |  |  |  |
| 7. | Providing and laying 1” thick topping cement concrete ( 1:2:4 ) including Surface finishing and dividing into panels: ( c ) 2” thick.SI.16 ( c ) / P-42 ). | 822.50 Sft | 3275/50 | %Sft | 26941/- |
|  | Rupees. Three thousand two hundred seventy five. And. Fifty. Paisa |  |  |  |  |
| 8. | Providing and fixing Aluminum sheet on doors pasted with glue as per requirement. ( SI.61 / P-66 ). | 250.00 Sft | 63/77 | P.Sft | 15943/- |
|  | Rupees. Sixty three. And. Seventy seven. Paisa |  |  |  |  |
| 9. | Reinforced cement concrete spout including fixing in position 2 ½” x 6” x 5”. ( SI.14 / P-18 ). | 14 Nos | 261/25 | Each | 3658/- |
|  | Rupees. Two hundred sixty one. And. Twenty five. Paisa |  |  |  |  |
| 10. | Providing and fixing with sunk iron screws wooden Architrave approved design/ shape having width not less than 2- 1/2 inches as directed by Engineer Incharge. ( SI.60/P-66 | 1272.00 Rft | 49/97 | P.Rft | 63562/- |
|  | Rupees. Forty nine. And. Ninety seven. Paisa |  |  |  |  |
| 11. | Two coats of bitumen laid hot using 34 L.bs for % Sft. Ober roof and blinded with sand at one Cft per % Sft. ( SI.13 / P-35 ). | 6136.00 Sft | 1887/40 | %Sft | 115811/- |
|  | Rupees. One thousand eight hundred eighty seven. And. Forty. Paisa |  |  |  |  |
| 12 | Erection and removal of centering for R.C.C. or plain cement concrete works of Deodar wood (2nd class) (SI.19/P-18 | 449.00 Sft | 3127/41 | %Sft | 14042/- |
|  | Rupees. Three thousand one hundred twenty seven. And. Forty one. Paisa |  |  |  |  |
| 13 | Cement concrete plain including placing compacting, finishing and curing, complete ( including screening and washing at stone aggregate without shuttering.(h). Ratio 1: 3: 6. ( SI.5-h / P-16 ). | 230.00 Cft | 12595/- | %Cft | 28968/- |
|  | Rupees. Twelve thousand five hundred ninety five. Only. |  |  |  |  |
| 14 | Providing and fixing Iron collapsible gate with channel framing of section ¾” 5/16” at 4” in/c refitted with ¾” x 1/8” flat Iron pati placed diagonally and provided with top & bottom T-section 1” x 1” 1/8” along with rollers also on/c locking arrangement and fixing in floor / Ceiling or wall etc. completed.( SI.32 / P-94 ). | 80.00 Sft | 387/04 | P.Sft | 30963/- |
|  | Rupees. Three hundred eighty seven. And. Four. Paisa. |  |  |  |  |
|  |  | Total |  |  | 474140/- |
|  | Add: above Item No. Rs. |  |  |  |  |
|  |  | (A). Total Rs. |  |  |  |
|  | NON-SCHEDULE ITEMS PART-“B” |  |  |  |  |
| 1. | P/F iron steel grill using solid square bars of size 3/8”x3/8”” placed @ 4” in/c and frame of flat iron patti of ¾”x3/16” in/c circle design shape @ 1”-0 apart of equivalent fitted with screws of pins in/c painting 3-coats with 1st coat of red oxide paint etc complete. | 1093.00 Sft |  | P.Sft |  |
| 2. | P/F in position M.S. stair case railing 2’-9” high consisting of ¾”x3/4” solid square vertical bars grouted in RCC steps @ 11” apart with flat iron Patti 2”x3/16” on top of square bars with hand rail of sheesham wood 3”x2-1/2” (round on top) fixed on flat iron Patti. The cost includes providing & fixing 3’x3” sheesham wood balustrade at top & bottom of each flight. The cost also includes anticorrosive red oxide primer with 3 coats of enamel paint on bars & polishing of wooden hand rail & balustrades etc complete. | 162.00 Sft |  | P.Sft |  |
| 3. | P/F marble top 7/8” thick china Verona / Teravera or equivalent for stair steps upto size of 5’-0x1’-0 in/c cutting in required size making round gola, making cuts 3 Nos for avoiding slipping and laid over a base of ¾” thick cement sand mortar, filling joints with slurry of white cement grinding & chemical polishing etc complete .Tthe rate in/c all carriage and wastage as directed by the Engineer Incharge, | 352.00 Sft |  | P.Sft |  |
| 4. | P/L pre cast RCC beam / slab roof by using pre cast beams of required size & no and precast slab of size 4.0x2.0x0.25 after leveling of wall by CC, erection of beams & slab filling joints in cement sand mortar as directed by the Engineer Incharge, | 216.00 Sft |  | P.Sft |  |
| 5. | P/F fancy glazed tiles border (size 10”x2” to 8”x3) of approved quality & design & required color to match the color of bath tiles jointed in white cement in/c finishing cleaning etc complete. - | 450.00 Rft |  | P.Rft |  |
|  |  | Total Part-“B” Rs. |  |  |  |
|  |  | Total Part-“A” Rs. |  |  |  |
|  |  | G: Total Part ( A+B ) Rs. |  |  |  |
|  |  | Say Rs. |  |  |  |

CONDITION.

- Typographical errors in the schedule “B” are the subject to the correction with ref: to the schedule of rate Gen: vol: III Part V in forced: 2012 as approved by the standing rate committee.

- No cartage will be paid on any items of works.

- No premium shall be paid on Non-Schedule items.

- Arbitrative clause stand deleted from agreement.

- Water shall be arranged by the Contractor.

| CONTRACTOR | ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB- DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-I, KARACHI. |
| --- | --- | --- |