## Sheet1
SCHEDULE OF PRICE
| NAME OF WORK:- | REPAIR & RENOVATION/ REHABILITATION OF PRIMARY/ SECONDARY SCHOOL UNDER LYARI DEVELOPMENT PACKAGE (PHASE-I) LYARI TOWN KARACHI ESSENCIAL REMAINING WORK OF (i) GOVT.BOYS PRIMARY SCHOOL A.R.SALEH MUHAMMAD (ii) GOVT. BOYS SECONDARY SCHOOL LYARI NO: 1&3 (iii) GOVT. BOYS PRIMARY SCHOOL UBAIDULLAH SINDHI (iv) GOVT. BOYS PRIMARY SCHOOL BALOUCH MUHALLAH v) GBS/PS MM. Sadiq Lyari vi) GGSS Wali Muhammad Haji Yaqoob Lyari vii) GBSS Daryabad Lyari viii) GGSS Kala Kot Lyari ix) GBSS Gul Muhammad Lane Lyari
S:# | DISCRIPTION OF ITEM |  |  |  | RATE |  | UNIT | QUANTITY | AMOUNT
1 | Dismantling cement concrete plain 1:2:4 ( S.I.19-c/P-11)
| 3817.6 | Cft |  | 3327.5 |  | %Cft |  | Rs: | 127030.64
2 | Dismantling cement concrete 1:4:8 (SI # 19a Page # 10)
| 3431 | Cft |  | 1663.75 |  | %Cft |  | Rs: | 57083.2625
3 | Dismantling cement concrete block masonary (P-11/14)
| 1876 | Cft |  | 1134.38 |  | %Cft |  | Rs: | 21280.9688
4 | Removing cement or lime plaster (S.NO.53/P-14)
| 6682 | Sft |  |  | 121 | % Sft |  | Rs: | 8085.22
5 | Providing and laying 1:3:6 cement concrete solid block masonary wall 6 thick below in thickness set in 1:6 cement mortor in ground floor super structure including racking out joints & curring etc, complete. (S.I.NO.22/P-22)
| 3880.66 | Sft |  |  | 15771.01 | % Sft |  | Rs: | 612019.2767
6 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for window using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing
| 450 | Rft |  | 228.9 |  | P.Rft |  | Rs. | 103005
7 | ----do----- windows
| 552 | Rft |  | 240.5 |  | P.Rft |  | Rs. | 132756
8 | P/F in position door windows and ventilator of first class deoder wood frames and 1-3/4" thick commercial ply venier ply venter shatter of fist class deoder skeleton (Hollow) and commercial ply (3-ply) on both sides
| 345.79 | Rft |  | 856.53 |  | P.Rft |  | Rs: | 296179.5087
9 | First class deodar wood wrought, joinery in doors and windows etc.,handels and cords with hooks etc deador panelled or panelled and glazed ( b ) 1 3/4" thick. (S.I # 7-b Page # 65).
| 203.37 | Sft |  | 902.93 |  | P.Sft |  | Rs: | 183628.8741
10 | S/F in position Aluminuim channels framing for sliding windows and ventilator of alcop mode with 5mm thick tinted glass glazed (Belguim) & Aluminium fly screen i/c handles stopper & locking arrangment etc complete (deduxe mode Bronze) (SI # 84b/P-108)
| 144 | Sft |  | 1647.69 |  | P.Sft |  | Rs: | 237267.36
11 | Dismantling cc reinforced separating reinforcement from concrete cleaning and strainghtening the same plain 1:2:4 (SI # 20 P/11)
| 374.12 | Cft |  | 5445 |  | %Cft |  | Rs: | 20370.834
12 | Making Notice Board made with cement plaster 1/2" thick wide finishing 1" wide beading (SI #1P/95)
| 992 | Sft |  | 58.11 |  | P.Sft |  | Rs: | 57645.12
13 | Rcc work I/c all labour for metrial except the cost of cement concret binding and bending which will be paid separtly. This rate also kinds from moulding lifting rendering curring washing of single (a) RCCwork roof, slab beam coloumns rafts lintels and other structure precastof ration 1:2:4 (S.NO.18/P-6)
| 1392.3 | Cft |  | 337 |  | P.Cft |  | Rs: | 469205.1
14 | Fabrication of mild steel reinforcement for cement concret I/c cutting bending laying in positin making joints and fastening I/c cost of binding wire also I/c cost of binding wire also I/c removal of rust from bars (b) using tor bars (P-20-S.NO.7-II)
| 80.8 | Cwt |  | 5001.7 |  | P.Cft |  | Rs: | 404137.36
15 | Reinforced cement concrete spout including fixing in position 2-1/2"x6"x5" (SI # 14 p-18)
| 160 | Nos |  | 261.25 |  | Each |  | Rs: | 41800
16 | Providing and fixing christmas trees of (3'to 4') height including excavated pith (2.0'x2.0'x1.6') including the refilling sweet earth and months as directed by Engineer (R.A)
| 400 | Nos |  | 600 |  | Each |  | Rs: | 240000
17 | Providing and laying 1:3:6 cement concrete solid block masonary wall 6 thick above in thickness set in 1:6 cement mortor in ground floor super structure including racking out joints & curring etc, complete. (S.I.NO.23/P-19)
| 523 | Cft |  | 14621.44 |  | %Cft |  | Rs: | 76470.1312
18 | C,C brick or stone ballast 1-1/2" to 2" guage ration 1:4:8(S.NO. 4-B/P-15)
| 2365.5 | Cft |  | 9416.28 |  | %Cft |  | Rs: | 222742.1034
19 | Providing and laying 3" thick topping cement concrete (1:2:4) including surface finishing and dividing into panels (SI # 16d P-42)
| 4480 | Sft |  | 4411.82 |  | %Sft |  | Rs: | 197649.536
20 | Providing and laying 2" thick topping cement concrete (1:2:4) including surface finishing and dividing into panels (SI # 16c P-42)
| 7632 | Sft |  | 3275.5 |  | %Sft |  | Rs: | 249986.16
21 | Two coats of bitumen laid hot using 34 Ibs for % Sft over roof & blinded with sand at one Cft per % Sft (SI #13 P-35)
Qty same item # 20
| 7632 | Sft |  | 1887.4 |  | %Sft |  | Rs: | 144046.368
22 | Extra Labour for c.c.
Qty same item # 20
| 7632 | Cft |  | 24.2 |  | P.Cft |  | Rs: | 184694.4
23 | Extra Labour for Bitumen
Qty same item # 20
| 7632 | Sft |  | 434.1 |  | %Sft |  | Rs: | 33130.512
24 | Glazing with pens (24 oz to 26 oz) using putty and deodar wooden Ist class fillets (P64/46)
| 1405.6 | Sft |  | 163.9 |  | Sft |  | Rs: | 230377.84
25 | S/F in position Aluminuim channels framing for sliding doors and ventilator of alcop mode with 5mm thick tinted glass glazed (Belguim) & Aluminium fly screen i/c handles stopper & locking arrangment etc complete (deduxe mode Bronze) (SI # 84b/P-108)
| 248 | Sft |  | 1647.69 |  | P.Sft |  | Rs: | 408627.12
26 | Painting new surface preparing surface & painting of doors and windows any type i/c edge (three coats) SI# 5c P-70
Qty same as item #7
Qty same as item #8
| 897.79 | Sft |  | 1183.61 |  | %Sft |  | Rs: | 10626.3322
27 | P/F cement paving blocks flooring having size of 197x97x60 mm of city/quddra /cobble shape with pigment having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner/ pattern and design etc complete (P-49/72)
| 284 | Sft |  | 223.97 |  | P.Sft |  | Rs: | 63607.48
28 | P/F precast Edge block 3750 PSI industrial made size 6" thick x12" high i/c the cost of cartage ,excavation. Form work for haunching ,1450 PSI lean concrete ,2250 PSI concrete for haunching 1:4 cement sand mortor (P-16/14 )
| 100 | Rft |  | 974.19 |  | P.Rft |  | Rs: | 97419
29 | Planting coconut trees height (4'x6') including cxcavated pith (2'.00x2'.00x3'.5") including refilling sweat earth manure watering months as directed by the Engineer/ Incharge (R.A)
| 80 | Nos |  | 1000 |  | Each |  | Rs: | 80000
30 | Providing and applying Graffito (3/8"to 1/2" thick).theproduct composed of material marble guard stone iron oxide,detonium HSC,natural colour chips and pigmnt ammonia nitrogen,jelicoal,heated on high temperature on ultra voilet lamp mixed with acrylic resin anti or lifting after application,resistant to accelerated weather change and resistant to water head of 100 liters per 8 hours drying time having touch dry from 4 to 8 hourse and full dry in 72 hourse the specific gravity varies from texture to texture from 2.5 to 2.8( District Officer-II/P&D checked R.A No... dated: 9-10-2005)
| 6838 | Sft |  | 27.8 |  | P.Sft |  | Rs: | 190096.4
31 | Providing & fixing colour create to wall surface to provide, durable crust and aesthetics having thicness upto 3/4" with specified colour having water, fire and temite resistance (upto 20'-0" height). (S.I # 44 Page # 63)
| 5252 | Sft |  | 27.8 |  | P.Sft |  | Rs: | 146005.6
32 | Making and fixing barbed wire fencing including RCC posts upto 4 horizontal and cross wires. (P-95/7)
| 1724 | Lft |  | 25283.36 |  | %Lft |  | Rs: | 435885.1264
33 | Cement plaster (1:4) upto 20' height 3/4" thick (P-52/11-c)
| 12805.96 | Sft |  | 3015.76 |  | %.Sft |  | Rs: | 386197.0193
34 | Erection and removal of centering for R.C.C. or plain cement concret work of Deodar wood ( 2nd class )( horzental(S.NO.18-B-I)/P-20)
| 2930 | Sft |  | 1405.75 |  | %.Sft |  | Rs: | 41188.475
35 | C.C plain I/c placing compacting finishing and curring complete (I/c screening and washing of stone aggregate without shuttering (Ratio 1:3:6) (P-16)
| 1034 | Sft |  | 12595 |  | %.Sft |  | Rs: | 130232.3
36 | Primary coats of chalk under distemper(P-23/54)
Qty same as item 33
| 12805.96 | Sft |  | 442.75 |  | %.Sft |  | Rs: | 56698.3879
37 | Distempring three coats (SI # 24b P/60)
Qty same as item 36
| 12805.96 | Sft |  | 1183.61 |  | %.Sft |  | Rs: | 151572.6232
38 | S/F Iron steel grills door with angle iron frame of 1-1/2"x1-1/2" x3/4" and flat iron of 3/4" x1/4" with approved design and locking arrangmenty embedded in masonay as per instruction of engineer in charge (S.NO.24/P-92)
| 2544 | Sft |  | 180.5 |  | P.Sft |  | Rs: | 459192
39 | Painting old surface painting guard bars, gates iron bars gratings, railings in/c standard braces (etc.) and similar open work. (Two coats).(CSI # 5-d p # 69)
Qty:same item #38
| 2544 | Sft |  | 1270.83 |  | %.Sft |  | Rs: | 32329.9152
40 | Paroviding Antitermite treatement by spraying/spreading Neptachler 0.5% Emulsion as an over all preconstruction treatment in slab,type construction lunder the slab and along atache preches or entrances etc complete as per direction of Engineer Incharge. (P/115-92)
| 11280 | Sft |  | 4.16 |  | P.Sft |  | Rs: | 46924.8
41 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft. (b) In ordinary Soil. (S.I.No.18-b P-5).
| 1737 | Cft |  | 3176.25 |  | %0Cft |  | Rs: | 5517.1462
42 | Removing and upliting of debries of dismentaled material with (10 miles) carriage 100 Cft/ 5 tons of material like stone aggregate etc (page 01/01 of carriage of material)R.A
| 4873.13 | Cft |  | 954 |  | %Cft |  | Rs: | 46489.6602
43 | Filling watering and ramming earth under floor with new earth brought from out side lead upto one chain & lift upto 5' feet (P-5/S #21
| 8722 | Cft |  | 3663 |  | %0Cft |  | Rs: | 31948.686
44 | Extra lead for 50 feet additional lead 10 miles (Carriage of Material) ( P#1/S-1)
Qty: same item 44
| 8722 | Cft |  | 1132.61 |  | %0Cft |  | Rs: | 9878.6244
45 | P/L tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over base of 1-2 grey cement mortor 3/4" thick i/c washing and filling of the joints with salury of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile (P-60/47)
| 2808 | Cft |  | 30509.77 |  | %Cft |  | Rs: | 856714.3416
46 | P/L floor of verona marble tiles of 12"x12"x3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey CM setting the tiles with grey cement slury jointing and washing the tiles with slury of white cement and pigment to match the colour of tiles i/c curring ,grinding rubbingand chemical polishing etc complete i/c cutting tile to proper profile (R.A)
| 660 | Sft |  | 200 |  | P.Sft |  | Rs: | 132000
47 | P/F with sunken iron screws wooden architrave approved design /shape having width not less then 2-1/2"as directed by the Engineer/Incharge
| 964 | Rft |  | 49.97 |  | PRft |  | Rs: | 48171.08
48 | Applying chemical polishing on existing mosaic/ marbale flooring/ dado i/c cleaning granding with corborendering stone /sand paper and applying chemical polish as per requirement (P49/70)
| 13035 | Sft |  | 36.6 |  | P.Sft |  | Rs: | 477081
49 | P/F fiber glass shade i/c angle iron frame nuts,bolts etc as required (R.A)
| 700 | Sft |  | 519 |  | P.Sft |  | Rs: | 363300
50 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick including finishing. (P-45/38)
| 416 | Rft |  | 28299.3 |  | %Sft |  | Rs: | 117725.088
51 | ____do_____ floor
| 32 | Sft |  | 27678.86 |  | %Sft |  | Rs: | 8857.2352
52 | M/F steel grated door with 1/16"thick sheeting including angle iron frame 2"x2" 3/8" and 3/4" square b ars 4" centre to centre with locking arrangement
| 14 | Sft |  | 726.72 |  | PSft |  | Rs: | 10174.08
53 | Providing and fixing christmas trees of (3'to 4') height including excavated pith (2.0'x2.0'x1.6') including the refilling sweet earth and months as directed by Engineer (R.A)
| 50 | Nos |  | 600 |  | Each |  | Rs: | 30000
54 | Differenc type Sessional Plants (R.A)
| 150 | Nos |  | 150 |  | Each |  | Rs: | 22500
55 | Gulmore tree (R.A)
| 60 | Nos |  | 800 |  | Each |  | Rs: | 48000
[8 empty] | TOTAL:- | 9295551.0962
_______%Above/Below
SIGNATURE OF CONTRACTOR

## Sheet2
| WATER SUPPLY & SANITARY WORK | CLUSTER OF SCHOO LYARI PACKAGE PHASE-I
S# | DESCRIPTION |  | QUANTITY | RATE | UNIT | AMOUNT
1 | P/F squating type white glazed earthenware w.c. pan 19" with low level flushing cistern 3 gallons capacity i/c making requiste No. of holes in walls plinth and floor and making good as finished originality also i/c the cost of C.I. trap 4" dia and C.I. thumble (P-1/231). |  | 2 | 5044.6 | EACH | 10089.2
2 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I or C.I cantilever brakets 6" built into wall painted white in two coat after a primary coat of req: lead paint pair of 1/2" dia chrome plat pillar traps 1-1/2" dia rubber |  | 2 | 4253.7 | EACH | 8507.4
3 | Add:extra labour for providing & fixing |  | 2 | 938.47 | EACH | 1876.94
4 | P/F 6"x2"or 6" x3" C.I floor trap of approved self cleaning design with a C.I screwed down grading with a or without a vent arm complete with & i/c making requisite number |  | 2 | 2042.43 | EACH | 4084.86
5 | P/F chrome plated brass tower rail complete with brackets fixing on wooden cleats with 1" long CP brass screws (b) superior pattern (P-7/1b) |  | 2 | 1412.95 | EACH | 2825.9
6 | P/F 15"x12" bevelled edge mirror of belguim glass complete with 1/8" thick hard board CP screw fixed to wooden pleat (b) superior patterns |  | 2 | 2047.76 | EACH | 4095.52
7 | P/F handle value (China) (P-17/5) 1/2"dia |  | 5 | 200.42 | EACH | 1002.1
| 1"dia |  | 5 | 365.42 | EACH | 1827.1
| 1-1/4" dia |  | 5 | 475.42 | EACH | 2377.1
8 | S/F water pumping set 1 HP with 1400 RMP single phase 220 volts 2"x1.5"x1.5. |  | 1 | 22000 | EACH | 22000
9 | S/F soap tray made of plastic of superior quality (P-7/6) |  | 5 | 169.4 | EACH | 847
10 | Providing RCC pipe with color of class 'A' and digging the trencle to required depth and fixing in position i/c cutting fitting & jointing with mzxphalt composition.
| 6"dia pipe |  | 250 | 199.25 | P.Rft | 49812.5
| 9"dia pipe |  | 100 | 250.6 | P.Rft | 25060
11 | Construction manhole or inspecting chamber for the reqrired dia of circular sewer and 3'-6" depth with walls B.B. in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel including R.C.C. manhole cover etc complete in all respect complete including angle iron frame all respect complete. (P-39/1) |  | 9 | 14748.2 | EACH | 132733.8
12 | Providing chambers 15"x9" (inside dimension) x24" deep for house meters with 6" thick c.c. 1:3:6 block set on 1:6 cement mortor 6" thick c.c. 1:4:8 in foundation 1/2" thick cement plaster 1:3 CM to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cost iron cover and rame 15"x9" inside clear opening wt 1" Qr etc fixed in c.c. 1:2:4 i/c curing execavattion back filling and disposal of earth etc complete (P-17/2) |  | 7 | 4905.67 | EACH | 34339.69
13 | P/F nyloon connection complete with1/2" dia brass stop cock with pair of brass nuts and lining paint to nyloon connections. |  | 10 | 509.74 | EACH | 5097.4
14 | P/F in position C.P bib cock 1/2" dia (stanared patterns) |  | 8 | 1384.24 | EACH | 11073.92
15 | S/F jet shower with rod of superior quality with CP head 1/2" dia (P-15/17 |  | 1 | 1142.2 | EACH | 1142.2
16 | S/F swan type piller cock of superior quality single CP head 1/2" dia |  | 2 | 877.8 | EACH | 1755.6
17 | S/F fiber glass tank of approved quality & design and wall thickness as specified i/c cost of nuts bolts and fixing in platform of c.c 1:3:6 & making connection for inlet & over flow pipe etc complete (600 gallons) |  | 1 | 37505.42 | EACH | 37505.42
18 | P/F Europen white glazed earthen ware down w.c pan complete |  | 1 | 5339.4 | EACH | 5339.4
363393.05
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISON-I
KARACHI
NON-SCHEDULE ITEMS
1 | P/F 'u' PVC pipe of Schedule 40 of nepro plastic for waste and vent pipe i/c and fitting jointing special 'u' PVC cement solution as approved and directed by D.O. Inchrage. (R/A)
| 4" dia |  | 85 | 324.39 | EACH | 27573.15
| 6" dia |  | 100 | 400 | EACH | 40000
2 | P/F 'u' PVC tee 4" dia i/c and fitting jointing special 'u' PVC cement solution as approved and directed by D.O. Inchrage. (R/A) |  | 10 | 650 | EACH | 6500
3 | P/F"u" PVC Elbow 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 10 | 395.34 | EACH | 3953.4
4 | P/F "U" PVC socket 4" dia i/c fitting jointing with spcial "U" PVC cement solution approved |  | 15 | 305.14 | EACH | 4577.1
5 | P/F "U" PVC Cross 4" dia i/c fitting jointing with spcial "U" PVC cement solution approved |  | 5 | 2449.37 | EACH | 12246.85
6 | P/F"u" Y Tee 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 5 | 945.78 | EACH | 4728.9
7 | P/F"u" male thread 4" dia i/c fitting and jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 10 | 573.3 | EACH | 5733
8 | P/F"u" female thread 4" dia i/c fitting and jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 4 | 690 | EACH | 2760
9 | P/F PVC nepro make of schedule 40 including cutting cutting fitting complete including the cost of through walls and roof and maing good with c.c and testing with water to pressure head and handling etc complete (RA)
| 1/2" dia |  | 150 | 45 | P.Rft | 6750
| 3/4" dia |  | 130 | 58.91 | P.Rft | 7658.3
| 1" dfia |  | 100 | 91.68 | P.Rft | 9168
10 | P/F PVC socket of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 20 | 37.8 | Each | 756
| 3/4" dia |  | 20 | 45.8 | Each | 916
| 1" dfia |  | 10 | 55.48 | Each | 554.8
11 | P/F PVC Elbow of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 20 | 54.95 | Each | 1099
| 3/4" dia |  | 20 | 75.79 | Each | 1515.8
| 1" dfia |  | 20 | 140.25 | Each | 2805
.
12 | P/F PVC Union of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 20 | 350.88 | Each | 7017.6
| 3/4" dia |  | 20 | 381.12 | Each | 7622.4
| 1" dfia |  | 20 | 471.88 | Each | 9437.6
13 | P/F PVC Bush of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 20 | 64.34 | Each | 1286.8
| 3/4" dia |  | 20 | 85.8 | Each | 1716
| 1" dfia |  | 20 | 140.8 | Each | 2816
14 | P/F PVC Clamps of schedule 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by Inchrage. (R/A)
| 1/2" dia |  | 20 | 5.83 | Each | 116.6
| 3/4" dia |  | 20 | 10.56 | Each | 211.2
| 1" dfia |  | 20 | 10.36 | Each | 207.2
15 | P/F PVC End of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 10 | 225.06 | Each | 2250.6
| 3/4" dia |  | 10 | 229.9 | Each | 2299
| 1" dfia |  | 10 | 375.16 | Each | 3751.6
16 | P/F PVC conceled stop cock of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge |  | 10 | 290.73 | Each | 2907.3
17 | P/F PVC Elbow 45 degree schedule 40 i/c fitting etc complete as directed by Executive Inchage (R.A)
| 1/2"dia |  | 25 | 69.03 | Each | 1725.75
| 3/4" dia |  | 25 | 89.65 | Each | 2241.25
| 1" dia |  | 25 | 154.66 | Each | 3866.5
18 | P/F PVC male thread adoptoer of schedule 40 i/c fitting etc complete as directed by Executive Engineer Inchage (RA)
| 1/2"dia |  | 20 | 44.99 | Each | 899.8
| 3/4" dia |  | 20 | 61.7 | Each | 1234
| 1" dia |  | 20 | 130.9 | Each | 2618
19 | P/F PVC tee of schedule 40 i/c fitting etc complete as directed by Executive Engineer Incharge (RA)
| 1/2"dia |  | 20 | 109.67 | Each | 2193.4
| 3/4" dia |  | 20 | 136.29 | Each | 2725.8
| 1" dia |  | 20 | 160.49 | Each | 3209.8
20 | P/F PVC female thread adopter of schedule 40 i/c fitting etc complete as directed by Executive Engineer Inchage (RA)
| 1/2"dia |  | 20 | 244.75 | Each | 4895
| 3/4" dia |  | 20 | 260.7 | Each | 5214
| 1" dia |  | 20 | 350.9 | Each | 7018
218776.5
363393
582169.5
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISON-I
KARACHI

## Sheet3
| ELECTRIC WORKS | CLUSTER OF SCHOO LYARI PACKAGE PHASE-I
S# | DESCRIPTION |  | QUANTITY | RATE | UNIT | AMOUNT
1 | Wiring for light of fan point with 1/1.13(3/0.29)pvc insulated wire in 20 mm 3/4 pvc conduct recessed in the wall or column as required (B-6P-1) |  | 125 | 538.5 | P.Pts | 67312.5
2 | Wiring for plug point with 1/1 .13 (3/0.29) pvc insulated wire in 20mm 3/4" pvc conduct recessed in the wall or col. As req:(B10/P2) |  | 20 | 269.03 | P.Pts | 5380.6
3 | P/F mild steel bar fan clamp `15.8 dia suitable for RCC Roof (C1/P14) |  | 6 | 141.01 | P.Pts | 846.06
4 | P/F distribution board double shugtter to accommodate circuit breakers i/c painting with enamalled paint and for other similar jobs on surface (SI No:07/P13) |  | 2 | 976.46 | P.Sft | 1952.92
5 | Providing circuit breaker 6-63 amps DP i/c fixing on a prepared board and necessary electic connection |  | 12 | 442.02 | EACH | 5304.24
6 | Providing circuit breaker 6-63 amps DP i/c fixing on a prepared board and necessary electic connection |  | 12 | 948.02 | EACH | 11376.24
7 | Providing circuit breaker 30-50 amps DP i/c fixing on a prepared board and necessary electic connection |  | 6 | 3837.63 | EACH | 23025.78
8 | Providing circuit breaker 6-50 amps TP i/c fixing on a prepared board and necessary electic connection |  | 6 | 6157.43 | EACH | 36944.58
9 | P/F S.W canopy block & bakolight ciling rose on S.W block (D3/P14) |  | 12 | 44 | EACH | 528
10 | P/F 2-40 watt tube light complete with 40 watt 4"-0 long rod chock, starter and putty with philips component i/c necessary electric connection and fixing on wall/ceiling etc complete (SI No:2P33) |  | 8 | 1677 | EACH | 13416
11 | P/F BC bakolite angular type button holder (SI No:1/P14) |  | 8 | 53.69 | EACH | 429.52
12 | P/F wall bracket light fancy type superior quality i/c fixing on existing holder etc complete (SI.NO:5 P/33) |  | 8 | 497 | EACH | 3976
13 | P/F Energy saver superior quality i/c fixing on existing holder etc complete (SI.No:6p/33) |  | 20 | 497 | EACH | 9940
14 | Erection of ceiling fans i/c wiring of down and with 1/1 .13mm (3/029) PVC wire fixing of reguloators blade canopy etc as required (D-1/P-14) |  | 6 | 82.16 | EACH | 492.96
180925.4
________%Above/Below
signature of contractor
1 | Wiring for fan point with 1/1.13(3./029)pvc insulated wire pvc in Existing pvc i/c removing of old burst wire etc complete |  | 6 | 500 | EACH | 3000
2 | P/F switch 5 amps with fency type sheet i/c plastic board imported make etc |  | 6 | 120 | EACH | 720
3 | P/F 2 pin 5 amps plug socket with fency type sheet i/c plastic board imported make etc |  | 3 | 175 | EACH | 525
4 | P/F fancy type 3 pin 5 amps SP plug socket with ortted make i/c plastic board imported makein the wall etc |  | 3 | 225 | EACH | 675
5 | P/F fancy type 3 pin 5 amps SP plug socket with ortted make i/c plastic board imported makein the wall etc |  | 3 | 350 | EACH | 1050
6 | P/F Fan dimmerwith fency type sheet i/c necessary connection & fixing on a prepared board plastic board etc. |  | 6 | 375 | EACH | 2250
7 | Wiring for main with 4-7/044 pvc insulated wire in pvc capping and cassing etc complete |  | 125 | 220 | Each | 27500
8 | P/F Earthing set with 1-1/2x1/2'X1/4" gi plate buried in the ground at depth of 12ft water comes out from the ground level with salt and etc |  | 1 | 15000 | EACH | 15000
9 | Wiring for main with 2-7/044 pvc insulated wire in pvc capping and cassing etc complete |  | 60 | 110 | Each | 6600
10 | Wiring for main with 2-7/029 pvc insulated wire in pvc capping and cassing etc complete |  | 175 | 58 | Each | 10150
11 | P/F search light 400 watt imported quality with chock lamp & ihnsyot i/c fixing on wall with necessary electric connection etc complete |  | 1 | 9500 | Each | 9500
12 | P/F ceiling fan 56" sweep approved quality i/c necessary electric connection etc complete |  | 4 | 3800 | Each | 15200
13 | P/F wall bracket fan 18" sweep (Royal/GFC Make) |  | 3 | 3400 | Each | 10200
14 | Wiring for main with 2-7/064 PVC insulated wire in pvc capping and cassing i/c 1.5mm pvc earth wire etc complete. |  | 210 | 600 | Each | 126000
15 | P/F Stablizer 5000 watt (LQR) |  | 1 | 18000 | Each | 18000
16 | P/F 2 HP motor pump set 2HP 2800 RMP phase 220 watts 1"x1"x40 feet head i/c base plate and also making cc 1:3:6 plate form of required size and fixing with nuts and both complete in all etc complete |  | 1 | 15000 | Each | 15000
6 | P/F Electric water cooler matalic body 30 gallons National Make i/c filtre etc complete |  | 2 | 65000 | Each | 130000
391370
180925
572295