Name of work:  M&R TO CHIEF MINISTER HOUSE KARACHI (DAY TO DAY COMPLAINTS ELECTRIC WORK).

SCHEDULE B

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | S/F Tube Rod 4’ft long 40/36 watt as approved quality etc complete. | 150-Nos |  | Each |  |
| 2 | S/F Tube Rod 2 ‘ft long 20 watt as approved quality etc complete. | 72-Nos |  | “ |  |
| 3 | P/F Tube Rod starter 40/36 & 20 watt as approved quality etc complete. | 72-Nos |  | “ |  |
| 4 | P/F Tube Light 1-40 watts fancy shade i/c chowk starter i/c necessary electric connection etc complete. | 36-Nos |  | Each |  |
| 5 | S/F Tube light chock 40 watt i/c fixing etc complete. | 72-Nos |  | “ |  |
| 6 | S/F Tube light chock 20 watt i/c fixing etc complete. | 72-Nos |  | “ |  |
| 7 | S/F Tube light Electronic chock 40 watt i/c fixing etc complete. | 72-Nos |  | “ |  |
| 8 | P/F Bulb 100 watt Pin type as approved quality etc complete. | 240-Nos |  | “ |  |
| 9 | P/F Bulb 100 watt screw type as approved quality etc complete. | 240-Nos |  | “ |  |
| 10 | P/F Candle Bulb 60 watt type as approved quality etc complete. | 300-Nos |  | “ |  |
| 11 | P/F Candle Bulb 60 watt screw type as approved quality etc complete. | 300-Nos |  | “ |  |
| 12 | S/F Bulb Helogen type 10-50 watt i/c fixing as approved quality etc complete. | 72-Nos |  | “ |  |
| 13 | S/F Bulb Helogen type 12 watt i/c fixing as approved quality etc complete. | 72-Nos |  | “ |  |
| 14 | P/F Energy Saver 25 watt i/c holder i/c electric connection as approved quality etc complete. | 144-Nos |  | “ |  |
| 15 | P/F Energy Saver 11 watt i/c holder i/c electric connection as approved quality etc complete. | 144-Nos |  | “ |  |
| 16 | P/F Aadopter 12 watt (For ceiling light i/c fixing as approved quality etc complete. | 48-Nos |  | “ |  |
| 17 | P/F Dimmer for Ceiling Fan as approved quality etc complete. | 72-Nos |  | “ |  |
| 18 | P/F Dimmer for Ceiling Fan Fancy type as approved quality etc complete. | 72-Nos |  | “ |  |
| 19 | P/F Fancy Switch Socket with board as per approved quality by the Engineer Incharge etc complete. | 168-Nos |  | “ |  |
| 20 | P/F Universal 5 amps with PVC board i/c necessary electric connection etc complete. | 144-Nos |  | “ |  |
| 21 | P/F Power Plug 15 amps with board etc complete. | 144-Nos |  | “ |  |
| 22 | S/F Wire 23/076 i/c electric connection as approved quality etc complete. | 6-Coll |  | P.Coil |  |
| 23 | S/F Wire 2-3/029 i/c electric connection as approved quality etc complete. | 4-Coil |  | P.Coil |  |
| 24 | S/F Wire 2-3/036 i/c electric connection as approved quality etc complete. | 3-Coil |  | “ |  |
| 25 | S/F Wire 2-7/044 i/c electric conection as approved quality etc complete. | 3-Coil |  | “ |  |
| 26 | S/F Helogen Rod 500 watt i/c fixing as approved quality etc complete. | 72-Nos |  | Each |  |
| 27 | S/F Bed Switch 10-Amp i/c fixing as approved quality etc complete. | 72-Nos |  | “ |  |
| 28 | S/F Neto Tape as approved quality etc complete. | 72-Nos |  | “ |  |
| 29 | P/F Schandlier Holder i/c fixing as approved quality etc complete. | 72-Nos |  | “ |  |
| 30 | P/F 500 watt bulb as approved quality etc complete. | 72-Nos |  | “ |  |
| 31 | P/F 250 watt bulb as approved quality etc complete. | 72-Nos |  | “ |  |
| 32 | P/F Holder Pin type as approved quality etc complete. | 144-Nos |  | “ |  |
| 33 | P/F Holder Screw type as approved quality etc complete. | 144-Nos |  | “ |  |
| 34 | P/F New Capacitor for Split Unit AC for capacity 2-ton/1.50 ton etc complete. | 24-Nos |  | “ |  |
| 35 | P/F Aero Flex Pipe 7/8”pipe i/c fixing etc complete. | 300-Rft |  | P.Rft |  |
| 36 | Repairing & Refixing of different existing old wires & fixing of new PVC flexible pipe ¾”dia tapping i/c fixing of wall of roof clipping with hooks etc complete as directed by Engineer Incharge etc complete. | 460.00 Rft |  | P.Rft |  |
| 37 | P/F Copper Pipe 5/8”x1/4”Pipe etc complete. | 160-Rft |  | P.Rft |  |
| 38 | S/O Nails mixed approved quality etc complete. | 12-Pkt |  | P. Pkt |  |
| 39 | S/O Steel Nails 2”long as per approved quality etc complete. | 8-Pkt |  | P. Pkt |  |
| 40 | S/O Steel Nails 1-1/2”long as per approved quality etc complete. | 8-Pkt |  | “ |  |
| 41 | S/O Steel Nails 1”long as per approved quality etc complete. | 12-Pkt |  | “ |  |
| 42 | S/O Screw 1-1/2”dia long as per approved quality etc complete. | 12-Pkt |  | “ |  |
| 43 | S/O Screw ¾ ”dia long as per approved quality etc complete. | 16-Pkt |  | “ |  |
| 44 | Servicing of Split AC Capacity of 2.00/1.50 Ton Window & out door unit i/c repair of leakage etc complete. | 16-Nos |  | Each |  |
| 45 | Re-Gas Charging of Split AC Capacity of 2.00 Ton/1.50 Ton etc complete. | 16-Nos |  | Each |  |
| 46 | Refixing of Old Split AC in door & Out door unit with new copper piping Aero flex etc complete. | 16-Nos |  | Each |  |
| 47 | P/F New Condensror for Split AC Inner set etc complete. | 16-Nos |  | “ |  |
| 48 | P/F Flower Nuts for AC Inner and Out door 1/8 & 3/8 brass special etc complete. | 16-Nos |  | “ |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- Arbitraction clause stands deleted from the agreement.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi