Name of work:  M/R TO CHIEF MINISTER HOUSE KARACHI (CONSULTANT SECRETARY TO CM BLOCK OFFICES & PESSAGE (COLOURING FALSE CEILING WOODEN PANELLING TILES FLOORING & RENOVATION OF BATH ROOMS FIXTURE)

SCHEDULE B

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismentalling of glzed or encaustsic tiles (S.I.55/13) | 435.25 Sft | 786/50 | %Sft | 3423 |
| 2 | P/F in position doors & windows and ventilators of first class deodar wood frame and 1-3/4”thick commercial ply venner shutter of first class deodar skeleton (hollow) and commercial ply wood (3-ply)on both sides.(S.I.9/58) | 49.00 Sft | 1227/36 | Sft | 60141 |
| 3 | Cement Concrete plain i/c placing compacting finishing & curing complete i/c screening & washing at stone aggregate without shuttering (h) 1.3.6 (S.I.5h/16) | 34.98 Cft | 12595/- | %Cft | 4406 |
| 4 | S/F in position aluminum channel framing for slidding windows and ventilators of alcop made with 5mm thick tinted glass glazing Belgium etc complete.(S.I.108/85-b)(Dulex model bronoze). | 18.00 Sft | 1647/69 | Sft | 29658 |
| 5 | S/F in position aluminum channel framing for slidding windows and ventilators of alcop made with 5mm thick tinted glass glazing Belgium etc complete.(S.I.108/85-b)(Dulex model bronoze). | 49.00 | 1507/66 | Sft | 73875 |
| 6 | Scraping ordinary distempering oil bound distemper or paint on walls (s.i.No.54-b/13). | 446.62 | 226/88 | % Sft. | 1013 |
| 7 | Preparing the surface & Painting applying rock wall shield/Natural wall texture coating to provide durable crust to wall thickness b/w 2mm to 32mm (1/8”)with acrylic co-polymer emulsion selected marble chips adhesive and bacterides water resistance and fire and termite resistance (upto 20.0’ft height)(S.I 43/56) | 446.62 Sft | 4504/50 | %Sft | 20118 |
| 8 | S/F False Ceiling of plaster of paris in panels i/c making frame work of deodar wood i/c railing with painting etcv | 1005.15 | 25292/42 | %Sft | 254237 |
| 9 | P/F approved quality mortice Lock (S.I.60/21) | 4-Nos | 1786/13 | Each | 7145 |
| 10 | Preparing the surface & Painting with emulsion paint on masonary walls(2-coats)(S.I.31/A+B/P.73) | 4168.32 Sft | 1305/37 | %Sft | 54412 |
|  | Total |  |  |  | 508428 |
|  | Less % Below tem 2,4,& |  |  |  |  |
|  | Total A-I |  |  |  |  |
| 1 | P/F Bath Room tiles 18”x12” ‘laid on ¾” over cement sand mortor ratio 1.2 i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile i/c all cost of material labour & cartage etc complete. | 499.25 Sft |  | P. Sft. |  |
| 2 | French Polishing of doors & windows / floor work etc i/c preparing surface & Painting by using Indian Lakhadan Sprit pigment i/c lacquer tarpene oil etc complete as directed by the Engineer Incharge. | 549.00 Sft |  | Sft |  |
| 3 | P/F approved quality Porceilien floor pipe (Imported quality) size upto 24’’x24 ‘laid over cement chemical bond i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile for floor or dado i/c all cost of material labour & cartage etc complete. | 1487.49 |  | P. Sft. |  |
| 4 | M/F wooden wall penelling ½”thick i/c frame (2x4) with wooden panel making (2x1)deodar wood panel joint covering with brass T-section ½ thick with & top of paneling fixed on wooden fancy beading round shape 1-1/2”complete & frensh | 1781.30 |  | Sft |  |
| 5 | P/F Hydrollic door closer best quality etc complete. | 5-Nos |  | Each |  |
|  | Total A II |  |  |  |  |
|  | G Total A |  |  |  |  |
|  | Part B W/S & S/F |  |  |  |  |
| 1 | P/F 6x2” or 6x3 CI floor trape.dia inlet and 4”dia outlet of the approved self cleaning cistern with or without a vent arm i/c cost of making requisite number of holes in walls plinth & floor for pipe connection and making good CC 1.2.4 (S.I.6/21) | 6-Nos | 2042/43 | Each | 12255 |
| 2 | P/F complete Squating type white glazed earthen ware wash down wc pan complete in and i/c the cost of white black plastic seat best quality and lid with cp brass hinges and buffers 3 gallons white glazed earthen ware low down level finishing cistern with siphon fitting 1-1/2” dia white porceilien enameled flush bend ¾ dia and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1.2.4 (Foreign quality)(S.I2b/1)(with 4”dia CI trape. | 1-No | 5772/80 | Each | 5773 |
| 3 | P/F 22x16 lavatory basin in white glazed earthen ware complete with and i/c the cost of WI or CI ventilator brackets 6”built into walls pointed white in two coats after a primary coat of red head of paint a pair of 1-1/2 dia rubber plug and chrome plated brass chain 1-1/4 dia maloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement mortor 1.2.4 Foreig or equilent)(S.I.13/4) | 2-Nos | 6237/- | Each | 12474 |
| 4 | Add extra for labour for providing and laying of earthen ware pedestal white or coloured glazed foreign or equilent.(S.I 11/3) | 2-Nos | 2533/47 | Each | 5067 |
| 5 | S/F Bath Room Accessories set (7-Pieces ) i/c towel rod brush holder soap tray shelf of approved design i/c cost of screwes nuts etc complete (Master Brand). | 2-Nos | 10322/40 | Each | 20644 |
| 6 | S/F CP Muslim Shower with double bib cock & Ring Pipe etc complete.(S.I.19-b/19) | 2-Nos | 3432/- | Each | 6864 |
| 7 | P/F flat back lipped from urinal basin (of not less then 17” in height) of white glazed earthen ware complete with & i/c the cost of 1 gallon CI automatic flushing cistern with fittings pot cock CI or WI bracket standard flush pipe with fitting standard waste pipe (Enamelled Iron) connection complete & making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1.2.4 (Foreign or Equilent) | 1-No | 4440/70 | Each | 4441 |
|  | Total |  |  |  | 67518 |
|  | Add % above |  |  |  |  |
|  | B |  |  |  |  |
| 1 | P/F European Commode Couple Set (make Porta)ultra or equilent quality earthen ware with flush tank seat cover approved design shape i/c making holes in walls plinth floor and pipe connection CC 1.2.4 i/c carriage from shower room to site as directed by the Engineer Incharge. | 2-Nos |  | Each |  |
| 2 | P/F 1/2 dia CPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.(A) 1/2 | 80-Rft |  | Rft |  |
| 3 | P/F 4” dia UPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.(A) 1/2 | 10-Rft |  | Rft |  |
| B | --do—3” | 30-Rft |  | Rft |  |
| 4 | P/F UPVC Sanitary fitting make Pak Arab or equilent quality with AGM solution as directed by the Engineer Incharge. |  |  |  |  |
| A | 3”dia Tee | 4-Nos |  | Each |  |
| B | 3”dia Bend | 2-Nos |  | Each |  |
| C | 3”dia Plug Tee | 2-Nos |  | Each |  |
| D | 4”dia Bend | 2-Nos |  | Each |  |
| E | 4”dia Plug tee | 2-Nos |  | Each |  |
| F | Floor Trape Jalli | 6-Nos |  | Each |  |
| 5 | P/F CP Concealed Tee Stop Cock as approved quality etc complete. | 6-Nos |  | Each |  |
| 6 | P/F CP Coated double Bib Cock ½ dia best quality. | 2-Nos |  | “ |  |
| 7 | P/F CP Coated Wash Basin Mixture as approved quality etc complete. | 2-Nos |  | “ |  |
|  | Total B II |  |  |  |  |
|  | G Total B |  |  |  |  |
| 1 | Wiring for light or fan point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.129/18) | 48-Nos | 910/- | Each | 43680 |
| 2 | P/L main or Sub main PVC insulated with size 2-7/029 (4mm2) copper conductor in ¾ ” dia PVC conduit on surface.(S.I.4/1) | 100.00 | 171/- | p.Meter | 17100 |
|  | TOTAL |  |  |  | 60780 |
|  | Part C Elctric NSI |  |  |  |  |
| 1 | P/F 2-40 watt double tube light i/c necessary electric connection etc complete. | 15-Nos |  | Each |  |
| 2 | P/F Wall Bracket Fan 18” Pak make as approved quality i/c necessary electric connection etc complete. | 6-Nos |  | “ |  |
| 3 | P/F Exhaust Fan Plastic Body 12”dia i/c necessary electric connection etc complete. | 3-Nos |  | “ |  |
| 4 | P/F Fancy false ceiling light i/c shade approved colour & design i/c holder bulb & necessary electric connection etc complete. | 48-Nois |  | “ |  |
| 5 | P/F Universal 5 amps with PVC board i/c necessary electric connection etc complete | 12-Nos |  | “ |  |
| 6 | P/F Power Plug 15 amps with board etc complete | 6-Nos |  | “ |  |
|  | Total C |  |  |  |  |
|  | G Total C |  |  |  |  |
|  | G Total A+B+C |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- Arbitraction clause stands deleted from the agreement.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi