SCHEDULE B.

NAME OF WORK 	S/R TO Secretary Bungalow No. 05, Shireen Jinnah colony Karachi

(Residence of Mr. Syed Mumtaz Ali Shah Secretary works & Services ).

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1. | Cement plaster 1:6. Upto 12” height ½” (b) ½” thick. (s.i.No.13-b/52) | 451.33 Sft | 2590/50 | % Sft. | 11692 |
|  | P/l 1” thick topping c.c. 1:2:4 i/c surface finishing & dividing into panels(S.I.16-b/42) | 961.75 Sft | 3275/50 | % Sft | 31502 |
|  | Preparing the surface & painting with matt finish paint of approved make to old matt finish surface 2nd each subsequent coat (S.I.37-A+B/55) | 1489.07 Sft | 1948/10 | %Sft | 29009 |
|  | P/ Fixing GI expanded metal with 1” deodar wooden strips and screws(22-a/61) | 43.87 sft | 296/05 | P.Sft | 12988 |
|  | Cement concrete brick or stone ballast 1-1/2” to 2” guage ration 1:4:8. ( s.i.No.4-b/15) | 242.12 | 9416/28 | % cft | 22799 |
|  | Total Rs, |  |  |  | 107990 |
|  | Building ( Non Schedule Items ). |  |  |  |  |
| 1. | P/F fancy type floor and dado tiles 9 master/ sonex/shabbier) size 16”x1/4” or 18”x18”x1/4’ approved sze make design and colour i/c laying with bond solution sand mortar i/c jointing cement and filling or joints with slurry of white cement in desired shape with finishing cutting of tiles to proper profile as desired by engineer incharge. ( local make ) | 3493.75 |  | P. sft |  |
| 2 | P/F upvc pipe soil and vent pipe of pak arab make of approved quality on wall upto height of 50’ft, with plant i/c clamps paid separately this rate i/c making joints with upvc fitting by using approved pest solution (A.G.M ). Etc, complete i/c all cost of labour & material cartage . |  |  |  |  |
| (i) | -do- ½” dia. | 30.0 rft |  | P. Rft |  |
| (ii) | -do- 1” dia. | 236.0 rft |  | -do- |  |
| (iii) | -d- 4” dia. | 90.00 rft |  | -do- |  |
| 3. | P/F Handle valve 1’ dia good quality as approved by the E.E. | 1-No. |  | Each |  |
| 4. | P/f wall light for compound wall as approved by the E.E. | 15-Nos. |  | -do- |  |
| 5. | M/F grahic auto paint top wall surface to provede durable asetthic surface heaving thicknees b/w 1.6x2.0 mm in specified colour/shape and working at height of 50’ using scaffolding as directed by the E.E. | 7499.23 sft |  | P. sft |  |
| 6. | P/f precast slab 1 ½” thick with cement sand mortar ratio 1:2:4. Finishing curing etc, complete i/c the cost of carriage and labour charges upto 50’ height. | 46.0 sft |  | P. sft |  |
| 7. | P/F 4” dia Elbow plug. | 4-Nos. |  | Each |  |
| 8. | P/F garden light etc, complete. | 6-Nos. |  | -do- |  |

TERMS AND CONDTION.

- Any typographical errors in the schedule B are subject to the correction with

Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as

Approved by the S R C, Sindh Karachi

- Arbitration clause stands deleted from the agreement.

- No premium shall be paid on a Non schedule items.

4.     100% WELL Graded crushed bajri shall be used in items of work without any

extra payment

- No Any items of exvceed then the Quantity Provided in the Schedule B without

Prior of the Executive Engineer.

6.  All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                         ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.