Tender Reference No. 01(06)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Excavation for pipe line in trenches and pits in hard rock by chiseling trimming and dressing alignment and shape leaving up to one chain | 22950/Cft | 4650/- | Rupees Four Thousand Six Hundred & Fifty Only | %0Cft | 106717/- |
| 2. | Excavation of pipe line trenches pipe all kind of soil murum i/c trimming dressing leveling beds trenches correct level and graded cutting joints holes disposal of surplus earth with in 1 chains as directed by the Engg: Inch: P. fence guard lights flags temporary crossing non vehicler traffic where ever req: a lift upto 5 ft & lead up to 1 chain. | 5100/Cft | 24150/- | Twenty Four Thousand One Hundred & Fifty Only | %0Cft | 123165/- |
| 3. | P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70 class II wall ‘B’ and fixing in trenches i/c cutting fitting jointing with rubber ring i/c testing with water to specified pressure 9″ & 12″dia pipe. | 1700/Rft | 367/- | Three Hundred & Sixty Seven Only | P.Rft | 623900/- |
| 4. | Const of Main Holes 4 inside with Rcc covers 21″dia 3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC cost in situ 9″ thick wall and disposal of surplus stuff etc comp: | 65 No | 9307.86 | Nine Thousand Three Hundred Seven & Eighty Six Paisa Only | Each | 605011/- |
| 5. | Add or deduct for depth of man holes above or beyond 5 ft (RA). | -32.5 No | 1609.15 | One Thousand Six Hundred Nine & Fifteen Paisa Only | Each | -52297/- |
| 6. | Refilling the excavated stuff in trenches 6″ thick layer i/c watering ramming to full compaction etc comp: | 22950/Cft | 2760/- | Two Thousand Seven Hundred & Sixty Only | %0Cft | 63342/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 7. | M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars 4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing stacking and transportation with in 10 Miles | 50 Nos | 913.63 | Rupees Nine Hundred Thirteen & Sixty Three Paisa Only | Each | 45681/- |
| 8. | M/S of Rcc Ring Slab of 21"dia inside 36"dia out side 75" width and 6" thick i/c dia tor steel bars two concrete ring with 3/8"dia 8 No cross liaked bars welded and two sunk type hooks cost in a 1:1 1/2 3 concrete with embaded 15kg C.I from in prefund position i/c transportation cage etc | 50 Nos | 1906.60 | One Thousand Nine Hundred Six & Sixty Paisa Only | Each | 95330/- |
| 9. | Rate Analysis for shifting to the site and fixing 26” dia Ring Slab in perfect position on damage manhole i/c cutting of damage portion of mentioned in past shape and laying of cement concrete mortar of 2” thickness and disport | 50 No | 563.09 | Five Hundred Sixty Three & Nine Paisa Only | Each | 28154/- |
| 10. | Dismantling cement concrete plain 1:4:8 | 10875/Cft | 1663.75 | One Thousand Six Hundred Sixty Three & Seventy Five Paisa Only | %Cft | 180933/- |
| 11. | Earth work excavation undressed lead up to a single throw of Kassi Phawarah or Shovel | 8700/Cft | 1361.25 | One Thousand Three Hundred Sixty One & Twenty Five Paisa Only | %0Cft | 11843/- |
| 12. | Cement concrete bricks or stone ballast 1 ½” to 2 gauge | 12919/Cft | 9416.28 | Nine Thousand Four Hundred Sixteen & Twenty Eight Paisa Only | %Cft | 1216489/- |
| 13. | P/L 2" thick toping cement concrete 1:2:4 i/c surface finishing and dividing into panels etc completed. | 39150/Sft | 3275.50 | Three Thousand Two Hundred Seventy Five & Fifty Paisa Only | %Sft | 1282358/- |
| 14. | Cartage of 100 Cft 5 tons all materials like stone aggregate spwals lime surkhi BG rail fasting points crossing bridge guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood by trenches owned by the contractor withing 10 miles etc comp: | 19575/Cft | 595.80 | Five Hundred Ninety Five & Eighty Paisa Only | %Cft | 116628/- |
| Total Amount of Schedule Items |  |  |  |  |  | 4447254/- |
| Add 2 % Contingencies |  |  |  |  |  | 88945/- |
| Total |  |  |  |  |  | 4536199/- |