Tender Reference No. 01(08)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling and removing road metal | 10500/Cft | 605/- | Six Hundred & Five Only | %Cft | 63525/- |
| 2. | Excavation for pipe line in trenches and pits in hard rock by chiseling trimming and dressing alignment and shape leaving up to one chain | 105000/Cft | 4650/- | Four Thousand Six Hundred & Fifty Only | %0Cft | 488250/- |
| 3. | Providing laying and fixing in trenches i/c fitting jointing and testing etc complete in all respect the high density polythene PE pipe (HDPE-110) for W/S Confirming ISO 4”dia 6”dia | 6800/Rft 1600/Rft | 268/- 342/- | Two Hundred & Sixty Eight Only Three Hundred & Forty Two Only | P.Rft P.Rft | 1822400/- 547200/- |
| 4. | Sluice valve pressure 21 Kg imported 12”dia 8”dia 4”dia | 04 No 08 No 08 No | 78000/- 17940/- 5460/- | Seventy Eight Thousand Only Seventeen Thousand Nine Hundred & Forty Only Five Thousand Four Hundred & Sixty Only | Each Each Each | 312000/- 143520/- 43680/- |
| 5. | Fixing S/V with cost iron tail pieces 1 and flanged other with socket labour etc complete 12”dia 8”dia 4”dia | 04 No 08 No 08 No | 3821/- 2790/- 1532/- | Three Thousand Eight Hundred & Twenty One Only Two Thousand Seven Hundred & Ninety Only One Thousand Five Hundred & Thirty Two Only | Each Each Each | 15284/- 22320/- 12256/- |
| 6. | P/F Split collar 9” wise on A/C pipe ¼ thick MS plate weighing sealing material etc complete 12”dia 8”dia 4”dia | 04 No 04 No 04 No | 2510/- 2129/- 1835/- | Two Thousand Five Hundred & Ten Only Two Thousand One Hundred & Twenty Nine Only One Thousand Eight Hundred & Thirty Five Only | Each Each Each | 10040/- 8516/- 7340/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 7. | P/F 9” long 3/8 thick MS Neck to existing MS pipe or to a split collar Tee 6” dia 4”dia | 08 No 08 No | 1984/- 1229/- | One Thousand Nine Hundred & Eighty Four Only One Thousand Two Hundred & Twenty Nine Only | Each Each | 15872/- 9832/- |
| 8. | P/F MS Tail Piece (Dholki) on A/C Pipe 12”dia | 08 No | 2997/- | Two Thousand Nine Hundred & Ninety Seven Only | Each | 23976/- |
| 9. | Refilling stuffs etc complete | 115500/Cft | 2760/- | One Lac Fifteen Thousand & Five Hundred Only | %0Cft | 318780/- |
| 10. | Rcc Chamber 1:2:4 M.G thick plaster flooring steel 1 /2” dia 6” CC Dist. ¼” dia 8” etc complete | 04 | 28357/- | Twenty Eight Thousand Three Hundred & Fifty Seven Only | Each | 113428/- |
| TOTAL |  |  |  |  |  | 3978219/- |
| Add 2% Contingencies |  |  |  |  |  | 79564/- |
| Total |  |  |  |  |  | 4057783/- |