Tender Reference No. 01(09)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Earth work excavation undressed lead up to a single throw of Kassi Phawarah or Shovel | 5200/Cft | 1663.75 | One Thousand Six Hundred Sixty Three & Seventy Five Paisa Only | %0Cft | 8651/- |
| 2. | Dismantling cement concrete reinforcement separting reinforced cement form concrete cleaning and straightening the same | 700/Cft | 5445 | Five Thousand Four Hundred & Forty Five Only | %Cft | 38115/- |
| 3. | Erection or removal centering for Rcc or CC Plain plain work deador wood 2nd class. | 1800/Sft | 3127.41 | Three Thousand One Hundred Twenty Seven & Forty One Paisa Only | %Sft | 56293/- |
| 4. | P/L 1:2:4 cc situ i/c placing compacting finishing curing i/c screening washing stone aggregate with out shuttering etc. | 900/Cft | 14429.25 | Fourteen Thousand Four Hundred Twenty Nine & Twenty Five Paisa Only | %Cft | 129863/- |
| 5. | P/L Rcc work i/c all labour materials the cost of reinf: its labour bending which will be a paid separately i/c all kind form moulds lifting shuttering washing finishing single Rcc work roof slab beams lintel columns other structural members laid in situ or pre cost in position in all respect. | 1400/Cft | 337 | Three Hundred & Thirty Seven Only | P.Cft | 471800/- |
| 6. | Fabrication of mild steel reinforcement cement concrete i/c cutting binding laying iin position making joints and fastening i/c cost of bending wire also i.c removal rust from bars. | 37.5/Cwt | 4820.20 | Four Thousand Eight Hundred Twenty & Twenty Paisa Only | P.Cwt | 180757/- |
| 7. | Dismantling cc plain 1:4:8 | 594/Cft | 1663.75 | One Thousand Six Hundred Sixty Three & Seventy Five Paisa Only | %Cft | 9883/- |
| 8. | Cement concrete bricks or stone ballast 1 ½” to 2 gauge | 594/Cft | 9416.28 | Nine Thousand Four Hundred Sixteen & Twenty Eight Paisa Only | %Cft | 55932/- |
| 9. | P/L 2" thick toping cement concrete 1:2:4 i/c surface finishing and dividing into panels etc completed. | 1800/Sft | 3275.50 | Three Thousand Two Hundred Seventy Five & Fifty Paisa Only | %Sft | 58959/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 10. | Carriage of 100Cft Tons of all kind material like cole brick i/c loading, unloading up to 10 miles | 6494/Cft | 595.80 | Five Hundred Ninety Five & Eighty Paisa Only | %Cft | 38691/- |
| 11. | Excavation for pipe line in trenches and pits in hard rock by chiseling trimming and dressing alignment and shape leaving up to one chain | 14850/Cft | 4650/- | Four Thousand Six Hundred & Fifty Only | %0Cft | 69053/- |
| 12. | Excavation of pipe line trenches pipe all kind of soil murum i/c trimming dressing leveling beds trenches correct level and graded cutting joints holes disposal of surplus earth with in 1 chains as directed by the Engg: Inch: P. fence guard lights flags temporary crossing non vehicler traffic where ever req: a lift upto 5 ft & lead up to 1 chain. | 3000/Cft | 24150/- | Twenty Four Thousand One Hundred & Fifty Only | %0Cft | 42450/- |
| 13. | P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70 class II wall ‘B’ and fixing in trenches i/c cutting fitting jointing with rubber ring i/c testing with water to specified pressure 9″ & 12″dia pipe. | 1100/Rft | 367/- | Three Hundred & Sixty Seven Only | P.Rft | 403700/- |
| 14. | Const of Main Holes 4 inside with Rcc covers 21″dia 3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC cost in situ 9″ thick wall and disposal of surplus stuff etc comp: | 43 No | 9307.86 | Nine Thousand Three Hundred Seven & Eighty Six Paisa Only | Each | 400238/- |
| 15. | Add or deduct for depth of man holes above or beyond 5 ft (RA). | (-)21.5 | 1609.15 | One Thousand Six Hundred Nine & Fifteen Paisa Only | P.ft | -34597/- |
| 16. | Refilling the excavated stuff in trenches 6″ thick layer i/c watering ramming to full compaction etc comp: | 16065/Cft | 2760/- | Two Thousand Seven Hundred & Sixty Only | %0Cft | 44339/- |
| 17. | Carriage of 100Cft Tons of all kind material like cole brick i/c loading, unloading up to 10 miles | 1785/Cft | 595.80 | Five Hundred Ninety Five & Eighty Paisa Only | %Cft | 10635/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 18. | M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars 4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing stacking and transportation with in 10 Miles | 08 Nos | 913.63 | Rupees Nine Hundred Thirteen & Sixty Three Paisa Only | Each | 7309/- |
| 19. | M/S of Rcc Ring Slab of 21"dia inside 36"dia out side 75" width and 6" thick i/c dia tor steel bars two concrete ring with 3/8"dia 8 No cross liaked bars welded and two sunk type hooks cost in a 1:1 1/2 3 concrete with embaded 15kg C.I from in prefund position i/c transportation cage etc | 06 Nos | 1906.60 | One Thousand Nine Hundred Six & Sixty Paisa Only | Each | 11440/- |
| 20. | Rate Analysis for shifting to the site and fixing 26” dia Ring Slab in perfect position on damage manhole i/c cutting of damage portion of mentioned in past shape and laying of cement concrete mortar of 2” thickness and disport | 06 No | 563.09 | Five Hundred Sixty Three & Nine Paisa Only | Each | 3378.91/- |
| TOTAL |  |  |  |  |  | 1997582/- |
| Add 2% Contingencies |  |  |  |  |  | 39952/- |
| Total |  |  |  |  |  | 2037534/- |