Tender Reference No. 01(10)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | P/F of Moon Light Complete body with 65w energy saver | 150 Nos | 2000/- | Two Thousand Only | Each | 240000/- |
| 2. | P/F of Street Light 125w (HPMV) having IP54 Classification with 125w lamp, choke, capacitor & internal wiring complete in all respect at the height up to 31’ as per site requirement and instruction of E.I make of the above lights is as follow | 80 Nos | 7500/- | Seven Thousand & Five Hundred Only | Each | 600000/- |
| 3. | P/F of Street Light 250w (SON-T) having IP65 Classification with 250w lamp, choke, capacitor & internal wiring complete in all respect at the height with the help of hydraulic crane as per site requirement and instruction of E.I. | 40 Nos | 16100/- | Sixteen Thousand & One Hundred Only | Each | 644000/- |
| 4. | P/F of 125 W (HPMV) Lamp @ the height as per site requirement & instruction of Engineer Incharge | 150 Nos | 470/- | Four Hundred & Seventy Only | Each | 70500/- |
| 5. | P/F of 125 W (HPMV) Choke @ the height as per site requirement & instruction of Engineer Incharge | 150 Nos | 1020/- | One Thousand & Twenty Only | Each | 153000/- |
| 6. | P/F of 250 W (SON-T) Lamp @ the height with the help of hydraulic crane as per site requirement & instruction of Engineer Incharge | 150 Nos | 2105/- | Two Thousand One Hundred & Five Only | Each | 315750/- |
| 7. | P/F of 250 W (SON-T) Choke @ the height with the help of hydraulic crane as per site requirement & instruction of Engineer Incharge | 120 Nos | 3990/- | Three Thousand Nine Hundred & Ninety Only | Each | 478800/- |
| 8. | P/F of Bracket GI Pipe 1 ¼” dia G.I Pipe 5’ long with Double Clamp & Nuts Bolts | 65 Coils | 1800/- | One Thousand & Eight Hundred Only | Each | 117000/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 9. | P/L (Main or Sub Main) PVC insulated with single core copper conductor 250 / 440 volts size 2-3/.029 | 60 Coils | 2500/- | Two Thousand & Five Hundred Only | Each | 150000/- |
| 10. | P/L (Main or Sub Main) PVC insulated with single core copper conductor 250 / 440 volts size 2-7/.029 | 35 Coils | 4000/- | Four Thousand Only | Each | 140000/- |
| 11. | P/F of 250 W SON-T Igniter (round shape) in all respect at the height up to 40ft with the help of hydraulic crane as per site requirement & instruction of Engineer Incharge | 150 Nos | 600/- | Six Hundred Only | Each | 90000/- |
| 12. | P/F of 250 W SON-T Igniter (round shape) in all respect at the height up to 40ft with the help of hydraulic crane as per site requirement & instruction of Engineer Incharge | 150 Nos | 600/- | Six Hundred Only | Each | 90000/- |
| 13. | P/F of Switch 10 Amp best quality | 600 Nos | 150/- | One Hundred & Fifty Only | Each | 90000/- |
| 14. | P/L (Main or Sub Main) PVC Insulated & PVC Sheeted with two core copper conductor 300/500 volts size 2.5mm2 | 10 Coils | 9000/- | Nine Thousand Only | Each | 90000/- |
| 15. | P/L (Main or Sub Main) PVC Insulated & PVC Sheeted with two core copper conductor 300/500 volts size 4mm2 | 05 Coils | 12000/- | Twelve Thousand Only | Each | 60000/- |
| Total Amount |  |  |  |  |  | 3329050/- |