Tender Reference No. 01(14)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of Cement Concrete Plain Flooring (10/19 a-b-c) 1:3:6 CC 1:2:4 RCC 1:2:4 | 3464Cft | 3327.50 | Three Thousand Three Hundred Twenty Seven & Fifty Paisa | %Cft | 115265/- |
| 2. | Dismantling and removing of Stone metaling and carpeting etc (13/51) | 4250/Cft | 605.00 | Six Hundred & Five Only | %Cft | 25713/- |
| 3. | Excavation of pipe line trenches pipe all kind of soil murum i/c trimming dressing leveling beds trenches correct level and graded cutting joints holes disposal of surplus earth with in 1 chains as directed by the Engg: Inch: P. fence guard lights flags temporary crossing non vehicler traffic where ever req: a lift upto 5 ft & lead up to 1 chain. | 17000/Cft | 4650/- | Rupees Four Thousand Six Hundred & Fifty Only | %0Cft | 79050/- |
| 4. | P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70 class II wall ‘B’ and fixing in trenches i/c cutting fitting jointing with rubber ring i/c testing with water to specified pressure 8″ & 12″dia pipe. | 1700/P.Rft | 436/- | Rupees Four Hundred & Thirty Six Only | P.Rft | 741200/- |
| 5. | Const of Main Holes 4 inside with Rcc covers 21″dia 3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC cost in situ 9″ thick wall and disposal of surplus stuff etc comp: | 76 No | 13064/- | Rupees Thirteen Thousand & Sixty Four Only | Each | 992864/- |
| 6. | Add or deduct for depth of man holes above or beyond 5 ft (RA). | 138.5/Rft | 1540/- | Rupees One Thousand & Forty Only | P.Rft | -213239/- |
| 7. | Refilling the excavated stuff in trenches 6″ thick layer i/c watering ramming to full compaction etc comp: | 13996/Cft | 2760/- | Rupees Two Thousand Seven Hundred & Sixty Only | %0Cft | 38629/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 8. | Cartage of 100 Cft 5 tons all materials like stone aggregate spwals lime surkhi BG rail fasting points crossing bridge guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood by trenches owned by the contractor withing 10 miles etc comp: | 10720/Cft | 1065/- | One Thousand & Sixty Five Only | %Cft | 114168/- |
| 9. | M/S 21”dia Rcc Manhole covers cost is 1:2:4 concrete ratio 3" depth at i/c reinforced with 3/8"dia tor steel bars 4" C.C welded to 1/8" thick 2.5" depth M.S plat i/c curing stacking and transportation with in 10 Miles | 10 Nos | 913.63 | Rupees Nine Hundred Thirteen & Sixty Three Only | Each | 9136/- |
| 10. | M/S of Rcc Ring Slab of 21"dia inside 36"dia out side 75" width and 6" thick i/c dia tor steel bars two concrete ring with 3/8"dia 8 No cross liaked bars welded and two sunk type hooks cost in a 1:1 1/2 3 concrete with embaded 15kg C.I from in prefund position i/c transportation cage etc | 35 Nos | Open Rate |  |  | Open Rate |
| Total Amount of Schedule Items |  |  |  |  |  | 1902732/-+O/R |