Tender Reference No. 01(16)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Dismantling of RCC, Separating reinforcement from concrete, cleaning and straightening same | 351/Cft | 5445 | Five Thousand Four Hundred & Forty Five Only | %Cft | 19112/- |
| 2. | Dismantling of Cement Concrete CC 1:2:4 Plain Flooring | 3308/Cft | 3327.50 | Three Thousand Three Hundred Twenty Seven & Fifty Paisa | %Cft | 115265/- |
| 3. | Dismantling of Cement Concrete CC 1:3:6 Plain Flooring | 1155/Cft | 1306.80 | One Thousand Three Hundred Six & Eighty Paisa Only | %Cft | 15094/- |
| 4. | Earth work excavation in irrigation channels, irrigation drain etc dressed to designed section and profile excavated material disposed off and dressed with ion 50ft lead. (Ordinary Soil) | 5460/Cft | 2420 | Two Thousand Four Hundred & Twenty Only | %0Cft | 13213/- |
| 5. | Fabrication of mild steel reinforcement cement concrete i/c cutting binding laying iin position making joints and fastening i/c cost of bending wire also i.c removal rust from bars. | 29/Cwt | 5001.70 | Five Thousand One & Seventy Paisa Only | Cwt | 145049/- |
| 6. | P/L Rcc work i/c all labour materials the cost of reinf: its labour bending which will be a paid separately i/c all kind form moulds lifting shuttering washing finishing single Rcc work roof slab beams lintel columns other structural members laid in situ or pre cost in position in all respect. | 816/Cft | 337 | Three Hundred & Thirty Seven Only | Cft | 274992/- |
| 7. | Cartage of 100 Cft 5 tons all materials like stone aggregate spwals lime surkhi BG rail fasting points crossing bridge guders pipe sheet M/S Brass sheets 1000 trenches 10×5×3" 1000 tiles 12×6×2" 150 cft timber 100 mould fuel wood by trenches owned by the contractor withing 10 miles etc comp: | 12812/Cft | 1065/- | One Thousand & Sixty Five Only | %Cft | 136448/- |

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 8. | P. Rcc pipe ASTM class class ‘C’ 76-62 T/C 76-70 class II wall ‘B’ and fixing in trenches i/c cutting fitting jointing with rubber ring i/c testing with water to specified pressure 8″ & 12″dia pipe. | 2000/P.Rft | 367/- | Three Hundred & Sixty Seven Only | P.Rft | 734000/- |
| 9. | Const of Main Holes 4 inside with Rcc covers 21″dia 3×¾ with flat iron frame 5ft depth 1:2:4 in laying CC cost in situ 9″ thick wall and disposal of surplus stuff etc comp: | 85 No | 13064/- | Rupees Thirteen Thousand & Sixty Four Only | Each | 1110440/- |
| 10. | Add or deduct for depth of man holes above or beyond 5 ft (RA). | 162.0408 /Rft | 1540/- | Rupees One Thousand & Forty Only | P.Rft | -249543/- |
| 11. | Refilling the excavated stuff in trenches 6″ thick layer i/c watering ramming to full compaction etc comp: | 9574/Cft | 2760/- | Rupees Two Thousand Seven Hundred & Sixty Only | %0Cft | 26424/- |
| 12. | P/F Rcc Pre cast Slab 2” thick of required size and shape and racking oput joints with CM curing etc complete as per direction of Engineer Incharge | 958/Sft | Open Rate |  | P.Sft | Open Rate |
| 13. | P/F Rcc Pre cast Slab or i/c linter (1-beam) of required size and shape and racking oput joints with CM curing etc complete as per direction of Engineer Incharge | 900/Sft | Open Rate |  | P.Sft | Open Rate |
| 14. | P/F RCC Ring Slab 39”dia with Rcc Manhole Cover of 21”dia as per direction of Engineer Incharge | 60 Nos | Open Rate |  | Each | Open Rate |
| Total Amount of Schedule Items |  |  |  |  |  | 2398652/-+O/R |