Tender Reference No. 01(20)/ 2014-2015

SCHEDULE RATE BASED ON (2012)

| S. NO | DESCRIPTION OF ITEMS | QTY | RATE IN FIGURE | RATE IN WORD | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1. | Providing / Fixing of Lamp 250W Son Philips Make as required. | 200 Nos | 2105/- | Two Thousand One Hundred & Five Only | Each | 421000/- |
| 2. | Providing / Fixing of Choke 250W Son Philips Make as required. | 200 Nos | 3990/- | Three Thousand Nine Hundred & Ninety Only | Each | 798000/- |
| 3. | Providing / Fixing of Igniter SN-58 Philips Make as required. | 200 Nos | 600/- | Six Hundred Only | Each | 120000/- |
| 4. | Providing / Fixing of Capacitor 35 uf Philips Make as required. | 200 Nos | 600/- | Six Hundred Only | Each | 120000/- |
| 5. | Providing / Laying Main with 07/.029 single core PVC insulated Million supreme as required. | 75 Nos | 4000/- | Four Thousand Only | Each | 300000/- |
| 6. | Providing / Laying Main with 07/.044 two core Million Supreme as required. | 20 Coil | 16500/- | Sixteen Thousand & Five Hundred Only | Meter | 330000/- |
| 7. | Providing / Fixing of Switch 20Amp best quality as required. | 200 Nos | 150/- | One Hundred & Fifty Only | Each | 30000/- |
| 8. | Painting of poles 40Ft/30Ft long by means of complete poal rebbing with embrypaper top to bottam under coats with ICI paint two coats | 100 Nos | 1500/- | One Thousand & Five Hundred Only | Each | 150000/- |
| 9. | Providing / Fixing of lamp 125W Philips Make as required. | 100 Nos | 470/- | Four Hundred & Seventy Only | Each | 47000/- |
| 10. | Providing / Fixing of Choke 125W Philips Make as required. | 100 Nos | 1020/- | One Thousand & Twenty Only | Each | 102000/- |
| 11. | Providing / Laying Main with 3/.029 S/C Million Supreme as required. | 30 Coils | 2500/- | Two Thousand & Five Hundred Only | Each | 75000/- |
| Total Amount of Schedule Items |  |  |  |  |  | 2493000/- |