## 1. Shadman Town Block "L"
NAME OF WORK => |  | M/R TO 182 FLATS AT SHADMAN TOWN KARACHI. (BLOCK "L")
SCHEDULE "B"
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Part "A" Civil Works
(i) | Schedule Items
1 | Dismantling cement concreta plain 1:2:4.
| (S.I.No.19-c P-10). |  | 3.57 | Cft | 3327 | / | 50 | %Cft. | 119 | /-
2 | Dismantling cement concreta plain 1:4:8.
| (S.I.No.19(a)/P-10) |  | 6.93 | Cft | 1663 | / | 75 | %Cft. | 115 | /-
3 | Removing Cement or lime plaster
| (S.I.No.53/P-13) |  | 186 | Sft | 121 | / | 0 | % Sft. | 225 | /-
4 | Providing and laying tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in desire shade with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles toproper profile. (S.I No.60 P-47
|  |  | 207 | Sft | 30509 | / | 77 | %Sft | 63155 | /-
5 | Supplying & fixing in position Aluminium
channels framing for slidding windows &
ventilators of Alcop made with 5 mm thick
tinted glass glazing (Belgium) & Aluminium
fly screen I/c handles stoppers & locking
arrangement etc. complete. (b) Deluxe model
(Bronze). (S.I.No.84-b P-108).
|  |  | 129.21 | Sft | 1647 | / | 69 | P.Sft | 212898 | /-
6 | Providing and fixing in position doors, windows and
ventilators of 1st. Class deodar wood frames and
1-1/2" thick Teak wood ply shutters of 2nd class
deodar wood skeleton (solid ) styles and rails core
of partal wood and Teak ply wood (3-ply) on both
sidei/c hold fasts, hinges, iron tower blts, handles
and cleats with cord etc. complete.
| (S.I.No.58 P-65). |  | 107.01 | Sft | 706 | / | 23 | P.Sft | 75574 | /-
7 | Galvanized wire gauze 144 mesh per square inch of 22 S.W.G fixed to chockets without deodar patti. (S.I.No.62 P-66).
|  |  | 48.75 | Sft | 104 | / | 15 | P.Sft | 5077 | /-
8 | G.I expended metal 1/2" to 3/4" mesh 16 gauge fixed to chockats without deodar patti. (S.I.No.65 P-66).
|  |  | 16.25 | Sft | 60 | / | 43 | P.Sft | 982 | /-
9 | Providing & fixing Aluminum Sheet on
doors pasted with glue as per requirement.
| (S.I.No.61/P-66) |  | 48.74 | Sft | 63 | / | 77 | P.Sft | 3108 | /-
10 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 4 | Nos | 1786 | / | 13 | Each | 7145 | /-
11 | Scraping ordinary distemper or paint on wall.
(S.I.No.54-b P-13).
|  |  | 4182.936 | Sft | 226 | / | 88 | %Sft | 9490 | /-
12 | Distempering in two coats.
| (S.I.No. 24 -b P-54). |  | 1458.03 | Sft | 1043 | / | 90 | %Sft. | 15220 | /-
13 | Preparing the surface & painting with matt finsih
paint of approved make to old matt finish surface.
| With two cots. (S.I.No. 37 -a+b P-55). |  | 5228.67 | Sft | 1772 | / | 38 | %Sft. | 92672 | /-
14 | Painting old surfaces:- preparing surface
and painting of doors and windows any type,
(including edges). With three cots.
| (S.I.No. 4-c-i+ii P-68). |  | 1278.12 | Sft | 1160 | / | 6 | %Sft. | 14827 | /-
[8 empty] | Total | 500607 | /-
[8 empty] | Above/Below |  | /-
[8 empty] | SI) Total |  | /-
(ii) | Non Schedule Items
1 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 16”x16”x1/4” or 18”x18”x1/4” on
floor in required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 148.5 | Sft |  |  |  | P.Sft
2 | Making jambs window 6” to 6” width repairing the
surface by 1:4 cement plaster, making edges, both
side maintaining right angle including curing etc
complete & working upto 50’-0” height, suing
scaffolding as directed by Engineer Incharge.
|  |  | 138 | Rft |  |  |  | P.Rft
3 | Fixing of existing grill on window with expended
matel & missing G.I. Putty with electric welding
| at any hights etc complete. |  | 40 | Sft |  |  |  | P.Sft
4 | Making and Fixing American Style Kitchen Cabinet
wall (Unit) 18” wide 24” height and 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 150.3 | Sft |  |  |  | P.Sft
5 | Making and fixing American style kitchen cabinet Floor (unit) 30" height and 21" depth with shutter of 3/4" thick Lasani sheet and frame of deodar wood (2"x1-1/2") pasted with classic formica sheet also making in approved shade & design i/c necessary fitting as catcher, handles,skirting wheels/channels in doors with fitting nails/screws etc complete as directed by engineer Incharge.
|  |  | 158.75 | Sft |  |  |  | P.Sft
6 | Providing and fixing Marble Top 1" thick 20" of chaina verona i/c charging of cutting ,fixing and making half round gola jointing with white cement/jally etc complete.
|  |  | 22.42 | Sft |  |  |  | P.Sft
7 | Making and Fixing Ward Robe Upto 24" depth
with Shutter of 3/4" thick lasani sheet and frame
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 24 | Sft |  |  |  | P.Sft
8 | Providing/Applying Primer Coat of approved make under the matt finish paint to bond to bare surfaces make a sound foundation etc complete as per specification and direction of engineer incharge.
|  |  | 5228.67 | Sft |  |  |  | P.Sft
NSI) Total
Part "B" Internal Water Supply
(i) | Schedule Items
1 | Providing G.I Pipes specials and clamps etc
i/c fixing cutting & fitting complete with and
i/c the cost of breaking through walls and roof,
making good etc painting two coats after
cleaning the pipe etc with white zinc paint
with pigment to match the colour of the building
and testing with water to a pressiure head
of 200 feet and handling.(S.I.No.1(i)/P-12)
| (i) 1 1/2" dia |  | 22 | Rft | 188 | / | 97 | P.Rft | 4157 | /-
| (ii) 1/2" dia G.I Pipe |  | 15 | Rft | 73 | / | 21 | P.Rft | 1098 | /-
[8 empty] | Total G.I Pipe | 5255 | /-
Above/Below
Total
2 | Providing and fixing / errection in position tank of
1/8” thick G.I. sheet complete with including cost of
| (angle 1-1/4”x1-1/4”x1/8”) iron frame C.I. mosquite |  |  | No
proof required cover and frame over flow of
required size. Holes for inlet and outlet and G.I.
fitting for them including painting the tank inside
with two coats bitumen and outside two coats of
white zinc paint with pigment to match the colour of
building over a primary coat of red oxide.
| (S.I.No. 2 P-21). |  | 337.5 | Gal | 95 | / | 26 | P.Gal | 32150 | /-
3 | Providing & fixing 22" x 16" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 12 P-4) |  | 1 | No | 4694 | / | 80 | Each | 4695 | /-
4 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 1 | No | 938 | / | 47 | Each | 938 | /-
5 | Providing & fixing squating type white glazed
earthen ware W.C pan with including the cost of
flushing cistern with internal fitting and flush pipe
with bend and making requisite number of holes
in walls plinth & floor for pipe connection & making
good in cement concrete 1:2:4(b-ii) with 4" dia
earthen ware trap & plastic thumble.(S.I.1-b-ii/p-1)
|  |  | 1 | No | 4846 | / | 60 | Each | 4847 | /-
6 | Providing & fixing 24" x 18" bevelled edge mirror
of belgium glass complete with 1/8" thick hard
board and c.p screws fixed to wooden plate.
| (a) standard pattern.(S.I.No.3(a)/P-7) |  | 2 | Nos | 1711 | / | 60 | Each | 3423 | /-
7 | Providing & fixing inposition brass bib
cock 1/2" dia brass bib cock standard pattern
| (S.I.No.1-ii(a)/P-16) |  | 6 | Nos | 337 | / | 92 | Each | 2028 | /-
8 | Supplying & Fixing Jet Shower with Rod of
superior quality single C.P Head 1/2" dia.
| (S.I.No.15/P-19) |  | 1 | No | 1142 | / | 24 | Each | 1142 | /-
9 | Providing & fixing full way gun metal balves with
wheels(i)1/2" dia Light pattern(S.I.No.5(i)/P-17)
|  |  | 6 | Nos | 200 | / | 42 | Each | 1203 | /-
10 | P/F swan type piller cock of superior quality
of superior quality with c.p head 1/2" dia
| S.I.No.16(a)/P-19 |  | 2 | No | 795 | / | 30 | Each | 1591 | /-
[8 empty] | Total | 52017 | /-
Above/Below
(ii) | Non Schedule Item
1 | P/F UPVC soil & vent pipes of Pak Arab make
schedule 40(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 42'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 4" dia |  | 2 | Rft |  |  |  | P.Rft
2 | P/F UPVC Floor Trap jali or top tile size 6"x6" of approved colour & desgn as dirceted by the Engineer incharge.
|  |  | 1 | Nos |  |  |  | Each
3 | Providing & fixing Stainless steel sink bowl square
shape size upto 14” x 17” heavy pattern including waste
& waste pipe fixed after cutting the marble than joint the
fitting joints with jelly & finishing etc complete.
|  |  | 1 | No |  |  |  | Each
Total NSI
Part "C" Internal Electrification
(i) | Schedule Items
1 | Providing & fixing one way SP 5amp switch
| (S.I.No. 218 P-33). |  | 14 | Nos | 58 | / | 0 | P.No | 812 | /-
2 | Providing & fixing three pin 10/15amp plug
| & socket. (S.I.No. 225 P-33). |  | 3 | Nos | 151 | / | 0 | P.No | 453 | /-
3 | Providing & fixing Bras Battern holder.
| (S.I.No. 232 P-33). |  | 2 | Nos | 70 | / | 0 | P.No | 140 | /-
4 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 9 | Nos | 916 | / | 0 | P.No | 8244 | /-
5 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp DP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 3 | Nos | 2456 | / | 0 | P.No | 7368 | /-
[8 empty] | Part B Total | 17017 | /-
(ii) | Non Schedule Item
1 | Providing & fixing Iron Distribution Board
to accommodate circuit breaker i/c
| painting with enemell paint. |  | 2.49 | Sft |  |  |  | P.Sft
Part "D" Internal Sui Gas
(i) | Non Schedule Items
1 | Providing and fixing Stainless steel Gas Burner superior quality i/c necessary fittings etc complete.
|  |  | 2 | Nos |  |  |  | Each
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
ii) Non Schedule Item
Part 'C' Internal Electrification
i) Schedule Item
ii) Non Schedule Item
Part "D" Internal Sui Gas
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 2. Shadman Town Block "H"
NAME OF WORK => |  | M/R TO 182 FLATS AT SHADMAN TOWN KARACHI. (BLOCK "H")
SCHEDULE "B"
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Part "A" Civil Works
(i) | Schedule Items
1 | Dismantling cement concreta plain 1:2:4.
| (S.I.No.19-c P-10). |  | 7.9628 | Cft | 3327 | / | 50 | %Cft. | 265 | /-
2 | Dismantling cement concreta plain 1:4:8.
| (S.I.No.19(a)/P-10) |  | 15.46 | Cft | 1663 | / | 75 | %Cft. | 257 | /-
3 | Removing Cement or lime plaster
| (S.I.No.53/P-13) |  | 345.8 | Sft | 121 | / | 0 | % Sft. | 418 | /-
4 | Providing and laying tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in desire shade with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles toproper profile. (S.I No.60 P-47
|  |  | 392.64 | Sft | 30509 | / | 77 | %Sft | 119794 | /-
5 | Supplying & fixing in position Aluminium
channels framing for slidding windows &
ventilators of Alcop made with 5 mm thick
tinted glass glazing (Belgium) & Aluminium
fly screen I/c handles stoppers & locking
arrangement etc. complete. (b) Deluxe model
(Bronze). (S.I.No.84-b P-108).
|  |  | 135 | Sft | 1647 | / | 69 | P.Sft | 222438 | /-
6 | Providing and fixing in position doors, windows and
ventilators of 1st. Class deodar wood frames and
1-1/2" thick Teak wood ply shutters of 2nd class
deodar wood skeleton (solid ) styles and rails core
of partal wood and Teak ply wood (3-ply) on both
sidei/c hold fasts, hinges, iron tower blts, handles
and cleats with cord etc. complete.
| (S.I.No.58 P-65). |  | 110.61 | Sft | 706 | / | 23 | P.Sft | 78116 | /-
7 | Galvanized wire gauze 144 mesh per square inch of 22 S.W.G fixed to chockets without deodar patti. (S.I.No.62 P-66).
|  |  | 16.25 | Sft | 104 | / | 15 | P.Sft | 1692 | /-
8 | G.I expended metal 1/2" to 3/4" mesh 16 gauge fixed to chockats without deodar patti. (S.I.No.65 P-66).
|  |  | 16.25 | Sft | 60 | / | 43 | P.Sft | 982 | /-
9 | Providing & fixing Aluminum Sheet on
doors pasted with glue as per requirement.
| (S.I.No.61/P-66) |  | 47.4 | Sft | 63 | / | 77 | P.Sft | 3023 | /-
10 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 3 | Nos | 1786 | / | 13 | Each | 5358 | /-
11 | Scraping ordinary distemper or paint on wall.
(S.I.No.54-b P-13).
|  |  | 6992 | Sft | 226 | / | 88 | %Sft | 15863 | /-
12 | Distempering in two coats.
| (S.I.No. 24 -b P-54). |  | 2430.05 | Sft | 1043 | / | 90 | %Sft. | 25367 | /-
13 | Preparing the surface & painting with matt finsih
paint of approved make to old matt finish surface.
| With two cots. (S.I.No. 37 -a+b P-55). |  | 8740 | Sft | 1772 | / | 38 | %Sft. | 154906 | /-
14 | Painting old surfaces:- preparing surface
and painting of doors and windows any type,
(including edges). With three cots.
| (S.I.No. 4-c-i+ii P-68). |  | 2130.2 | Sft | 1160 | / | 6 | %Sft. | 24712 | /-
[8 empty] | Total | 653191 | /-
[8 empty] | Above/Below |  | /-
[8 empty] | SI) Total |  | /-
(ii) | Non Schedule Items
1 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 16”x16”x1/4” or 18”x18”x1/4” on
floor in required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 148.5 | Sft |  |  |  | P.Sft
2 | Making jambs window 6” to 6” width repairing the
surface by 1:4 cement plaster, making edges, both
side maintaining right angle including curing etc
complete & working upto 50’-0” height, suing
scaffolding as directed by Engineer Incharge.
|  |  | 126 | Rft |  |  |  | P.Rft
3 | Fixing of existing grill on window with expended
matel & missing G.I. Putty with electric welding
| at any hights etc complete. |  | 40 | Sft |  |  |  | P.Sft
4 | Making and Fixing American Style Kitchen Cabinet
wall (Unit) 18” wide 24” height and 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 120.24 | Sft |  |  |  | P.Sft
5 | Making and fixing American style kitchen cabinet Floor (unit) 30" height and 21" depth with shutter of 3/4" thick Lasani sheet and frame of deodar wood (2"x1-1/2") pasted with classic formica sheet also making in approved shade & design i/c necessary fitting as catcher, handles,skirting wheels/channels in doors with fitting nails/screws etc complete as directed by engineer Incharge.
|  |  | 127 | Sft |  |  |  | P.Sft
6 | Providing and fixing Marble Top 1" thick 20" of chaina verona i/c charging of cutting ,fixing and making half round gola jointing with white cement/jally etc complete.
|  |  | 12.81 | Sft |  |  |  | P.Sft
7 | Making and Fixing Ward Robe Upto 24" depth
with Shutter of 3/4" thick lasani sheet and frame
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 24 | Sft |  |  |  | P.Sft
Total
Part "B" Internal Water Supply
(i) | Schedule Items
1 | Providing G.I Pipes specials and clamps etc
i/c fixing cutting & fitting complete with and
i/c the cost of breaking through walls and roof,
making good etc painting two coats after
cleaning the pipe etc with white zinc paint
with pigment to match the colour of the building
and testing with water to a pressiure head
of 200 feet and handling.(S.I.No.1(i)/P-12)
| (i) 1 1/2" dia |  | 13 | Rft | 188 | / | 97 | P.Rft | 2457 | /-
| (ii) 1/2" dia G.I Pipe |  | 27.33 | Rft | 73 | / | 21 | P.Rft | 2001 | /-
[8 empty] | Total G.I Pipe | 4458 | /-
[8 empty] | Above/Below |  | /-
[8 empty] | Total |  | /-
2 | Providing and fixing / errection in position tank of
1/8” thick G.I. sheet complete with including cost of
| (angle 1-1/4”x1-1/4”x1/8”) iron frame C.I. mosquite |  |  | No
proof required cover and frame over flow of
required size. Holes for inlet and outlet and G.I.
fitting for them including painting the tank inside
with two coats bitumen and outside two coats of
white zinc paint with pigment to match the colour of
building over a primary coat of red oxide.
| (S.I.No. 2 P-21). |  | 268.75 | Gal | 95 | / | 26 | P.Gal | 25601 | /-
3 | Providing & fixing 22" x 16" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 12 P-4) |  | 1 | No | 4694 | / | 80 | Each | 4695 | /-
4 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 1 | No | 938 | / | 47 | Each | 938 | /-
5 | Providing & fixing squating type white glazed
earthen ware W.C pan with including the cost of
flushing cistern with internal fitting and flush pipe
with bend and making requisite number of holes
in walls plinth & floor for pipe connection & making
good in cement concrete 1:2:4(b-ii) with 4" dia
earthen ware trap & plastic thumble.(S.I.1-b-ii/p-1)
|  |  | 1 | No | 4846 | / | 60 | Each | 4847 | /-
6 | Providing & fixing 24" x 18" bevelled edge mirror
of belgium glass complete with 1/8" thick hard
board and c.p screws fixed to wooden plate.
| (a) standard pattern.(S.I.No.3(a)/P-7) |  | 1 | Nos | 1711 | / | 60 | Each | 1712 | /-
7 | Providing & fixing inposition brass bib
cock 1/2" dia brass bib cock standard pattern
| (S.I.No.1-ii(a)/P-16) |  | 3 | Nos | 337 | / | 92 | Each | 1014 | /-
8 | Supplying & Fixing Jet Shower with Rod of
superior quality single C.P Head 1/2" dia.
| (S.I.No.15/P-19) |  | 1 | No | 1142 | / | 24 | Each | 1142 | /-
9 | Providing & fixing full way gun metal balves with
wheels(i)1/2" dia Light pattern(S.I.No.5(i)/P-17)
|  |  | 3 | Nos | 200 | / | 42 | Each | 601 | /-
10 | P/F swan type piller cock of superior quality
of superior quality with c.p head 1/2" dia
| S.I.No.16(a)/P-19 |  | 3 | No | 795 | / | 30 | Each | 2386 | /-
[8 empty] | Total | 42936 | /-
[8 empty] | 5% Above On Item No.1 | 2146.8 | /-
[8 empty] | Total | 45082.8 | /-
[8 empty] | G.Total W/S & S/F | 45082.8
(ii) | Non Schedule Item
1 | P/F UPVC soil & vent pipes of Pak Arab make
schedule 40(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 42'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 3" dia |  | 14 | Rft |  |  |  | P.Rft |  | /-
(ii) | 4" dia |  | 2 | Rft |  |  |  | P.Rft |  | /-
2 | P/F UPVC special Plug Tee 3" dia of Pak Arab make
schedule 40(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 42'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 3" dia |  | 1 | No. |  |  |  | Each |  | /-
3 | P/F UPVC special Plug Bend 3" dia of Pak Arab make
schedule 40(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 42'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 3" dia |  | 1 | No. |  |  |  | Each |  | /-
4 | P/F UPVC Floor Trap jali or top tile size 6"x6" of approved colour & desgn as dirceted by the Engineer incharge.
|  |  | 3 | Nos |  |  |  | Each |  | /-
5 | Providing & fixing Stainless steel sink bowl square
shape size upto 14” x 17” heavy pattern including waste
& waste pipe fixed after cutting the marble than joint the
fitting joints with jelly & finishing etc complete.
|  |  | 1 | No |  |  |  | Each
[8 empty] | Total NSI |  | /-
Part "C" Internal Electrification
(i) | Schedule Items
1 | Providing & fixing one way SP 5amp switch
| (S.I.No. 218 P-33). |  | 16 | Nos | 58 | / | 0 | P.No | 928 | /-
2 | Providing & fixing three pin 10/15amp plug
| & socket. (S.I.No. 225 P-33). |  | 3 | Nos | 151 | / | 0 | P.No | 453 | /-
3 | Providing & fixing Bras Battern holder.
| (S.I.No. 232 P-33). |  | 2 | Nos | 70 | / | 0 | P.No | 140 | /-
4 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 12 | Nos | 916 | / | 0 | P.No | 10992 | /-
5 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp DP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 4 | Nos | 2456 | / | 0 | P.No | 9824 | /-
[8 empty] | Part B Total | 22337 | /-
(ii) | Non Schedule Item
1 | Providing & fixing Iron Distribution Board
to accommodate circuit breaker i/c
| painting with enemell paint. |  | 3.32 | Sft |  |  |  | P.Sft |  | /-
Part "D" Internal Sui Gas
(i) | Non Schedule Items
1 | Providing and fixing Stainless steel Gas Burner superior quality i/c necessary fittings etc complete.
|  |  | 3 | Nos |  |  |  | Each |  | /-
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
ii) Non Schedule Item
Part 'C' Internal Electrification
i) Schedule Item
ii) Non Schedule Item
Part "D" Internal Sui Gas
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 3. Shadman Tow Main Hole
NAME OF WORK => |  | M/ R TO SHADMAN TOWN KARACHI (REPAIRING/RAISING OF MAIN HOLES REPLACEMENT OF UPVC PIPE AND MISC: WORKS
SCHEDULE 'B'
S.No | Description of items |  | Quantity |  | Rate |  |  | Unit | Amount
Part A Civil Work Schedule Item
1 | Dismantling cement concreta plain 1:2:4.
| (S.I.No.19-c P-10). |  | 106.59 | Cft | 3327 | / | 50 | %Cft. | 3547 | /-
2 | Dismantling cement concreta plain 1:4:8.
| (S.I.No.19(a)/P-10) |  | 156.75 | Cft | 1663 | / | 75 | %Cft. | 2608 | /-
3 | Cement concrete plain including placing compacting
finishing and curring complete including screening and
washing of stone aggregate without shuttering Ratio 1:3:6.
| (S.I.No. 5(h)P-16). |  | 156.75 | Cft | 12595 | / | 0 | %Cft | 19743 | /-
4 | Providing & Laying 1" thick topping
cement concrete 1:2:4 including surface
finishing and dividing into panels.
| )c) 2" thick.(S.I.no.11©/P-42) |  | 627 | Sft | 3275 | / | 50 | % Sft | 20537 | /-
5 | Excavation for pipe line in trenches and pits in hard soils i/c trimming and dressing to true alignment and shape levelling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth withen a one chain as directed by engineer incharge.Providing fence guard, lights, flags and temporary crossings for non-vehicular traffic where ever required lift upto 5 ft.(1.5m) and lead upto one chain (30.5m). (PH S.I No.3 P-61)
|  |  | 470.25 | Cft | 3900 | / | 0 | %0Cft | 1834 | /-
[8 empty] | Total | 48269 | /-
Part B Ext W/S & Drainage
1 | Construction of Chamber 9"x12" inside
inside dimesion in required depth with
C.C 1:3:6 block masonry in cement
mortar 1:4 and cement plaster 1:4 i/c
that inside the wall, laying c.c topping
over the 1:4:8 applying floating of
| cement etc complete |  | 76 | Nos |  |  |  | Each
2 | P/F Chamber Cover of R.C.C 1:2:4 size
12"x15" x2" thick at enter reinforced
forced with 3/8" dia at 6" c/c welded 3/32"
with 3/8" dia bar at 6" c/c welded MS
frame of angle iron 1" 1 1/4" size also
provided hook 1/4" dia bars i/c curing
| etc complete |  | 76 | Nos |  |  |  | Each
3 | Manufacturing & Supplying & Fixing R.C.C
main hole cover cost in situ 1:2:4 cement
concrete 3" thick at center, reinforced
with 1/2" dia at 6" C.C welded to 3/16" thick
M/S Plate and frame of angle iron2"x2"
also provided two hooks of 3/8" dia bar
| i/c curing etc complete |  | 20 | Sft |  |  |  | P.Sft
4 | P/F UPVC soil & vent pipes of Pak Arab make
schedule 41(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 52'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 3" dia Pipe (RAS) |  | 100 | Rft |  |  |  | P.Rft
(ii) | 4" dia Pipe (RAS) |  | 718 | Rft |  |  |  | P.Rft
5 | P/F UPVC specials of Pak Arab make
schedule 41(B)pipe without fitting,which will be
paid separately i/c fixing on walls clamps or Jubilee
clips upto height of 42'-0" in vertical or horizental
position using jhoola or long ladder or scafolding
and jointing pipe & fitting with approved cement
solution.The rate i/c all cost of labour, material
& cartage as directed by Engineer incharge
(i) | 3" dia Plug Tee (RAS) |  | 4 | Nos |  |  |  | Each
(ii) | 4" dia Plug Tee (RAS) |  | 24 | Nos |  |  |  | Each
(iii) | 3" dia Y-Tee |  | 16 | Nos |  |  |  | Each
(iv) | 3" dia Plug Bend |  | 140 | Nos |  |  |  | Each
(v) | 3" dia Plain Bend |  | 120 | Nos |  |  |  | Each
6 | Raising of Mainhole as required laying
C.C 1:3:6 block masonry in 1:4 cement
sand mortar and cement plaster 1:4
1/2" thick and applying floating coat of
neat cement c.c complete as instructed
| by Engineer Incharge. |  | 10 | Nos |  |  |  | Each
7 | Repairing of UPVC special as Tee,Y-Tee
bends etc & cutting walls around the
specials where required upto the height
of 50' and filling the same with cement
and adhesive chemical to stop the leakage
in two steps, first in order to stop the water
from flowing and secondly to close the
filling the joints. The rate i/c all labour
material tools plants and precautions
which will be measured to carryout the
work etc complete as instructed by E.E
(i) | 3" dia |  | 95 | Nos |  |  |  | Each
(ii) | 4" dia |  | 10 | Nos |  |  |  | Each
Total B
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
Part 'B' W/S & S/F & Drainage
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 4. H. H Flat No.1.8.13.15
NAME OF WORK => |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI (Flat No.1,8,13,15)
SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART "A" (Civil Works)
(i) Schedule Item
1 | Dismantling glazed or encaustic tile etc.
| (S.I.No.55 P-13). |  | 1170.6 | Sft | 786 | / | 50 | %Sft | 9207 | /-
2 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 4 | Nos | 1786 | / | 13 | Each | 7145 | /-
3 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood frames
and 1-1/2" thick Teak wood ply shutters of 2nd
class deodar wood skeleton (solid ) styles and
rails core of partal wood and Teak ply wood
(3-ply) on both sidei/c hold fasts, hinges, iron
tower blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65) .(without frame).
| (1077/06 (-) 370/83 = 706/23) |  | 29.25 | Sft | 706 | / | 23 | P.Sft | 20657 | /-
4 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete.
(b) Deluxe model (Bronze).
| (S.I.No. 84-b P-108). |  | 24 | Sft | 1647 | / | 69 | P.Sft | 39545 | /-
5 | Providing and fixing Aluminium sheet on door pasted with glue as per requirement.
| (S.I.No.61 P-66). |  | 33.75 | Sft | 63 | / | 77 | P.Sft | 2152 | /-
6 | Laying floor of approved white glazed tile 1/4" : thick
in white cement 1:2 over 3/4" thick cement mortar
| 1:2 complete. (S.I.No. 24 P-43). |  | 101 | Sft | 27678 | / | 86 | %Sft. | 27956 | /-
7 | Glazed tile dado 1/4"thick laid in pigment
over 1:2 cement sand mortar 3/4"thick in/c:
| finishing. (S.I.No. 38 P-45). |  | 424 | Sft | 28299 | / | 30 | %Sft. | 119989 | /-
8 | Scraping (b) Ordinary Distemper
| (S.I.No. 54-b P-13). |  | 6112.92 | Sft | 226 | / | 88 | %Sft | 13869 | /-
9 | Painting old surfaces, Painting to doors and windows any type two coats.
|  |  | 1233.94 | Sft | 1160 | / | 60 | %Sft | 14321 | /-
(S.I.No. 4-a+b+b P-68).
10 | Preparing the surface & painting with matt
finish paint of approved make to old matt
| finish surface. (S.I.No.37-a+b P-55). |  | 4446.16 | Sft | 1772 | / | 38 | %Sft | 78803 | /-
11 | Distempering. Two coats.
| (S.I.No. 24-b P-54). |  | 1666.76 | Sft | 1043 | / | 90 | %Sft | 17399 | /-
12 | Providing and laying tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in desire shade with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles toproper profile. (S.I No.60 P-47
|  |  | 474 | Sft | 30509 | / | 77 | %Sft | 144616 | /-
13 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 16.5 | Rft | 228 | / | 90 | P.Rft | 3777 | /-
[8 empty] | Part A(i)Total | 499436 | /-
|  |  | % | Above/Below
SI) Total
|  |  | % | Above/Below on Item No-13
Total
(ii) Non Schedule Item
1 | Making and Fixing American Style Kitchen Cabinet
wall unit 24” height and 15 to 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 78.08 | Sft |  |  |  | P.Sft
2 | Making and fixing American style kitchen cabinet Floor (unit) 30" height and 21" depth with shutter of 3/4" thick Lasani sheet and frame of deodar wood (2"x1-1/2") pasted with classic formica sheet also making in approved shade & design i/c necessary fitting as catcher, handles,skirting wheels/channels in doors with fitting nails/screws etc complete as directed by engineer.
|  |  | 214.77 | Sft |  |  |  | P.Sft
3 | Providing and fixing Marble Top 1" thick 20" of chaina verona i/c P/F sink bowl size 15"x18' stain less steel i/c charging of cutting ,fixing and making half round gola jointing with white cement/jally etc complete.
|  |  | 72 | Sft |  |  |  | P.Sft
4 | Repairing of Aluminium windows with different dimentions,the work include replacing all damage/broken parts/material with new one as wheels.locks,handle,stopper,glass panes,jali and frame etc complete as instructed by engineer Incharge.(All the material/Parts should be adequate size and strength).
|  |  | 10 | Nos |  |  |  | P.job
5 | Repair of Wooden Door with replace of damaged
broken parts etc complete as instructed by the Engineer
| Incharge. |  | 6 | Nos |  |  |  | Each
6 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 16”x16”x1/4” or 18”x18”x1/4” on
floor in required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 171.6 | Sft |  |  |  | P.Sft
7 | Making & Fixing Almirah Shutter with laminated
lasani sheet 3/4" thick bath side i/c making framing with
1st class wood size (2"x 1 1/2") i/c best quality hardware
| and locking arrangement. |  | 33 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part "B" Sanitary Works.
1 | S/F fiber glass tank of approved quality
and design and wall thickness as specified
i/c the cost of nuts bolts and fixing in
plateform of cement concrete 1:3:6
and making connection for inlet and
over flow pipe etc complete 350 gallon
| wall thickness 4mm (S.I.No.3-b/P-21) |  | 1 | Nos | 30773 | / | 42 | Each | 30773 | /-
2 | Providing G.I pipe 1/2" dia
| S.I.Noo.1(i)/P-12 |  | 120 | Rft | 73 | / | 21 | P.Rft | 8785 | /-
3 | P/Fixing Orisa Type White or Colour glazed
Earthen Ware W.C Pan with cost of Low
Level Plastic flush tank of 3 gallons cap:
of approved qulaity in/c making requisite
number of holes in wall plinth & floor and
making good in cement concrete 1:2:4
with 4" dia earthen ware trap & Plastic
| Thumble.(Si.No.3(a)ii/P-2) |  | 2 | No | 6166 | / | 0 | Each | 12332 | /-
4 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
5 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 8 P-3) |  | 3 | No | 4253 | / | 70 | Each | 12761 | /-
6 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 3 | No | 938 | / | 47 | Each | 2815 | /-
7 | Supplying & fixing sink mixture cock of superior
quality with c.p head etc complete.
| (S.I.No. 17 P-19) |  | 2 | No | 2745 | / | 60 | Each | 5491 | /-
8 | S/F C.P muslim shower with double bib cock
| & ring type etc complete.(S.I.19(a)/P-19) |  | 3 | No | 3432 | / | 0 | Each | 10296 | /-
9 | S/F Concealed Tee Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.11-a) |  | 4 | No | 478 | / | 28 | Each | 1913 | /-
10 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 4 | Nos | 1109 | / | 46 | Each | 4438 | /-
11 | S/F Concealed Tee Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.11-a) |  | 4 | No | 843 | / | 92 | Each | 3376 | /-
12 | S/F C.P bath tub mixture of superior quality
with c.p head approved quality.
| (a)C.P Head (S.I.No18-a/P-19) |  | 2 | No | 4048 | / | 0 | Each | 8096 | /-
[8 empty] | Total W/S & S/F | 112553
%Above/Below
Total W/S & S/F
Part "C"Electric Work
(i) Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 129 P-15). |  | 13 | Nos | 910 | / | 0 | P.Point | 11830 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 130 P-15). |  | 8 | Nos | 742 | / | 0 | P.Point | 5936 | /-
3 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 131 P-15). |  | 1 | No | 1590 | / | 0 | P.Point | 1590 | /-
4 | Providing & Laying (Main or Sub-Main) PVC
insulated with single core copper conductor
| 250/440 Volts size 2-7/.029 (S.I.No. 45 P-6). |  | 89.94 | Mtr | 118 | / | 0 | P.Mtr. | 10613 | /-
5 | Providing & Laying (Main or Sub-Main) PVC
insulated with single core copper conductor
| 250/440 Volts size 2-7/.036 (S.I.No. 47 P-6). |  | 17.53 | Mtr | 213 | / | 0 | P.Mtr. | 3734 | /-
6 | Providing & fixing Bakelite celing rose with
| two terminals.(S.I.No. 228 P-33). |  | 7 | Nos | 72 | / | 0 | P.No | 504 | /-
7 | Providing & fixing Bras Battern holder.
| (S.I.No. 232 P-33). |  | 3 | Nos | 70 | / | 0 | P.No | 210 | /-
8 | Providing & fixing one way SP 5amp switch
| flush type. (S.I.No. 219 P-33). |  | 43 | Nos | 54 | / | 0 | P.No | 2322 | /-
9 | Providing & fixing two pin 5amp plug & socket
| (S.I.No. 222 P-33). |  | 17 | Nos | 80 | / | 0 | P.No | 1360 | /-
10 | Providing & fixing three pin 10/15amp plug
| & socket. (S.I.No. 224 P-33). |  | 2 | Nos | 151 | / | 0 | P.No | 302 | /-
11 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 6 | Nos | 916 | / | 0 | P.No | 5496 | /-
12 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp DP (TB-5S) on prepared
| board as required.(S.I.No. 204 P-31). |  | 1 | Nos | 2456 | / | 0 | P.No | 2456 | /-
13 | Providing & fixing Brass Ceiling fan 56"
| good quality.(S.I.No. 235 P-34). |  | 3 | Nos | 3185 | / | 0 | P.No | 9555 | /-
14 | Providing & fixing channel patti 3/4" as required
| as per instruction of EI. (S.I.No. 295 P-43). |  | 295 | Rft | 34 | / | 0 | P.Rft | 10030 | /-
[8 empty] | Part C | 65938 | /-
PART D INTERNAL SUI GAS
1 | Providing and fixing Gas Burner (Sky Flame) superior quality i/c necessary fittings etc complete.
|  |  | 1 | No |  |  | 0 | Each | 0 | /-
[8 empty] | Part D | 0 | /-
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
Part 'C' Internal Electrification
i) Schedule Item
Part "D" Internal Sui Gas
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 5. H. H Flat #14,31,32,44,46,47
NAME OF WORK => |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI (Flat No.14,31,32,44,46,47).
SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART "A" (Civil Works)
(i) Schedule Item
1 | Dismantling glazed or encaustic tile etc.
| (S.I.No.55 P-13). |  | 523.215 | Sft | 786 | / | 50 | %Sft | 4115 | /-
2 | Providing & Laying 1:3:6 cement concrete
solid block masonry wall 6" and below in
thickness set in 1:6 cement mortar in
ground floor super structure raking out
| joints and curing etc complete.(S.I.24/19) |  | 21.4156 | Cft | 15771 | / | 1 | % Cft | 3378 | /-
3 | Cement Plaster 1:4 upto 12' Height.
| ( C ) 3/4" thick (S.I.No.11( C )/P-52 |  | 23.5 | Sft | 3015 | / | 76 | % Sft | 709 | /-
4 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood frames
and 1-1/2" thick Teak wood ply shutters of 2nd
class deodar wood skeleton (solid ) styles and
rails core of partal wood and Teak ply wood
(3-ply) on both sidei/c hold fasts, hinges, iron
tower blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65) .(without frame).
| (1077/06 (-) 370/83 = 706/23) |  | 61.75 | Sft | 706 | / | 23 | P.Sft | 43610 | /-
5 | Supply & fixing inposition Aluminum
Channels framing for hinged doors or alcop
made with 5mm thick tinted glass glazing
(Belgium) and Alpha (Japan) locks including
handles, stoppers etc (b) Deluxe Model.
| (S.I.No.83(b)/P-108) |  | 34.06 | Sft | 1507 | / | 66 | P.Sft | 51351 | /-
6 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete.
(b) Deluxe model (Bronze).
| (S.I.No. 84-b P-108). |  | 6 | Sft | 1647 | / | 69 | P.Sft | 9886 | /-
7 | Laying floor of approved white glazed tile 1/4" : thick
in white cement 1:2 over 3/4" thick cement mortar
| 1:2 complete. (S.I.No. 24 P-43). |  | 49.89 | Sft | 27678 | / | 86 | %Sft. | 13809 | /-
8 | Glazed tile dado 1/4"thick laid in pigment
over 1:2 cement sand mortar 3/4"thick in/c:
| finishing. (S.I.No. 38 P-45). |  | 236.12 | Sft | 28299 | / | 30 | %Sft. | 66820 | /-
9 | Nylon Wire Guaze 144 mesh per square
| inch fixed to chowkhats.(63-b/66) |  | 75.75 | Sft | 74 | / | 94 | P.Sft | 5677 | /-
10 | Scraping (b) Ordinary Distemper
| (S.I.No. 54-b P-13). |  | 6112.92 | Sft | 226 | / | 88 | %Sft | 13869 | /-
11 | Painting old surfaces, Painting to doors and windows any type two coats.
|  |  | 1233.94 | Sft | 1160 | / | 6 | %Sft | 14314 | /-
(S.I.No. 4-a+b+b P-68).
12 | Preparing the surface & painting with matt
finish paint of approved make to old matt
| finish surface. (S.I.No.37-a+b P-55). |  | 4446.16 | Sft | 1772 | / | 38 | %Sft | 78803 | /-
13 | Distempering. Two coats.
| (S.I.No. 24-b P-54). |  | 1666.76 | Sft | 1043 | / | 90 | %Sft | 17399 | /-
14 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 7 | Nos | 1786 | / | 13 | Each | 12503 | /-
15 | P/F G.I expended metal 1/8-20 guage fixed
| to chowkhats. |  | 48 | Sft | 68 | / | 13 | P.Sft | 3270 | /-
16 | Providing and laying tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in desire shade with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles toproper profile. (S.I No.60 P-47
|  |  | 378.3878 | Sft | 30509 | / | 77 | %Sft | 115445 | /-
17 | Galvanized wire gauze 144 mesh per square inch of 22 S.W.G fixed to chowkats without deodar patti.(S.I.No. 63(b) P-66).
|  |  | 96 | Sft | 74 | / | 94 | P.Sft | 7194 | /-
18 | Aluminum wire guaze 144 mesh per square
| fixed to chowkhats. |  | 24 | Sft | 104 | / | 15 | P.Sft | 2500 | /-
[8 empty] | Part A(i)Total | 464652 | /-
Above/Below
SI) Total
(ii) Non Schedule Item
1 | Making and Fixing American Style Kitchen Cabinet
wall unit 24” height and 15 to 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 177.12 | Sft |  |  |  | P.Sft
2 | Making and fixing American style kitchen cabinet Floor (unit) 30" height and 21" depth with shutter of 3/4" thick Lasani sheet and frame of deodar wood (2"x1-1/2") pasted with classic formica sheet also making in approved shade & design i/c necessary fitting as catcher, handles,skirting wheels/channels in doors with fitting nails/screws etc complete as directed by engineer.
|  |  | 175 | Sft |  |  |  | P.Sft
3 | Providing and fixing Marble Top 1" thick 20" of chaina verona i/c P/F sink bowl size 15"x18' stain less steel i/c charging of cutting ,fixing and making half round gola jointing with white cement/jally etc complete.
|  |  | 65.9867 | Sft |  |  |  | P.Sft
4 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 16”x16”x1/4” or 18”x18”x1/4” on
floor in required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 50.8 | Sft |  |  |  | P.Sft
5 | Providing & fixing inter lock in steel door
best quality fixed in position at any floor
and repairing of door, fixing missing bars, flat
angle iron etc complete as instructed by E.E
This rate i/c all labour and material and cartage
of welding plant both the sides from site to
| market and site. |  | 1 | No |  |  |  | Each
Part "A-ii" NSI)Total
Part "B" Sanitary Works.
1 | P/Fixing Orisa Type White or Colour glazed
Earthen Ware W.C Pan with cost of Low
Level Plastic flush tank of 3 gallons cap:
of approved qulaity in/c making requisite
number of holes in wall plinth & floor and
making good in cement concrete 1:2:4
with 4" dia earthen ware trap & Plastic
| Thumble.(Si.No.3(a)ii/P-2) |  | 1 | No | 6166 | / | 0 | Each | 6166 | /-
2 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
3 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 8 P-3) |  | 3 | No | 4253 | / | 70 | Each | 12761 | /-
4 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 3 | No | 938 | / | 47 | Each | 2815 | /-
5 | Supplying & fixing sink mixture cock of superior
quality with c.p head etc complete.
| (S.I.No. 17 P-19) |  | 4 | No | 2745 | / | 60 | Each | 10982 | /-
6 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 5 | Nos | 1109 | / | 46 | Each | 5547 | /-
7 | S/F C.P muslim shower with double bib cock
| & ring type etc complete.(S.I.19(a)/P-19) |  | 1 | No | 3432 | / | 0 | Each | 3432 | /-
8 | S/F Concealed Tee Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.11-a) |  | 2 | No | 478 | / | 28 | Each | 957 | /-
9 | Supplying & Fixing Jet Shower with Rod of
superior quality single C.P Head 1/2" dia.
| (S.I.No.15/P-19) |  | 1 | No | 1142 | / | 24 | Each | 1142 | /-
10 | Supplying & fixing Bath room accessories set
(7 Piece ) I/c towel rod, brush holder soaptray shelf
of approved design I/c cost of screws, nuts
| etc Complete.(Master Braqnd). |  | 1 | No | 10322 | / | 40 | Each | 10322 | /-
11 | Providing and fixing /errection in position tank of
1/8" thick G.I sheet complete with including cost
of (angle 1-1/4" x 1-1/4" x 1/8" ) iron frame C.I
mosquite proof required cover and frame over
flow of required size . Holes for inlet and outlet
and G.I fitting for them including painting the
tank inside with two coats bitument and out side
two coats of white zinc paint with pigment to
match the colour of building over a primary coat
| of red oxede. (S.I.No. 2 P-21) |  | 1200 | Gln | 95 | / | 26 | P.gln | 114312 | /-
[8 empty] | Total W/S & S/F | 179913 | /-
Above/Below
Total W/S & S/F
Part "C"Electric Work
(i) Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 129 P-15). |  | 30 | Nos | 910 | / | 0 | P.Point | 27300 | /-
2 | Providing & Laying (Main or Sub-Main) PVC
insulated with single core copper conductor
| 250/440 Volts size 2-7/.029 (S.I.No. 45 P-6). |  | 8.5366 | Mtr | 118 | / | 0 | P.Mtr. | 1007 | /-
[8 empty] | Part "C-(i)" Electric Work)Total | 28307 | /-
(ii)Non Schedule Item
1 | P/F Ceiling Fan 56" Sweep best quality
| good make etc complete |  | 2 | Nos |  |  |  | Each
2 | P/F Exhaust Fan 12" metal body fancy type
| best quality complete as per required. |  | 3 | Nos |  |  |  | Each
3 | P/F Bracket Fan fancy type
| best quality complete as per required. |  | 1 | Nos |  |  |  | Each
4 | P/F Fancy Type Switch best quality
| as directed by the Engineer Incharge. |  | 42 | Nos |  |  |  | Each
5 | P/F Fancy Type 5 Amp 2 Pin Socket
| as directed by the Engineer Incharge. |  | 12 | Nos |  |  |  | Each
6 | P/F Fancy Type 5 Amp 3 Pin Socket
| as directed by the Engineer Incharge. |  | 9 | Nos |  |  |  | Each
7 | P/F Fancy Type 15 Amp 3 Pin Socket
| as directed by the Engineer Incharge. |  | 1 | Nos |  |  |  | Each
8 | P/F Spot light small size with necessary
| electric connection etc complete |  | 4 | Nos |  |  |  | Each
Total
PART D INTERNAL SUI GAS
1 | Providing and fixing Gas Burner (Sky Flame) superior quality i/c necessary fittings etc complete.
|  |  | 1 | No |  |  |  | P.Sft
Part D
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
ii) Non Schedule Item
Part 'C' Internal Electrification
i) Schedule Item
ii) Non Schedule Item
Part "D" Internal Sui Gas
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 6. H. H Flat No. 10.12.17.41
NAME OF WORK => |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI (Flat No.10,12,17,41)
SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART "A" (Civil Works)
(i) Schedule Item
1 | Dismantling glazed or encaustic tile etc.
| (S.I.No.55 P-13). |  | 2035.83 | Sft | 786 | / | 50 | %Sft | 16012 | /-
2 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 8 | Nos | 1786 | / | 13 | Each | 14289 | /-
3 | Supply & fixing inposition Aluminum
Channels framing for hinged doors or alcop
made with 5mm thick tinted glass glazing
(Belgium) and Alpha (Japan) locks including
handles, stoppers etc (b) Deluxe Model.
| (S.I.No.83(b)/P-108) |  | 32 | Sft | 1507 | / | 66 | P.Sft | 48245 | /-
4 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete.
(b) Deluxe model (Bronze).
| (S.I.No. 84-b P-108). |  | 24 | Sft | 1647 | / | 69 | P.Sft | 39545 | /-
5 | Laying floor of approved white glazed tile 1/4" : thick
in white cement 1:2 over 3/4" thick cement mortar
| 1:2 complete. (S.I.No. 24 P-43). |  | 149.67 | Sft | 27678 | / | 86 | %Sft. | 41427 | /-
6 | Glazed tile dado 1/4"thick laid in pigment
over 1:2 cement sand mortar 3/4"thick in/c:
| finishing. (S.I.No. 38 P-45). |  | 734.58 | Sft | 28299 | / | 30 | %Sft. | 207881 | /-
7 | Providing and laying tiles glazed 6"x6"x1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortor 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in desire shade with finishing, cleaning and cost of wax polish etc complete i/c cutting tiles toproper profile. (S.I No.60 P-47
|  |  | 234.34 | Sft | 30509 | / | 77 | %Sft | 71497 | /-
8 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood frames
and 1-1/2" thick Teak wood ply shutters of 2nd
class deodar wood skeleton (solid ) styles and
rails core of partal wood and Teak ply wood
(3-ply) on both sidei/c hold fasts, hinges, iron
tower blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65) .(without frame).
| (1077/06 (-) 370/83 = 706/23) |  | 29.25 | Sft | 706 | / | 23 | P.Sft | 20657 | /-
9 | Scraping (b) Ordinary Distemper
| (S.I.No. 54-b P-13). |  | 6112.92 | Sft | 226 | / | 88 | %Sft | 13869 | /-
10 | Painting old surfaces, Painting to doors and windows any type two coats.
|  |  | 1233.94 | Sft | 1160 | / | 6 | %Sft | 14314 | /-
(S.I.No. 4-a+b+b P-68).
11 | Preparing the surface & painting with matt
finish paint of approved make to old matt
| finish surface. (S.I.No.37-a+b P-55). |  | 4446.16 | Sft | 1772 | / | 38 | %Sft | 78803 | /-
12 | Distempering. Two coats.
| (S.I.No. 24-b P-54). |  | 1666.76 | Sft | 1043 | / | 90 | %Sft | 17399 | /-
[8 empty] | Part A(i)Total | 583938 | /-
Above/Below
SI) Total
(ii) Non Schedule Item
1 | Making and Fixing American Style Kitchen Cabinet
wall unit 24” height and 15 to 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 30.54 | Sft |  |  |  | P.Sft
2 | Making and fixing American style kitchen cabinet Floor (unit) 30" height and 21" depth with shutter of 3/4" thick Lasani sheet and frame of deodar wood (2"x1-1/2") pasted with classic formica sheet also making in approved shade & design i/c necessary fitting as catcher, handles,skirting wheels/channels in doors with fitting nails/screws etc complete as directed by engineer.
|  |  | 22.075 | Sft |  |  |  | P.Sft
3 | Providing and fixing Marble Top 1" thick 20" of chaina verona i/c P/F sink bowl size 15"x18' stain less steel i/c charging of cutting ,fixing and making half round gola jointing with white cement/jally etc complete.
|  |  | 23.99 | Sft |  |  |  | P.Sft
4 | Repairing of Aluminium windows with different dimentions,the work include replacing all damage/broken parts/material with new one as wheels.locks,handle,stopper,glass panes,jali and frame etc complete as instructed by engineer Incharge.(All the material/Parts should be adequate size and strength).
|  |  | 8 | Nos |  |  |  | P.job
5 | Repair of Wooden Door with replace of damaged
broken parts etc complete as instructed by the Engineer
| Incharge. |  | 8 | Nos |  |  |  | Each
6 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 23" x 23”x1/2” x 1/4" on floor in
required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 917.24 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part "B" Sanitary Works.
(i) Schedule Item
1 | Providing and fixing /errection in position tank of
1/8" thick G.I sheet complete with including cost
of (angle 1-1/4" x 1-1/4" x 1/8" ) iron frame C.I
mosquite proof required cover and frame over
flow of required size . Holes for inlet and outlet
and G.I fitting for them including painting the
tank inside with two coats bitument and out side
two coats of white zinc paint with pigment to
match the colour of building over a primary coat
| of red oxede. (S.I.No. 2 P-21) |  | 300 | Gln | 95 | / | 26 | P.gln | 28578 | /-
2 | Providing G.I pipe 1/2" dia
| S.I.Noo.1(i)/P-12 |  | 180 | Rft | 73 | / | 21 | P.Rft | 13178 | /-
3 | P/Fixing Orisa Type White or Colour glazed
Earthen Ware W.C Pan with cost of Low
Level Plastic flush tank of 3 gallons cap:
of approved qulaity in/c making requisite
number of holes in wall plinth & floor and
making good in cement concrete 1:2:4
with 4" dia earthen ware trap & Plastic
| Thumble.(Si.No.3(a)ii/P-2) |  | 1 | No | 6166 | / | 0 | Each | 6166 | /-
4 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
5 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 8 P-3) |  | 2 | No | 4253 | / | 70 | Each | 8507 | /-
6 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 2 | No | 938 | / | 47 | Each | 1877 | /-
7 | Supplying & fixing sink mixture cock of superior
quality with c.p head etc complete.
| (S.I.No. 17 P-19) |  | 1 | No | 2745 | / | 60 | Each | 2746 | /-
8 | S/F C.P muslim shower with double bib cock
| & ring type etc complete.(S.I.19(a)/P-19) |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
9 | S/F Concealed Tee Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.11-a) |  | 2 | No | 478 | / | 28 | Each | 957 | /-
10 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
11 | S/F C.P bath tub mixture of superior quality
with c.p head approved quality.
| (a)C.P Head (S.I.No18-a/P-19) |  | 2 | No | 4048 | / | 0 | Each | 8096 | /-
[8 empty] | Total W/S & S/F | 90665 | /-
Above/Below
Total
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | --s/d-- | [5 empty] | --s/d--
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.

## 7. H. H Flat No.32, 45
NAME OF WORK => |  | M&R TO HUMAYOON HOUSE GARDEN WEST KARACHI (Flat No.35,42)
SCHEDULE "B"
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART "A" (Civil Works)
(i) Schedule Item
1 | Dismantling glazed or encaustic tile etc.
| (S.I.No.55 P-13). |  | 1247.6028 | Sft | 786 | / | 50 | %Sft | 9812 | /-
2 | Providing and fixing in position doors, windows
and ventilators of 1st. Class deodar wood frames
and 1-1/2" thick Teak wood ply shutters of 2nd
class deodar wood skeleton (solid ) styles and
rails core of partal wood and Teak ply wood
(3-ply) on both sidei/c hold fasts, hinges, iron
tower blts, handles and cleats with cord etc.
complete. (S.I.No. 58 P-65) .(without frame).
| (1077/06 (-) 370/83 = 706/23) |  | 70.88 | Sft | 706 | / | 23 | P.Sft | 50058 | /-
3 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 16.5 | Rft | 228 | / | 90 | P.Rft | 3777 | /-
4 | Laying floor of approved white glazed tile 1/4" : thick
in white cement 1:2 over 3/4" thick cement mortar
| 1:2 complete. (S.I.No. 24 P-43). |  | 99.7878 | Sft | 27678 | / | 86 | %Sft. | 27620 | /-
5 | Glazed tile dado 1/4"thick laid in pigment
over 1:2 cement sand mortar 3/4"thick in/c:
| finishing. (S.I.No. 38 P-45). |  | 472.23 | Sft | 28299 | / | 30 | %Sft. | 133638 | /-
6 | Supplying & fixing in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen I/c handles stoppers & locking arrangement etc. complete.
(b) Deluxe model (Bronze).
| (S.I.No. 84-b P-108). |  | 32 | Sft | 1647 | / | 69 | P.Sft | 52726 | /-
7 | Supply & fixing inposition Aluminum
Channels framing for hinged doors or alcop
made with 5mm thick tinted glass glazing
(Belgium) and Alpha (Japan) locks including
handles, stoppers etc (b) Deluxe Model.
| (S.I.No.83(b)/P-108) |  | 32 | Sft | 1507 | / | 66 | P.Sft | 48245 | /-
8 | Providing and fixing approved quality mortice
| lock.(S.I N0.21 P-60) |  | 6 | Nos | 1786 | / | 13 | Each | 10717 | /-
9 | Scraping (b) Ordinary Distemper
| (S.I.No. 54-b P-13). |  | 3056.46 | Sft | 226 | / | 88 | %Sft | 6934 | /-
10 | Painting old surfaces, Painting to doors and windows any type two coats.
|  |  | 616.97 | Sft | 1160 | / | 6 | %Sft | 7157 | /-
(S.I.No. 4-a+b+b P-68).
11 | Preparing the surface & painting with matt
finish paint of approved make to old matt
| finish surface. (S.I.No.37-a+b P-55). |  | 2223.08 | Sft | 1772 | / | 38 | %Sft | 39401 | /-
12 | Distempering. Two coats.
| (S.I.No. 24-b P-54). |  | 833.38 | Sft | 1043 | / | 90 | %Sft | 8700 | /-
[8 empty] | Part A(i)Total | 398785 | /-
% Below / Above
% Below / Above on item no.10
Total
(ii) Non Schedule Item
1 | Making and Fixing American Style Kitchen Cabinet
wall unit 24” height and 15 to 18” depth with
shutter of 3/4" thick Lassani Sheet and frame of
deodar wood (1-1/2”x2”) pasted with classic
formica sheet also making in approved shade &
design including necessary fitting i.e. Catcher,
handles, skirting wheel / channels in doors with
fitting nails / screws etc. complete as per directed
| by the Engineer Incharge. |  | 104 | Sft |  |  |  | P.Sft
2 | Making and fixing American style kitchen
cabinet Floor (unit) 30" height and 21" depth
with shutter of 3/4" thick Lasani sheet and
frame of deodar wood (2"x1-1/2") pasted
with classic formica sheet also making in
approved shade & design i/c necessary
fitting as catcher, handles,skirting wheels/
channels in doors with fitting nails/screws
| etc complete as directed by engineer. |  | 193.07 | Sft |  |  |  | P.Sft
3 | Providing and fixing Marble Top 1" thick 20"
of chaina verona i/c P/F sink bowl size 15"x18'
stain less steel i/c charging of cutting ,fixing
and making half round gola jointing with white
| cement/jally etc complete. |  | 72.3 | Sft |  |  |  | P.Sft
4 | Repairing of Aluminium windows with different
dimentions,the work include replacing all
damage/broken parts/material with new one
as wheels.locks,handle,stopper,glass panes,
jali and frame etc complete as instructed by
engineer Incharge.(All the material/Parts
should be adequate size and strength).
|  |  | 4 | No |  |  |  | P.job
5 | Repair of Wooden Door with replace of damaged
broken parts etc complete as instructed by the Engineer
| Incharge. |  | 4 | Sft |  |  |  | P.Sft
6 | Providing and Laying glazed / matt tiles of Master/Equ:
quality of size 16”x16”x1/4” or 18”x18”x1/4” on
floor in required pattern and design and jointed with
high bound of required base i/c. filing of joints with
slurry of white cement & pigment as desired Wax
polish etc. complete in all respect as directed by
| Engineer Incharge. |  | 441.24 | Sft |  |  |  | P.Sft
7 | Making & Fixing Almirah Shutter with laminated
lasani sheet 3/4" thick bath side i/c making framing with
1st class wood size (2"x 1 1/2") i/c best quality hardware
| and locking arrangement. |  | 33 | Sft |  |  |  | P.Sft
Part "A-ii" NSI)Total
Part "B" Sanitary Works.
1 | Providing and fixing /errection in position tank of
1/8" thick G.I sheet complete with including cost
of (angle 1-1/4" x 1-1/4" x 1/8" ) iron frame C.I
mosquite proof required cover and frame over
flow of required size . Holes for inlet and outlet
and G.I fitting for them including painting the
tank inside with two coats bitument and out side
two coats of white zinc paint with pigment to
match the colour of building over a primary coat
| of red oxede. (S.I.No. 2 P-21) |  | 300 | Gln | 95 | / | 26 | P.gln | 28578 | /-
2 | Providing G.I pipe 1/2" dia
| S.I.Noo.1(i)/P-12 |  | 120 | Rft | 73 | / | 21 | P.Rft | 8785 | /-
3 | P/Fixing Orisa Type White or Colour glazed
Earthen Ware W.C Pan with cost of Low
Level Plastic flush tank of 3 gallons cap:
of approved qulaity in/c making requisite
number of holes in wall plinth & floor and
making good in cement concrete 1:2:4
with 4" dia earthen ware trap & Plastic
| Thumble.(Si.No.3(a)ii/P-2) |  | 2 | No | 6166 | / | 60 | Each | 12333 | /-
4 | P/Fixing european white glazed earthen
ware wash down w.c pan complete
with & i/c the cost of white/black plastic
seat and lid with c.p brass hinges
| (S.I.No.5/P-2) |  | 2 | No | 11477 | / | 40 | Each | 22955 | /-
5 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No. 8 P-3) |  | 2 | No | 4253 | / | 70 | Each | 8507 | /-
6 | Add extra for labour for Providing and fixing of earthen ware pedestals white or coloured (forign or equipvelent)(S.I.No.9 P-3)
|  |  | 2 | No | 938 | / | 47 | Each | 1877 | /-
7 | Supplying & fixing sink mixture cock of superior
quality with c.p head etc complete.
| (S.I.No. 17 P-19) |  | 2 | No | 2745 | / | 60 | Each | 5491 | /-
8 | S/F C.P muslim shower with double bib cock
| & ring type etc complete.(S.I.19(a)/P-19) |  | 2 | No | 3432 | / | 0 | Each | 6864 | /-
9 | S/F Concealed Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.11-a P-18) |  | 6 | No | 478 | / | 28 | Each | 2870 | /-
10 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 3 | Nos | 1109 | / | 46 | Each | 3328 | /-
11 | S/F Concealed Tee Stop Cock of superior quality
| with c.p head 1/2" dia(S.I.12-a P-18) |  | 4 | No | 843 | / | 92 | Each | 3376 | /-
12 | S/F C.P bath tub mixture of superior quality
with c.p head approved quality.
| (a)C.P Head (S.I.No18-a/P-19) |  | 2 | No | 4048 | / | 0 | Each | 8096 | /-
[8 empty] | Total W/S & S/F | 113060
% Below / Above
% Below / Above on item no.2
Total W/S & S/F
Part "C"Electric Work
(i) Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 129 P-15). |  | 13 | Nos | 910 | / | 0 | P.Point | 11830 | /-
2 | Wiring for plug point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 130 P-15). |  | 8 | Nos | 742 | / | 0 | P.Point | 5936 | /-
3 | Wiring for call bell point with 3/.029 PVC
insulated wire in 20mm (3/4") channel patti
| on surface as required. (S.I.No. 131 P-15). |  | 1 | No | 1590 | / | 0 | P.Point | 1590 | /-
4 | Providing & Laying (Main or Sub-Main) PVC
insulated with single core copper conductor
| 250/440 Volts size 2-7/.029 (S.I.No. 45 P-6). |  | 89.94 | Mtr | 118 | / | 0 | P.Mtr. | 10613 | /-
5 | Providing & Laying (Main or Sub-Main) PVC
insulated with single core copper conductor
| 250/440 Volts size 2-7/.036 (S.I.No. 47 P-6). |  | 19.17 | Mtr | 213 | / | 0 | P.Mtr. | 4083 | /-
6 | Providing & fixing Bakelite celing rose with
| two terminals.(S.I.No. 228 P-33). |  | 7 | Nos | 72 | / | 0 | P.No | 504 | /-
7 | Providing & fixing Bras Battern holder.
| (S.I.No. 232 P-33). |  | 3 | Nos | 70 | / | 0 | P.No | 210 | /-
8 | Providing & fixing one way SP 5amp switch
| flush type. (S.I.No. 219 P-33). |  | 43 | Nos | 54 | / | 0 | P.No | 2322 | /-
9 | Providing & fixing two pin 5amp plug & socket
| (S.I.No. 222 P-33). |  | 17 | Nos | 80 | / | 0 | P.No | 1360 | /-
10 | Providing & fixing three pin 10/15amp plug
| & socket. (S.I.No. 224 P-33). |  | 2 | Nos | 151 | / | 0 | P.No | 302 | /-
11 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp SP (TB-5S) on prepared
| board as required.(S.I.No. 203 P-31). |  | 6 | Nos | 916 | / | 0 | P.No | 5496 | /-
12 | Providing & fixing circuit breaker 6,10,15,20
30,40,50 & 63amp DP (TB-5S) on prepared
| board as required.(S.I.No. 204 P-31). |  | 1 | Nos | 2456 | / | 0 | P.No | 2456 | /-
13 | Providing & fixing Brass Ceiling fan 56"
| good quality.(S.I.No. 235 P-34). |  | 3 | Nos | 3185 | / | 0 | P.No | 9555 | /-
14 | Providing & fixing channel patti 3/4" as required
| as per instruction of EI. (S.I.No. 295 P-43). |  | 295 | Rft | 34 | / | 0 | P.Rft | 10030 | /-
15 | Providing & laying (MAIN or SUB MAIN)
PVC insulated with size 3-7/.044 (6mm2)
copper conductor in 1’’ dia PVC conduit
recessed in the wall or column as required.
| (S.I.No. 26 P-4). |  | 30 | Mtr | 468 | / | 0 | P.Mtr | 14040 | /-
[8 empty] | Part C | 80327 | /-
PART C-ii Electric Work
Non Schedule Item
1 | P/F Iron distribution board double shutter to accommodate circuit breakers i/c painting with enemalled paint.
|  |  | 2 | Sft | 2200 | / | 0 | P.Sft | 4400 | /-
[8 empty] | Part C-ii NSI | 4400
PART D INTERNAL SUI GAS
1 | Providing and fixing Gas Burner (Sky Flame) superior quality i/c necessary fittings etc complete.
|  |  | 1 | No | 12450 | / | 0 | P.Sft | 12450 | /-
[8 empty] | Part D | 12450 | /-
SUMMARY OF COST
Part 'A' Civil work
i) Schedule Item
ii) Non Schedule Item
Part 'B' W/S & S/F
i) Schedule Item
Part 'C' Internal Electrification
i) Schedule Item
Part "D" Internal Sui Gas
i) Non Schedule Item
CONDITINS.
1 | Any typographical error in the rates of subject of the correction according to the Schedule of Rates (General) Volume-III, Part-III, & Schedule of Rates Water Supply and S/F for finished items in-forced from 12th July, 2012 approved by SRC Sindh.
2 | No Cartage will be paid on any items of works.
3 | No premium shall be paid on Non-Schedule items.
CONTRACTOR
|  | ASSISTANT ENGINEER | [5 empty] | EXECUTIVE ENGINEER
|  | Electrical Sub Division IV | [5 empty] | Provincial Buildings Division No.III
|  | Karachi. | [5 empty] | Karachi.