| NAME OF WORK: | M/R TO SINDH SECRETARIAT NO. VI (OLD STATE BANK) KARACHI ( FLOOR POLISHING, COLOURING, PAINTING IN OFFICES OF PROSECUTOR GENERAL SINDH, LIFT AREA GF TO 3RD FLOOR IN/C RENOVATION OF GENERAL BATH ROOM GROUND FLOOR ). |
| --- | --- |

“  SCHEDULE ‘B’ ”

| S.#. | DESCRIPTION OF ITEMS. | QTY: | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |
|  | PART ‘A’ SCHEDULE ITEM (CIVIL WORK) |  |  |  |  |
| 1 | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 6177.00 Sft | 226/88 | %Sft | 14014/- |
|  | Rupees. Two hundred twenty six. And. Eighty eight. Pisas |  |  |  |  |
| 2 | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 8236.00 Sft | 1772/38 | %Sft | 145973/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa |  |  |  |  |
| 3 | Applying chemical polishing on existing mosaic /Marble flooring / dado including cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement. ( SI.70/P-49 ). | 7182.86-Sft | 36/60 | %Sft | 262893/- |
| Rupees. Thirty six. and sixty. paisa |  |  |  |  |  |
| 4 | Dismantling glazed or encaustic tiles etc. ( SI.55 / P-13 ). | 279.47-Sft | 786/50 | %Sft | 2198/- |
|  | Rupees. Seven hundred eighty six. And. Fifty. Paisa |  |  |  |  |
| 5 | Painting old surface (c ) Painting doors and windows any type. (i) 1st coat (ii) second & subsequent coat ( SI.4( c ) ( i + ii )/P-68 ). | 460.98 Sft | 1160/06 | %Sft | 5348/- |
|  | Rupees. One thousand one hundred sixty. And six. Paisa |  |  |  |  |
| 6 | French polishing complete. (b) On old work.( SI. 7(b)/P-71 ). | 201.50 Sft. | 1952/50 | %Sft | 3934/- |
|  | Rupees. One thousand nine hundred fifty two. And. Fifty. Paisa |  |  |  |  |
| 7 | Distempering.( b ) Two coats.( SI.24(b) / P-54 ). | 3591.00 Sft | 1043/90 | %Sft | 37486/- |
|  | Rupees. One thousand & forty three. And. Ninety. Paisa |  |  |  |  |
| 8 | Providing and fixing Aluminum sheet on doors pasted with glue as per requirement.( SI.61 / P-66 ). | 81.00 Sft | 63/77 | P.Sft | 5165/- |
|  | Rupees. Sixty three. And. Seventy seven. Paisa |  |  |  |  |
|  |  | (A). At per Rs. |  |  | 477011/- |
|  | PART ‘B’ NON-SCHEDULE ITEM |  |  |  |  |
| 1 | P/F UPVC soil and vent pipe of AGM or Pak Arab make schedule SDR- 41(B) pipe without fittings which will be paid separately. This includes fixing on walls with clamps or Jubilee clips upto height 50’-0 in vertical or horizontal position using Jhoola or long ladder or scaffolding and jointing pipe & fittings with approved cement solvent / JTG solution. The rate includes all cost of labour, material, and cartage, as directed by Engineer Incharge. - 4” dia. | 18.00-Rft |  | PRft |  |
| 2 | P/F UPVC water supply pipe of AGM or Pak Arab make schedule 40(E) ASTM standard D-1785 with all necessary fittings like elbow, bend, tee etc. This includes fixing on walls with clamps or Jubilee clips upto height of 50’-0 in vertical or horizontal position using Jhoola or long ladder or scaffolding and jointing pipe & fittings with approved solvent / JTG solution. The rate includes all cost of labour, material, and cartage, as directed by Engineer Incharge 1/2" dia | 41.90-Rft |  | PRft |  |
| 3 | P/F UPVC fittings of schedule 40(E) ASTM –D-1785 Standard (AGM or Pak Arab make) with the cost of breaking through walls and roof in/c jointing with PVC solvent/JTG solution and fixing at any height/floor using Jhoola or long ladder or scaffolding in horizontal or vertical position as directed by the Engineer Incharge |  |  |  |  |
| a. | 4” dia Socket | 04-Nos |  | Each |  |
| b. | 4” dia Tee | 02-Nos |  | Each |  |
| c. | 4” dia P. Trap | 03-Nos |  | Each |  |
| d. | 4” dia elbow. | 04-Nos |  | Each |  |
| 4 | P/F white/colored glazed earthen ware squatting/Indian type W.C pan of not less than 23” (Asia local make or equivalent) with low level flush tank (Push button type) having capacity of 3.0 gallon in/c necessary lead connection with pipe & bend etc making requisite number of holes in wall, plinth & floor for pipe connection and making good in c.c. 1:2:4 as per instruction of the Engineer Incharge. . | 01-No |  | Each |  |
| 5 | P/F white/colored glazed earthen ware wash basin of 24”x18” size(ACL or equivalent ) with pedestal in/c necessary lead connection C.P. waste, waste pipe, in/c making requisite number of holes in wall plinth or floor for pipe connection & making good in c.c. 1:2:4. as per instruction of Engineer Incharge. | 01-No |  | Each |  |
| 6 | P/F sanitary fitting chrome plated heavy gauge of approved quality (Irfan or equivalent make) fitted with completed accessories as directed by the Engineer Incharge. Side Pillar Cock . ½” dia | 01-No |  | Each |  |
| 7 | S/F bath room accessories set (Master make) (7 pieces) in/c soap dish, looking mirror shelf tray, tower rails, paper holder etc complete. | 01-No |  | Each |  |
| 8 | P/L Bath room tiles glazed or matt glazed, having size 10”x13” or 8”x10” Shabbir / Sonex / Karam or equivalent make jointed in white cement and laid over 1:2 grey cement sand mortar ¾” thick in/c finishing & filling of joints with slurry of white cement or tile grout in desired shape in/c cutting of tiles to proper profile (on floor or facing) | 279.47-Sft |  | PSft |  |
| 9 | P/F false ceiling of Gypsum board in panels of required design & size in/c frame work of aluminum T-Section hanged with nail wire to ceiling etc complete. | 500.00-Sft |  | PSft |  |
| 10 | P/F false ceiling spot light fancy type round shape with glass and 2 holder and energy saver of approved make & quality including fixing in false ceiling by cutting hole as directed by the Engineer Incharge. | 10-No |  | Each |  |
| 11 | S/F 1-40 watts tube light with 40 watts rod, chock, starter & base fitted on wall ceiling with 23/.076 flexible wire in/c connection to ceiling rose as directed by the Engineer Incharge.(Phillips make ) or equivalent | 16-Nos |  | Each |  |
| 12 | P/F ceiling fan 56” sweep Pak/Royal/GFC or equivalent Deluxe model in/c carriage from shop to site of work, fixing & necessary lead connection as directed by the Engineer Incharge. | 06-Nos |  | Each |  |
|  |  |  | (B). Total Rs : |  |  |
|  |  |  | (A). Total Rs : |  |  |
|  |  |  | ( A + B ). Total Rs : |  |  |
|  |  |  | Say Rs: |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |