| NAME OR WORK :- | M/R TO SINDH SECRETARIAT NO.II ( TUGHLAQ HOUSE ) KARACHI. ( IRON GRILL, GRAFFITTO PAINT & OTHER WORKS IN HOME DEPARTMENT GROUND FLOOR) |
| --- | --- |

“ SCHCEDULE ‘B “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORK ) |  |  |  |  |
| 1 | Distempering.( b ) Two coats.( SI.24(b) / P-54 ). | 880.92 Sft | 1043/90 | %Sft | 9195/- |
|  | Rupees. One thousand & forty three. And. Ninety. Paisa |  |  |  |  |
| 2 | Painting old surfaces.(c ).Painting doors and Windows any type.( i )First coat(ii ).Each subsequent coat.( SI.4(c )(i+ii ) / P-68 ) | 189.00 Sft | 1160/06 | %Sft | 2192/- |
|  | Rupees. One thousand one hundred sixty. And. Six. Paisa |  |  |  |  |
| 3. | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 1121.00 Sft | 1772/38 | %Sft | 19939/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa . |  |  |  |  |
|  |  | TOTAL |  |  | 31225/- |
|  | NON-SCHEDULE ITEMS PART-“C” |  |  |  |  |
| 1 | P/F Iron Steel grill using solid square bars of size 1/2" x 1/2” placed @ 4” centre to centre in approved design and pattern in/c frame of flat iron Patti of 3/4"x1/8” fixed with screws or pins and painting with two or required coats after first coat of red oxide. The cost in/c all cartage, tools, plants, welding machine etc used in making as directed by the Engineer Incharge. | 809.00 Sft |  | P/Sft |  |
| 2 | P/M Graffito paint to wall surface to provide durable & aesthetic surface having thickness between 1.6 – 2.0mm in specified color / shade & working upto height of 90-0’ using scaffolding as directed by the Engineer Incharge. | 1376.00 Sft |  | P/Sft |  |
| 3 | Providing fixing wooden partition with frame & laminated ply sheet in/c making frame of 2’-0x2’-0 by using partal wood patties 2”x1” then pasting laminated ply sheet 1/4" thick on both sides with glue or screws in/c fixing wooden gola at the joint of sheet & polishing the exposed wood surface. The cost in/c all material, labour & carriage etc complete. | 168.00 Sft |  | P/Sft |  |
|  |  | Total Part-“B” Rs. |  |  |  |
|  |  | Total Part-“A” Rs. |  |  |  |
|  |  | G: Total Part ( A+B ) Rs. |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |