| NAME OR WORK :- | M/R TO SINDH SECRETARIAT NO.II ( TUGHLAQ HOUSE ) KARACHI. ( IRON GRILL, ALUMINUM PARTITION, WOODEN CABINETS, COLOURING, PAINTING IN AGRICULTURE DEPARTMENT GROUND FLOOR) |
| --- | --- |

“ SCHEDULE ‘B’ “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORK ) |  |  |  |  |
|  | Scraping, Ordinary distemper, oil bound distemper or paint on walls (54-b / P-13). | 1545.00 Sft | 226/88 | %Sft | 3505/- |
|  | Rupees. Two hundred twenty six. And. Eighty eight. Paisa |  |  |  |  |
|  | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 2060.00 Sft | 1772/38 | %Sft | 36511/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa |  |  |  |  |
| 1 | Distempering.( b ) Two coats.( SI.24(b) / P-54 ). | 1325.00 Sft | 1043/90 | %Sft | 13832/- |
|  | Rupees. One thousand & forty three. And. Ninety. Paisa |  |  |  |  |
| 2 | Painting old surfaces.(c ).Painting doors and Windows any type.( i )First coat(ii ).Each subsequent coat. ( SI.4(c )(i+ii ) / P-68 ) | 312.00 Sft | 1160/06 | %Sft | 3619/- |
|  | Rupees. One thousand one hundred sixty. And. Six. Paisa |  |  |  |  |
| 3. | French polishing complete.(b) On old work.(SI.7(b)/P-71 ) | 303.00 Sft | 1952/50 | %Sft | 5916/- |
|  | Rupees. One thousand nine hundred fifty two. And. Fifty. Paisa |  |  |  |  |
|  |  | Total Rs. |  |  | 63383/- |
|  | NON-SCHEDULE ITEMS PART-“C” |  |  |  |  |
| 1 | P/F Iron Steel grill using solid square bars of size 1/2" x 1/2” placed @ 4” centre to centre in approved design and pattern in/c frame of flat iron Patti of 3/4"x1/8” fixed with screws or pins and painting with two or required coats after first coat of red oxide. The cost in/c all cartage, tools, plants, welding machine etc used in making as directed by the Engineer Incharge. | 121.87 Sft |  | P/Sft |  |
| 2 | P/F Aluminum partition with fixed glass (frosted) 5mm thick using 4” lucky section in champion color as frame on floor or block masonry fixed with necessary fixtures rubber packings etc. The cost in/c tools & plants used in making and carriage from shop to site as directed by the Engineer Incharge. | 217.00 Sft |  | P/Sft |  |
| 3 | P/F wooden cabinet with shutter and back shelves by using laminated lassani sheet 3/4" thick and frame work of 1st class partal wood 2”x1” with 18” deep box in/c providing & fixing wooden leaping or gola around lassani shutter or making gola by router in approved design & shape & polishing it. The cost in/c necessary hinges, catchers, handles, sliding wheels in draws, nails, screws, draws locks etc. The cost also in/c necessary tools and plants to be used in making etc complete as directed by the Engineer Incharge. | 204.50 Sft |  | P/Sft |  |
|  |  | Total Part-“B” Rs. |  |  |  |
|  |  | Total Part-“A” Rs. |  |  |  |
|  |  | G: Total Part ( A+B ) Rs. |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

| CONTRACTOR. | ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- | --- |