| NAME OR WORK :- | M/R TO SINDH SECRETARIAT NO:V KARACHI (FLOOR POLISHING, COLOURING, PAINTING OF CORRIDORS & STAFF ROOMS 2ND FLOOR). |
| --- | --- |

“ SCHEDULE ‘B’ “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORK ) |  |  |  |  |
| 1. | Scraping, Ordinary distemper, oil bound distemper or paint on walls (54-b / P-13). | 12679.00 Sft | 226/88 | %Sft | 28766/- |
|  | Rupees. Two hundred twenty six. And. Eighty eight. Paisa |  |  |  |  |
| 2. | Distempering.( b ) Two coats.( SI.24(b) / P-54 ). | 4814.25 Sft | 1043/90 | %Sft | 50256/- |
|  | Rupees. One thousand & forty three. And. Ninety. Paisa |  |  |  |  |
| 3. | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 18113.00 Sft | 1772/38 | %Sft | 321031/- |
|  | Rupees. One thousand seven hundred seventy two. And. Thirty eight. Paisa . |  |  |  |  |
| 4 | Applying chemical polishing on existing mosaic /Marble flooring / dado including cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement. ( SI.70/P-49 ). | 1952.00- Sft | 36/60 | P/Sft | 71443/- |
|  | Rupees. Thirty six. And. Sixty. Paisa |  |  |  |  |
| 5. | Preparing surface & painting with enamel paint on masonry walls 2nd & subsequent coat (SI.31(A+B)/P73) (579.14 + 435.0 = 1014.14 ) | 2209.00 Sft | 1014/14 | %Sft | 22402/- |
|  | Rupees. One thousand & fourteen. And. Fourteen. Paisa |  |  |  |  |
| 6 | Painting old surfaces.(c ).Painting doors and Windows any type. ( i )First coat(ii ).Each subsequent coat. ( SI.4(c )(i+ii ) / P-68 ) | 352.00 Sft | 1160/06 | %Sft | 4083/- |
|  | Rupees. One thousand one hundred sixty. And. Six. Paisa |  |  |  |  |
| 7. | Painting old surfaces ( d ) painting guard bars, gates iron bars gratings, railings including standard braces ( etc ) and similar open work.( i ). First Coat.Rs.371/80 ( ii ). Each subsequent coat. Rs.302/80 ( i ) + ( ii ) = Rs.674/60 ( SI.4d( i+ii ) / P-69 ). | 259.00 Sft | 674/60 | % Sft | 1747/- |
|  | Rupees. Six hundred seventy four. And. Sixty. Paisa |  |  |  |  |
|  |  | (A).Total Rs. |  |  | 499728/- |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |