SCHEDULE “B”

NAME OF WORK	REPAIR & MAINTENANCE OF BARRACK NO.56 (SINDH) 						PAKISTAN  SECRETARIATE BEHIND MPA HOSTEL KARACHI

| S.NO | DESCRIPTION OF ITEMS | QUANTITY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | NON-SCHEDULE ITEMS |  |  |  |  |
| 1 | P/F wall paper of imported make of approved shade/colour paint as approved by the competent authority fixed with glue preparing smooth the surface with plaster of Paris/chemical etc. | 157.58 |  | P.Sft |  |
| 2 | P/F stainless steel grill of 2’-6” in height with 1-1/4” dia S.S Top rail & ½” dia S.S pipe in vertical in desired shap & design | 80 |  | P.Sft |  |
| 3 | P/F plaster of Paris fancy type ceiling corner border 6” wide in approved design with & thickness i/c fixing with nails & screws etc complete. | 146 |  | P.Sft |  |
| 4 | French polishing of doors windows ventilators sair jaffery floor work etc i/c preparing surface and surface polishing by using Indian lakh dana spirit thinner pigment ICI lacuar ICI hardener regmal (Germany) material i/c sealer tar pin oil pokishing as per safisfaction of competantly authority | 525 |  | P.Sft |  |
| 5 | P/L lime or white stone tiles 8”x10” approved quality on wall or floor as well as facing jointed in white cement & pigment over a base of 1:2 grey cement martar ¾” thick i/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning i/c cutting tiles to proper profile upto 20ft height as per instruction of Engineer incharge rate i/c all cost of labour etc | 508 |  | P.Sft |  |
|  | Total Rs: Non-Schedule items |  |  |  |  |

TERMS & CONDITIONS

- Any typographical error in the schedule “B” are subject to correction with the reference to the schedule of rates General item & Water supply and Sanitary item 2012 in force from 12th July 2012 Publication No.52 & 54 as approved by the standing rates committee Sindh Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4

- Water shall be arranged by the contractor at site of work without any extra payment.

- No  Premium  shall be paid on Non-Schedule items.

- N0  Cartage of any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically vibrated.

- Contractor has to bring samples of the material and handed to the Engineer in charge free of cost.

- All buildings debris & surplus stuff not req. for use & construction shall  be removed from the site the suitable disposal off by

- The contractors for which no extra cartage shall be paid.

- The work will be carried out as per PWD Speciation’s.

| CONTRACTOR | Assistant Engineer |  |  |  |
| --- | --- | --- | --- | --- |
|  | Provincial Buildings Sub-Divn:No:VI |  |  |  |
|  | Karachi |  |  |  |
|  | Executive Engineer |  |  |  |  |
|  | Provincial Buildings Division No:II |  |  |  |  |
|  |  | Karachi |  |  |  |