SCHEDULE “B”

NAME OF WORK	REPAIR/MAINTENANCE OF ROOF OF OLD QUARTER 					ADJACENT MOSQUE & F.C QUARTER 3 NOS AT CENTRAL 				PRISON KARACHI.

| S.No | Description of item | Quantity | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismentling cement concrete plain 1:2:4 (S.I.No.19-c-P-10) | 848.00 | 3327.50 | %Cft | 28217.00 |
|  | Rupees Three thousand three hundred twenty seven & Ps:Fifty)only |  |  |  |  |
| 2 | Removig cement or lime plaster (S.I.No.53-p-13) | 5392.00 | 121.00 | %Sft | 6524 |
|  | Rupees One hundred twenty one)only |  |  |  |  |
| 3 | Applying floating coat of Hi Bond (Universal) as a bond coat or as an adhesive link between old & fresh concrete or plaster as dircted by Engineer incharge. (S.I.No.13(i)-P-52) | 5392.00 | 1029.05 | %Sft | 55486 |
|  | Rupees One thousand twenty nine & Ps: five)only |  |  |  |  |
| 4 | Cement plaster 1:6 upto 12'height (a)3.8"thick (S.I.No.13-a-p-52) | 5392.00 | 2122.72 | %Sft | 114457 |
|  | Rupees Two thousand one hundred twenty two & Ps: Seventy two)only |  |  |  |  |
| 5 | Cement plaster 1:4 upto 12’ height © ¾” thick (S.I.No.11-c-P-52) | 5392.00 | 3015.76 | %Sft | 162610 |
|  | Rupees Three thousand fifteen & Ps: Seventy six)only |  |  |  |  |
| 6 | Providing and laying 1:3:6 cement concrete solid bock maonary wall 6" and below in thickness set in 1:6 cement mortar inground floor superstructure including raking out joints and curring etc.(S.I.No.24-P-19) | 80.00 | 15771.01 | %Cft | 12617 |
|  | Rupees Fifteen thousand seven hundred seventy one & Ps:one)only |  |  |  |  |
| 7 | Providing & Laying 1"thick topping cement concrete (1:2:4) including surface finishing and dividing into panels: (d) 3"thick (S.I.No.16-d-P-42) | 3150.00 | 4411.82 | %Sft | 138972 |
|  | Rupees Four thousand four hundred Eleven & Ps: Eighty two)only |  |  |  |  |
| 8 | Two coats of bitumen laid hot using 34lbs for %Sft Ober roof and blinded with sand at one Cft per % Sft(S.I.No.13-p-35). | 3150.00 | 1887.40 | %Sft | 59453 |
|  | Rupees One thousand Eight hundred eighty seven & Ps: forty)only |  |  |  |  |
| 9 | Making & fixing steel grated door with 1/16"thick sheeting i/c angle iron frame 2"x2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement.(S.I.No.24-p-92) | 63.00 | 726.72 | P.Sft | 45783 |
|  | Rupees Seven hundred twenty six & Ps: Seventy two)only |  |  |  |  |
| P/2 |  |  |  |  |  |
| 10 | Providing & Fixing in position, Doors, Windows and Ventilators of 2" x 2" 1/4" Angle iron frames and 1 3/4" thick Commerical ply wood veneer shutters of deodar wood (3 ply) on both sides, i/c hold fasts,cheats,iron towe bolts handles,hinges and one mortice lock.(S.I.No.8-P-58) | 63.00 | 933.75 | P.Sft | 58826 |
|  | Rupees Nine hundred thirty three & Ps: Seventy five)only |  |  |  |  |
| 11 | Providing & laying tiles glazed 6”x6”x1/4” on floor or wall facing in required color & pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick i/c washing and fillilng of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete i/c. cutting tiles to proper profile.(S.I.No.60-P-47) | 320.00 | 30509.77 | %Sft | 97631 |
|  | Rupees Thirty thousand five hundred nine & Ps :Seventy seven)only |  |  |  |  |
| 12 | Fixing corrugated galvanized iron sheets with G.I bolts, nuts, limpet and bitume washers, windites complete in all respect without valleys and ridges.(b)22 B.W.G(S.I.No.16-p-36) | 360.00 | 12643.44 | %Sft | 45516 |
|  | Rupees Twelve thousand six hundred forty three & Ps: forty four)only |  |  |  |  |
| 13 | (b) Ordinary distemper, iol bound distemper or paint on walls.(S.I.No.54-b-p-13) | 5874.00 | 226.88 | %Sft | 13327 |
|  | Rupees Two hundred twenty six & Ps: Eighty Eight)only |  |  |  |  |
| 14 | Distempering (b) 2-coats S.I.No.24-b-P-54) | 5874.00 | 1043.90 | %Sft | 61319 |
|  | Rupees One thousand forty three & Ps: Ninety)only |  |  |  |  |
| 15 | A Preparing the surface & Painting with matt finish paint of approved make to old matt finish surface.B 2nd & subsequent coat .(S.Ino.24-b-p55) | 594.00 | 3444.38 | %Sft | 20460 |
|  | Rupees Three thousand four hundred forty four & Ps :thirty eight)only |  |  |  |  |
| 16 | Painting old surface © Painting doors and windows any type 2-coats (S.I.No.4-c-P-68) | 546.00 | 1160.06 | %Sft | 6334 |
|  | Rupees One thousand one hundred sixty & Ps:six)only |  |  |  |  |
| P/3 |  |  |  |  |  |
| 17 | Painting old surface (d) painting guard bars, gates iron bars gratings, railings i/c standard braces (etc) simiar open work 2-coats(S.I.No.4-ii-d-P-68) | 126.00 | 674.60 | %Sft | 850 |
|  | Rupees Six hundred seventy four & Ps :sixty)only |  |  |  |  |
|  | Total Rs: |  |  |  | 9,28,383.00 |
|  | PART "B"Water Supply Sanitary Work |  |  |  |  |
| 1 | Providing & fixing squatting type white glazed earthen ware w.c pan with front flush inletr & complete with in/c. the cost of flushing cistern with internal fitting & flush pipe with bend and making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1:2:4 (Foreign Equivalent) B.W.C.pan 19” earthen ware low eveal flush tank 3 gallons (ii)With 4”dia earthen ware & Plastic thumble.(S.I.No.2-b(ii)P-1) | 1.00 | 5486.80 | Each | 5487.00 |
|  | Rupees Five thousand four hundred eighty six & Ps: Eighty)only |  |  |  |  |
| 2 | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalent). (S.I. 10/3). | 1.00 | 4928.00 | Each | 4928.00 |
|  | Rupees Four thousand nine hundred twenty eight)only |  |  |  |  |
| 3 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed (Foreign or Equivalent) (S.I. 11/3). | 2.00 | 2533.47 | Each | 2533.00 |
|  | Rupees Two thousand five hundred thirty three & Ps: forty seven)only |  |  |  |  |
| P/4 |  |  |  |  |  |
| 4 | Providing Chambers 15” x 19” (inside dimension) x 24” deep for house meters with 6” thick C.C. 1:3:6 blocks set on 1:6 cement mortar 6” thick C.C. 1:4:8 in foundation, ½ thick cement plaster 1:3 to all inside wall surface and to top 1” thick C.C. 1:2:4 flooring complete with hinged cast iron cover and frame 15”x9” (inside) clear opening (Wt-Qr) etc. fixed in cement concrete 1:2:4 including curing excavation back filling & disposal of surplus earth etc. complete (S.I. 2/20). | 2.00 | 5913.22 | Each | 11826.00 |
|  | Rupees Five thousand nine hundred thirteen & Ps: Twenty two)only |  |  |  |  |
| 5 | Supplying & fixing fiber glass tank of approved quality and design and wall thickness as specified i/c cost of nuts, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in let & out let & over flow pipes etc complete (a)250 gallons wall thickness 3.5 mm (S.I.No.3-a-P-21) | 1.00 | 21989.61 | Each | 21990 |
|  | Rupees Twenty one thousand nine hundred eighty nine & Ps: Sixty one)only |  |  |  |  |
| 6 | A S/Fixing long bib-cock of superior quality with c.p head ½”dia )S.I.No.13-a-P-19) | 3.00 | 1109.46 | Each | 3328 |
|  | Rupees One thousand one hundred nine & Ps :forty six)only |  |  |  |  |
| 7 | A Supplying & Fixing swan type piller cock of Superior quality single c.p head ½”dia.(S.I.No.16-a-P-19) | 3.00 | 795.30 | Each | 2386 |
|  | Rupees Seven hundred ninety five & Ps:thirty)only |  |  |  |  |
| 8 | Supplying & fixing jet shower with rod of superior quality single C.P. head 1/2" dia (S.I. 15-P-19) | 3.00 | 1142.24 | Each | 3427 |
|  | Rupees One thousand one hundred forty two & Ps :twenty four)only |  |  |  | 58439.00 |
|  | Total Rs: |  |  |  |  |
|  | NON-SCHEDULE ITEMS |  |  |  |  |
| 1 | Providing & Fixing UPVC pipe ½”dia (Pak Arab) i/c. cutting making & jointing with sulation paste with special, all required fittings approve quality i/c all cost of labour as per directed by Enginer incharge etc complete (R.A) | 72.00 |  | Each |  |
| P/5 |  |  |  |  |  |
| 2 | P/F UPVC pipe 3”dia (Pak Arab) i/c cutting fitting with colours clamps & rubber solution this rate also i/c making holes in walls plinth floor and roof for fixing pipe and making good in C.C.1:2:4 testing pressure i/c leader ,seafolliding as per directed as per Engineer incharge.(R.A) | 70.00 |  | P.Rft |  |
| 3 | P/F UPVC pipe 4”dia (Pak Arab) i/c cutting fitting with colours clamps & rubber solution this rate also i/c making holes in walls plinth floor and roof for fixing pipe and making good in C.C.1:2:4 testing pressure i/c leader,seafolliding as per directed as per Engineer incharge.(R.A) | 8.00 |  | P.Rft |  |
| 4 | P/F UPVC plug Tee 4”dia (R.A) | 1.00 |  | Each |  |
| 5 | P/F UPVC plug bend 4”dia(R.A) | 1.00 |  | Each |  |
| 6 | P/F UPVC 4"dia Terminal guard (R.A) | 1.00 |  | Each |  |
|  | Total Rs; Non-Schedule items |  |  |  |  |

GENERAL : ABSTRACT

1   Part "A" Civil

Schedule items				Rs:

2  Part “B”

Water Supply Sanitary work

Schedule items				Rs

Non-Schedule items				Rs:

TERMS & CONDITIONS

- Any typographical error in the schedule “B” are subject to correction with the reference to the schedule of rates General item & Water supply and Sanitary item 2012 in force from 12th July 2012 Publication No.52 & 54 as approved by the standing rates committee Sindh Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4

- Water shall be arranged by the contractor at site of work without any extra payment.

- No  Premium  shall be paid on Non-Schedule items.

- N0  Cartage of any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically vibrated.

- Contractor has to bring samples of the material and handed to the Engineer in charge free of cost.

- All buildings debris & surplus stuff not req. for use & construction shall  be removed from the site the suitable disposal off by

- The contractors for which no extra cartage shall be paid.

- The work will be carried out as per PWD Speciation’s.

| CONTRACTOR | Assistant Engineer |  |  |  |
| --- | --- | --- | --- | --- |
|  | Provincial Buildings Sub-Divn:No:VI |  |  |  |
|  | Karachi |  |  |  |
|  | Executive Engineer |  |  |  |
|  | Provincial Buildings Division No:II |  |  |  |
|  |  | Karachi |  |  |