SCHEDULE “B”

NAME OF WORK		STRENGTHENING & IMPROVEMENT OF NATIONAL 					INSTITUTE OF CHILD HEALTH KARACHI (N.I.C.H) (ANTI-				TERMITE TREATMENT) ADP # 643

| S.NO | DESCRIPTION OF ITEMS | QUANTITY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Providing Anti-termite treatment by spraying /sprinkling /spreading Neptachlar 0.5% Emulsion as an over all pre -construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per directions of Engineer Incharge. (S.I. 92/109). | 35737.00 Sft | 9/74 | P.Sft | 348078/- |
|  | Rupees Nine & Ps: Seventy four only |  |  |  | 348078/- |

TERMS & CONDITIONS

- No cartage on any material either arranged by the contractor himself / themselves or supplied by the Government any shall not be paid separately.

- Contractors(s) shall have to make their own arrangement paintable water for use in work at his/their own cost. In case they request for supply the water by the Government, recovery on this account shall be made as per ruled on gross amount of the item of the work in which is used.

- Contractor(s) shall be responsible for arrangement to get material posted his/their own cost if directed by the Executive Engineer/Assistant Engineer failing which the tested shall be arrange by the  Department and amount will be recovered from his /their bill.

- Concrete shall be mixed with mechanically operated concrete mixture with due constructions to aggregate and water ratio.

- All material shall confirm be standard specification.

- No. premium shall be allowed on non-schedule item/offer rates.

- Only Ran Pathani Dhabeji for sand and Mangopir for crush querry or equivalent approved by the competent authority shall be used in aggregate mortar and concrete.

- It may please be noted that where over nomenclature or any item is not elaborated or not clear or any typographical error occurs in the schedule for the tender it should be read strictly as per composite schedule of rates 2012.

- All buildings debris and surplus staff not required for use in the connection shall be removed from the site & suitable disposal off by the contractor for which he extra cost of cartage shall be paid.

| CONTRACTOR. | ASSISTANT ENGINEER, PROVINCIAL BUILDINGS SUB DIVN VI, KARACHI | EXECUTIVE ENGINEER, PROVINCIAL BUILDINGS DIVISION II, KARACHI |
| --- | --- | --- |