## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.79 SINDH SECRETARIAT BLOCK 4-B KARACHI OFFICE OF THE PROVINCIAL COORDINATOR SOCIAL WELFARE DEPARTMENT GOVERNEMENT OF SINDH KARACHI
' SCHEDULE B'
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 5081.05 | Sft | 226 | / | 88 | % Sft | 11528 | /-
2 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 114.15 | Sft | 1160 | / | 6 | % Sft | 1324 | /-
3 | Distempering (c) Three Coats.(S.I.24(C)/54) |  | 1947.91 | Sft | 1043 | / | 90 | % Sft | 20334 | /-
4 | Preparing the surface and painting with matt
finish paint of approved make to old finish
surface. 2nd and subsequent coat.
| (S.I.37(a+b+b)/55) |  | 5410.61 | Sft | 2717 | / | 0 | % Sft | 147006 | /-
5 | French Polishing Complete (b) On Old Work
| (S.I.No.7-b/P-51) |  | 632.35 | Sft | 1952 | / | 50 | % Sft | 12347 | /-
[8 empty] | Part A(i)Total | 192539 | /-
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 16”x16”
or 18”x18”x1/4 as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 1496.14 | Sft |  | / | 0 | P.Sft |  | /-
[8 empty] | Part "A-ii" NSI)Total |  | /-
Part B-i Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 15 | No | 1130 | / | 0 | P.Point | 16950 | /-
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 6 | Nos | 985 | / | 0 | P.Point | 5910 | /-
3 | P/F Brass Battern Holder
| (S.I.No.232/70) |  | 10 | Nos | 70 | / | 0 | Each | 700 | /-
[8 empty] | Part C(i)Total | 23560 | /-
PART - B Electric Item
(ii) Non Schedule Item
1 | P/F Tube Light 20 watts 2'0 long best
| quality etc complete |  | 4 | Nos |  | / | 0 | Each |  | /-
2 | P/F Tube Light Rod 4'-0 long 40 watts
| etc complete |  | 8 | Nos |  | / | 0 | Each |  | /-
3 | Providing & fixing Energy saver 18 to 24
| approved quality etc complete. |  | 10 | Nos |  | / | 0 | Each |  | /-
4 | P/F Choke 40 watts for 4'0 long Rod
| etc complete |  | 8 | Nos |  | / | 0 | Each |  | /-
5 | Providing & fixing bracket Fan
| “Pak/Royal” make i/c necessary connection |  | 2 | Nos |  | / | 0 | Each |  | /-
6 | Providing & fixing fancy type 3-pin 5amps S.P plug
socket switch with shoe unit imported quality
with board as approved by the Engineer
In charge i/c necessary connection &
| recessed in the wall etc. |  | 6 | Nos |  | / | 0 | Each |  | /-
[8 empty] | Part "C-ii" NSI)Total |  | /-
TERMS AND CONDITIONS:
1. Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 01-07-2012 as approved by the standing rates committee Sindh, Karachi.
2. 100% well graded trushed bajri shall be used in item of RCC 1:2:4.
3. Water shall be arranged by the contractor at site of work without any extra payment.
4. No premium shall be paid on non – Schedule Items.
5. No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.
6. C.C. Block shall be machine made.
7. All RCC/CC cast in situ shall be mechanically viberated.
8. Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9. All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by
10. the contractors for which no extra cartages shall be paid.
11. The work will be carried out as per PWD Specifications.
| CONTRACTOR |  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  |  | Provincial Building Sub-Division No.VII |  |  |  |  | Provincial Building DivII
|  |  |  | Karachi. |  |  |  |  | Karachi.