## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.87 SINDH SECRETARIAT BLOCK 4-B KARACHI OFFICE OF THE HONOURABLE MINISTER TRANSPORT.
' SCHEDULE B'
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Dismantling glazed or encaustic tiles.
| (S.I.No.55/P-13) |  | 227 | Sft | 786 | / | 50 | % Sft | 1785 | /-
2 | Providing and laying tiles glazed 6"x6"x
1/4" on floor or wall facing in required colour
and pattern of STILE specification jointed in
white cement and pigment over a base of 1:2
grey cement mortor 3/4" thick i/c washing and filling
of joints with slaurry of white cement and
pigment in desire shade with finishing,
cleaning and cost of wax polish etc
complete i/c cutting tiles toproper profile.
| (S.I No.60 P-47 |  | 227 | Sft | 30509 | / | 77 | %Sft | 69257 | /-
3 | Providing & fixing with jute felt paper
of 60 lbs over roof i/c claning of roof
with wire brush and removing dust, applying
bitumen coat at the rate of 34 lbs per % sft
as premix inter coats and then laying felt paper
with 10 % over laps then applying and s
spreading hill sand at the rate of 1 cft per
100 sft the cost also i/c necessary fire
material , kerosene oil wood etc.
| (S.I.No.42/P-39) |  | 2024 | Sft | 106 | / | 73 | P.Sft | 216022 | /-
4 | Scraping ordinary distemper or paint on
| (S.I.No.54(b)P-13) |  | 1997.56 | Sft | 226 | / | 88 | % Sft | 4532 | /-
5 | Preparing the surface and painting with matt
finish paint of approved make to old finish
surface. 2nd and subsequent coat.
| (S.I.37(a+b+b)/55) |  | 1286.56 | Sft | 2717 | / | 0 | % Sft | 34956 | /-
6 | Distempering (c) Three Coats.(S.I.24(C)/54) |  | 834 | Sft | 1043 | / | 90 | % Sft | 8706 | /-
7 | Painting Old Surfaces painting doors and
Windows any type. Each subsequent coat.
| (S.I.No.4-c/i+ii/P-68) |  | 231 | Sft | 1160 | / | 6 | % Sft | 2680 | /-
8 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
wood frames of 1 3/4" thick commercial
ply veener shutters of 1st class veneer
skeleton (H ollow) and commercial ply wood
(3 ply) on both sides making and fixing
frames for door & windows (b)deodar
| wood. (S.I.No.9/58 - 25-b/P-68) |  | 52.08 | Sft | 856 | / | 53 | P.Sft | 44608 | /-
[8 empty] | Part A(i)Total | 382546 | /-
[8 empty] | Below % on S.I.2 & 8 Total |  | /-
[8 empty] | SI) Total |  | /-
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 16”x16”
or 18”x18”x1/4 as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 906.2 | Sft |  |  |  | P.Sft | 0 | /-
2 | Providing and fixing wall paper of imported
make of approved shade/colour/paint as approved by the
competent authority fixed with glue, preparing smooth
| the surface with plaster of paris/ chaisel. |  | 798 | Sft |  |  |  | P.Sft |  | /-
[8 empty] | Part "A-ii" NSI)Total |  | /-
Part (B) W/S & S/F
(i) Schedule Item
1 | Providing and fixing European type White
glazed earthen ware wash down w.c pan
complete with and i/c the cost of white/
black plastic seat (Best quality) and lid with
C.P brass hinges and buffers, 3 gallons
white glazed earthen ware low level flushing
cistern with siphon fitting 1 1/2" dia white
procelain enameled flush bend ¾” dia and
making requisite number of holes in walls, plinth
and floor for pipe connections and making
good in cement concrete 1:2:4 (Foreign quality.)
| (S.I.No.5/P-2) |  | 1 | No | 11477 | / | 40 | Each | 11477 | /-
2 | Providing & fixing squating type white
glazed earthen ware w.c pan with i/c
the cost of flushing cistern with internal
fitting and flush pipe with bend & making
requisite number of holes in walls plinth
& floor for pipe connection & making
good in cement concrete 1:2:4,
(ii) with 4" dia white glazed earthen ware
| trap & plastic thumble. (S.I.No.1(ii)/P-1) |  | 1 | No | 5088 | / | 20 | Each | 5088 | /-
3 | Providing & fixing 24" x 18" lavatory basin in
white glazed earthen ware complete with &
I/c the cost of W.I or C.I cantilever brackets
6 inches built into wall, painted white in two
coast after a primary coat of red lead paint, a
pair of 1/2" dia rubber plug & chrome plate
brass chain 1-1/4" dia malloable iron or c.P
brass traps malloable iron or brass unions and
making requisite number of holes in walls,
plinth & floor for pipe connection and making
good in cement concrete 1: 2: 4 (Standard pattern).
| (S.I.No.10 P-3) |  | 1 | No | 4928 | / | 70 | Each | 4929 | /-
4 | P/Fixing 6" x 2" or 6" x 3" C.I floor trap
of the approved selt cleaning design with
a C.I screwed down gratting with or
without a vent arm complete with
i/c making requsite number of holes in
walls plinth & floor for pipe connection
& making good cement concrete
| (S.I.No.20/P-6 |  | 1 | No | 2042 | / | 43 | Each | 2042 | /-
5 | S/Fixing long bib- cock of superir quality
| with c.p head 1/2" dia. (S.I.No. 13-a P-19) |  | 2 | Nos | 1109 | / | 46 | Each | 2219 | /-
6 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 1 | No | 3432 | / | 0 | Each | 3432 | /-
7 | S/F concealed Tee stop cock
of superior quality with c.p head 1/2" dia
| S.I.No.12(a)/P-18 |  | 2 | No | 889 | / | 46 | Each | 1779 | /-
[5 empty] | Total W/S & S/f |  |  |  | 30966 | /-
[5 empty] | % Above |  |  |  |  | /-
[5 empty] | Total W/S & S/f |  |  |  |  | /-
Part B-II W/S & S/F Non-Schedule Item
1 | Providing & fixing UPVC soil and
vent pipe of Pak Arab make of approved
quality on wall upto height of 50' ft with plant
i/c clamps paid separately This rate including
including making joints with UPVC fitting
by using approved pest solution (A.G.M)
make etc complete as per instrution of
engineer incharge includes all cost of labour
material cartage scafolding etc complete.
| 4" dia |  | 30 | Rft |  |  |  | P.Rft |  | /-
| 3/4" dia |  | 26 | Rft |  |  |  | P.Rft |  | /-
| 1/2" dia |  | 31 | Rft |  |  |  | P.Rft |  | /-
2 | Providing & fixing UPVC fitting
of pak arab of approved quality on
on wall upto 50 ft with plastic clamp paid
separately this also i/c cutting making
jointing with switch pest with special
approved quality i/c all cost of labour
etc complete.
etc complete.
| 4" dia Plug Tee |  | 2 | No |  |  |  | Each |  | /-
| 4" dia Plain Bend |  | 2 | No |  |  |  | Each |  | /-
| 4" dia Cowel |  | 2 | No |  |  |  | Each |  | /-
[5 empty] | Total W/S & S/F NSI |  |  |  |  | /-
Part C Electric Work Schedule Item
1 | Wiring for light or fan point with 3/.029 PVC
insulated wire in 20mm (3/4”) PVC conduit
| wall or coloumns as required. (S.I.124/15) |  | 4 | No | 1130 | / | 0 | P.Point | 4520 | /-
2 | Wiring for plug Point with 3/.029 PVC insulated wire
in 20mm 3/4" PVC conduit recessed in wall or
| column as required.(S.I.No.125/P-15) |  | 2 | Nos | 980 | / | 0 | P.Point | 1960 | /-
3 | P/F Brass Battern Holder
| (S.I.No.232/70) |  | 7 | Nos | 70 | / | 0 | Each | 490 | /-
[8 empty] | Part C(i)Total | 6970 | /-
PART - C Electric Item
(ii) Non Schedule Item
1 | Providing & fixing False ceiling light imported
quality i/c necessary connection & fixing
| on ceiling etc complete. |  | 10 | Nos |  |  |  | Each |  | /-
3 | Providing & fixing Energy saver 18 to 24
| approved quality etc complete. |  | 7 | Nos |  |  |  | Each |  | /-
[8 empty] | Part "C-ii" NSI)Total |  | /-
TERMS AND CONDITIONS:
1. Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 01-07-2012 as approved by the standing rates committee Sindh, Karachi.
2. 100% well graded trushed bajri shall be used in item of RCC 1:2:4.
3. Water shall be arranged by the contractor at site of work without any extra payment.
4. No premium shall be paid on non – Schedule Items.
5. No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.
6. C.C. Block shall be machine made.
7. All RCC/CC cast in situ shall be mechanically viberated.
8. Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9. All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by
10. the contractors for which no extra cartages shall be paid.
11. The work will be carried out as per PWD Specifications.
| CONTRACTOR |  |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  |  | Provincial Building Sub-Division No.VII |  |  |  |  | Provincial Building DivII
|  |  |  | Karachi. |  |  |  |  | Karachi.