## (Abs)
NAME OF WORK => |  | M/R TO BARRACK NO.93 @ SINDH SECRETARIAT NO. 4-B KARACHI. (OFFICE OF THE MINISTER YOUTH AFFAIRS)
' SCHEDULE B'
S.NO. | ITEM OF WORK. |  | Quantity |  | Rate. |  |  | Unit. | Amount.
PART (A) Civil Work)
(i) Schedule Item
1 | Supplying & fixing in Position Aluminum
channels framing for sliding windows &
ventilators of Alcop made with 5mm thick
tinted glass glazing(Belgium) etc complete.
| Deluxe model (Bronze).(S.I.84(b)/108) |  | 48 | Sft | 1449 | / | 69 | P.Sft | 69585 | /-
2 | Preparing the surface & painting with matt finsih
paint of approved make to old matt finish surface.
| With three cots. (S.I.No. 36 -a+b+b P-55) |  | 1376 | Sft | 1772 | / | 38 | % Sft | 24388 | /-
3 | Painting old surfaces:- preparing surface
and painting of doors and windows any type,
(including edges). With two cots.
| (S.I.No. 4-c-i+ii P-68). |  | 350 | Sft | 1160 | / | 6 | %Sft. | 4060 | /-
4 | P/F G.I frames / choukhats of size
7" x 2" or 41/2" x 3" for door using 20
guage G.I sheet i/c welded hinges and
fixing at site with necessary hold fasts
filling with cement sand slurry of ratio 1:6
and repairing the jambs the cost also
i/c all carraige tools and plants used in
| making & fixing. (S.I.No.29/P-93) |  | 17 | Rft | 228 | / | 90 | P.Rft | 3891 | /-
5 | Providing & fixing inposition doors
windows & ventilators of 1st class deodar
wood frames of 1 3/4" thick commercial
ply veener shutters of 1st class veneer
skeleton (H ollow) and commercial ply wood
(3 ply) on both sides making and fixing
frames for door & windows (b)deodar
| wood. (S.I.No.9/58 - 25-b/P-68) |  | 52.5 | Sft | 856 | / | 53 | P.Sft | 44968 | /-
[8 empty] | Part A(i)Total | 146892 | /-
|  |  |  | Above / Below | [5 empty] | /-
[8 empty] | SI) Total |  | /-
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 16”x16”
or 24”x24”x1/4 as approved sizes specified
approved quality make design and colour in/c
Jointing in White Cement in/c. Washing of
tiles and filling of joints with Slurry of white
white cement in desired shape with finishing
in/c. cutting of tiles to proper profile i/c
all respect labour and necessary required
material as directed by the Engineer In charge
| etc complete. |  | 1217.25 | Sft |  |  |  | P.Sft |  | /-
2 | Providing & fixing flase ceiling of Gypsum
Fibre baord in/c frame work of aluminum
double channel section hanged with nails,
| hooks wire to ceiling etc as directed by E.E |  | 290 | Sft |  |  |  | P.Sft |  | /-
[8 empty] | Part "A-ii" NSI)Total |  | /-
PART - B Electric Item
(ii) Non Schedule Item
1 | Providing & fixing Spot/LED Light
imported quality i/c necessary conn:
| and fixing on wall/ceiling etc complete. |  | 28 | Nos |  |  |  | Each | 0 | /-
[8 empty] | Part "B" NSI)Total |  | /-
PART - C Sanitary Item
Schedule Item
1 | Supplying & fixing Bath room accessories
set (7 pieces i/c towel rod, brush holder,
soap tray, shelf of approved design i/c
cost of screws, nuts etc complete.
| (Master Brand) (S.I.23/19) |  | 1 | Nos | 10322 | / | 40 | Each | 10322 | /-
2 | S/Fixing long bib- cock of superir quality
| with 1/2" dia. (S.I.No. 13-b/P-19) |  | 1 | Nos | 1109 | / | 46 | Each | 1109 | /-
3 | Supplying & fixing C.P muslim shower
with crystal head etc complete.
| (S.I.No.19(b)/P-19) |  | 1 | No | 3432 | / | 0 | Each | 3432 | /-
4 | Providing & fixing in position nylon connection complete
with ½” dia brass stop cock with pair of brass nuts and
| lining joints to nylon connection. (S.I.23/6) |  | 1 | No | 447 | / | 15 | Each | 447 | /-
5 | Supplying & fixing Swan type piller cock of superior
| quality with crystal head ½” dia.(S.I.No.16(b)/P-19) |  | 1 | No | 887 | / | 80 | Each | 888 | /-
[8 empty] | PART "C" SI TOTAL | 16198 | /-
PART - C Sanitary Item
(ii) Non Schedule Item
1 | Providing & fixing earthen ware wash down W.C
pan (Porta USA) complete with and including the cost
of plastic seat and lid with C.P brass hinges and
buffers 1-gallon earthen ware low level flushing cistern
including making required no. of holes in wall complete
and floor for pipe connection and making good in C.C 1:2:4
| as per instruction by Engineer Incharge. |  | 1 | No |  |  |  | Each |  | /-
[8 empty] | Part "C" NSI)Total |  | /-
TERMS AND CONDITIONS:
1. Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 01-07-2012 as approved by the standing rates committee Sindh, Karachi.
2. 100% well graded trushed bajri shall be used in item of RCC 1:2:4.
3. Water shall be arranged by the contractor at site of work without any extra payment.
4. No premium shall be paid on non – Schedule Items.
5. No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.
6. C.C. Block shall be machine made.
7. All RCC/CC cast in situ shall be mechanically viberated.
8. Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.
9. All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by
10. the contractors for which no extra cartages shall be paid.
11. The work will be carried out as per PWD Specifications.
| CONTRACTOR |  | ASSISTANT ENGINEER |  |  |  |  | EXECUTIVE ENGINEER
|  |  | Provincial Building Sub-Division No.VII |  |  |  | Provincial Building Division II
|  |  | Karachi. |  |  |  |  | Karachi.

## Mes
NAME OF WORK:- |  | M/R TO BARRACK NO.93 @ SINDH SECRETARIAT NO. 4-B KARACHI. (OFFICE OF THE MINISTER YOUTH AFFAIRS)
MEASUREMENT SHEET.
S.No. | Description of Item |  |  | NO. L. B. D. |  | Quantity
PART (A) Civil Work)
(i) Schedule Item
1 | Supplying & fixing in Position Aluminum
channels framing for sliding windows &
|  |  | 4x3.0x4.0 |  |  | 48 | Sft
2 | Preparing the surace painting with matte finish
|  |  | 2x2x(20.0+20.0)x10.0 |  |  | 1600 | Sft
Deduction:
|  |  | 4x2x4.0x7.0 |  |  | 224 | Sft
[6 empty] | 1376 | Sft
3 | Preparing the surface painting door windows
| Doors |  | 4x2x4.0x7.0 |  |  | 224 | Sft
| Doors |  | 3x2x3.0x7.0 |  |  | 126 | Sft
[6 empty] | 350 | Sft
4 | P/F G.I Chowkaht
| Room |  | 1x3.00+7.00+7.00 |  |  | 17 | Rft
[6 empty] | 17 | Rft
5 | P/F 1st Class Deoadr Wood Shutter
| Room |  | 2x3.75x7.00 |  |  | 52.5 | Sft
[6 empty] | 52.5 | Sft
Part (A) Civil Work
(ii) Non Schedule Item
1 | Providing & Fixing Porcelain Tiles 16”x16”
or 24”x24”x1/4 as approved sizes specified
| Room |  | 2x20.0x20.0 |  |  | 800 | Sft
| Ver |  | 1x40.0x7.25 |  |  | 290 | Sft
| Skirting |  | 2x2(20+20)x0.50 |  |  | 80 | Sft
| Ver |  | 1x2(40+7.25)x0.50 |  |  | 47.25 | Sft
[6 empty] | 1217.25 | Sft
2 | Providing & fixing flase ceiling of Gypsum
Fibre baord in/c frame work of aluminum
| Ver: |  | 1x40.0x7.25 |  |  | 290 | Sft
[6 empty] | 290 | Sft
PART - B Electric Item
(ii) Non Schedule Item
1 | Providing & fixing Spot/LED Light
imported quality i/c necessary conn:
| Room |  | 1x16 |  |  | 16 | Nos
| Ver |  | 1x12 |  |  | 12 | Nos
[6 empty] | 28 | Nos
PART - C Sanitary Item
Schedule Item
1 | Supplying & fixing Bath room accessories
set (7 pieces i/c towel rod, brush holder,
|  |  | 1 x 1 |  |  | 1 | No
2 | S/Fixing long bib- cock of superir quality
| with 1/2" dia. (S.I.No. 13-b/P-19) |  | 1 x 1 |  |  | 1 | No
3 | Supplying & fixing C.P muslim shower
| with crystal head etc complete. |  | 1 x 1 |  |  | 1 | No
4 | Providing & fixing in position nylon connection
| with ½” dia brass stop cock with |  | 1 x 1 |  |  | 1 | No
5 | Supplying & fixing Swan type piller cock of
| uality with crystal head ½” dia |  | 1 x 1 |  |  | 1 | No
PART - C Sanitary Item
(ii) Non Schedule Item
1 | Providing & fixing earthen ware wash down
| w.c pan (Porta USA) complete |  | 1 x 1 |  |  | 1 | No
| Sub-Engineer |  |  |  | ASSISTANT ENGINEER
Provincial Building Sub-Division No.VII
Karachi.