| NAME OF WORK: | M/R TO SINDH SECRETARIAT NO. I KARACHI (FALSE CEILING, WALL PAPER, ROLLER BLINDS CEILING LIGHTS, MATT FINISH IN OFFICE OF SPECIAL SECRETARY HEALTH & 6TH FLOOR & FOCAL PERSON TO CHIEF SECRETARY 5TH FLOOR). |
| --- | --- |

“ SCHEDULE ‘B’

| S.#. | DESCRIPTION OF ITEMS. | QTY: | RATE. | UNIT. |  | AMOUNT. |
| --- | --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( ELECTRIC WORKS ) |  |  |  |  |  |
| 1 | P/L (MAIN or SUB MAIN) PVC insulated & PVC Sheeted with single core copper conductor 300/500volts size 2-7/.044) (SI 55 / P-7) | 10-Meter | 213/- | P/Meter |  | 2130/- |
|  | Rupees (Two hundred thirteen) only. |  |  |  |  |  |
| 2 | P/L (Main or Sub-Nain) PVC insulated & PVC sheeted with single core copper conductor 300/500 volts size 2-3/.029 (SI.51/P-7) | 45.00-Meter | 69/- | P/Meter |  | 3105/- |
|  | Rupees (Sixty nine ) only. |  |  |  |  |  |
|  |  | (A). Total Rs : |  |  | 5235/- |  |
|  | SCHEDULE ITEMS PART-“B” NON SCHEDULE |  |  |  |  |  |
| 1 | P/F false ceiling of Gypsum board panels of required design & size in/c frame work of aluminum T-Section hanged with nail wire to ceiling etc complete. | 464.00-Sft |  | PSft |  |  |
| 2 | Preparing the surface & fixing wall paper of required color and design in/c fixing border as required pasted to glue or solution as directed by the Engineer Incharge. | 374.53-Sft |  | PSft |  |  |
| 3 | P/F fine quality roller type blind with approved design false & in/c steel angle fixing with steel screws as per window as required @ site as directed by the Engineer Incharge. | 74.37-Sft |  | PSft |  |  |
| 4 | S/F LED spot light China make with 7 Nos lamps each 6 watts fitted on walls, ceiling of approved quality as directed by the Engineer Incharge. | 34-Nos |  | Each |  |  |
| 5 | P/F false ceiling spot light fancy type round shape with glass and 2 holder and energy saver of approved make & quality including fixing in false ceiling by cutting hole as directed by the Engineer Incharge. | 17-Nos |  | Each |  |  |
| 6 | S/F Energy saver lamp 220 volts of approved quality (Phillips or equivalent make) fitted on wall, ceiling, & pendent upto required height in existing holder as directed by the Engineer Incharge. Energy Saver 24 watts. | 12-Nos |  | Each |  |  |
| 7 | Supplying and pasting (Frosted paper) color full plain / design pasted on glass window with glue / approved paste as directed by the Engineer Incharge. | 90.00-Sft |  | PSft |  |  |
| 8 | P/F wall bracket fan 18” dia of approved make & quality (Royal/Pak, Millat or equivalent) in/c fixing on wall as directed by the Engineer Incharge | 03-Nos |  | Each |  |  |
| 9 | Supplying and fixing flush type switch with sheet 5 to 10 amps single phase of approved quality (SO GO / Clipsal Armour series make / or Imported 01 Gang 01-Way | 12-Nos |  | Each |  |  |
| 10 | P/F multi socket 15-amps.of approved quality & make Clipsal or equivalent as directed by the Engineer Incharge | 05-Nos |  | Each |  |  |
| 11 | P/F Power Plug 15-Amp ( Imported make ) with plastic board & sheet including necessary connection. | 01-No |  | Each |  |  |
|  |  | Total Part-“B” Rs. |  |  |  |  |
|  |  | (A). Total Rs : |  |  |  |  |
|  | G. Total Part ( A + B ) Rs. |  |  |  |  |  |
|  | Say Rs. |  |  |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with                       reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-I, KARACHI. |
| --- | --- |