Name of Work:	M/R TO JACOBLINES FLAT NO. 4/1 BLOCK-S LINES AREA KARACHI.

SCHEDULE – B

PART – A	 CIVIL WORK (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Scraping Dismantling glazed or encaustic tiles etc. (S.I. 55/13). | 223.92 Sft. | 786/50 | % Sft. | 1761/- |
|  |  | (Rupees Seven Hundred Eighty Six and Fifty Paisa Only) |  |  |  |
|  | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I. 60/47). | 223.92 Sft. | 30509/77 | % Sft. | 68317/- |
|  |  | (Rupees Three Thousand Five Hundred Nine and Seventy Seven Paisa Only) |  |  |  |
|  | Scraping (b) Ordinary distemper, iol bound distemper or paint on walls. (S.I. 54-b/13). | 2223.30 Sft. | 226/88 | % Sft. | 5044/- |
|  |  | (Rupees Two Hundred Twenty Six and Eighty Eight Paisa Only) |  |  |  |
|  | Distempering (b) Two coats (S.I. 24-b/54). | 498.42 Sft. | 1043/90 | % Sft. | 5203/- |
|  |  | (Rupees One Thousand Forty Three and Ninety Paisa Only) |  |  |  |
|  | Preparing the surface & painting with matt finish paint of approved make to old matt finish surface. 2nd & subsequent coat. (S.I. 37-a+b/55). | 1846.00 Sft. | 1772/38 | % Sft. | 32718/- |
|  |  | (One Thousand Seven Hundred Seventy Two and Thirty Eight Only) |  |  |  |
|  | Painting old surfaces (c) Painting doors and windows any type (i) First coat (ii) Each subsequent coat. (S.I. 4-c (i+ii)/68). | 313.50 Sft. | 1160/06 | % Sft. | 3637/- |
|  |  | (Rupees One Thousand One Hundred Sixty and Six Paisa Only) |  |  |  |
|  | Providing and fixing in position, Doors, Windows and Ventilators of first class deodar wood frames, and 1 3/4" thick commercial , ply veneer shutters of first class deodar skeleton (Hollow ) and commercial ply wood (3 ply ) on both sides. (S.I. 9/58). (1227.36 – 370.83). | 82.0 Sft. | 856/53 | P. Sft. | 70235/- |
|  |  | (Rupees Eight Hundred Fifty Six and Fifty Three Paisa Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 186915/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – A Rs. |  |  |  |  |  |

PART – B	Water Supply & Sanitary Items:

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | P/F squatting type white glazed earthen ware w.c. pan with i/c. te cost of flushing cistern with internal fitting & flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1:2:4 (A) WC Pan of not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4” dia C.I. Trap (S.I. 1A/1). | 1 No. | 5044/60 | Each | 5045/- |
|  |  | (Rupees Five Thousand Forty Four and Sixty Paisa Only) |  |  |  |
|  | P/F 24”x18” lavatory basin in white glazed earthen ware complete with & in/c. the cost of WI or CI cantilever brackets 6” built into walls painted white in two coats after and primary coat of red lead paint a pair of ½” dia rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or brass unions and making requisite number of holes in wall plinth & floor for pipe connections and making good in cement concrete 1:2:4: (Foreign or Equivalent). | 1 No. | 4928/70 | Each | 4929/- |
|  |  | (Rupees Four Thousand Nine Hundred Twenty Eight and Seventy Paisa Only) |  |  |  |
|  | Supplying & fixing fibre glass tank of approved quality and design and wall thickness as specified I/c cost of nuts, bolts and fixing in platform of cement concrete 1: 3: 6 and making connections for in -let ,& ou-let & over flow pipes etc. complete. (a) 250 gallons wall thickness 3.5 mm (S.I. 3-a/21). | 1 No. | 21989/61 | Each | 21990/- |
|  |  | (Rupees Twenty One Thousand Nine Hundred Eighty Nine and Sixty One Paisa Only) |  |  |  |
|  | S/Fixing concealed tee-stop cock of superior quality with c.p head 1/2" dia. (S.I. 12-b/18). | 3 Nos. | 889/46 | Each | 2668/- |
|  |  | (Rupees Eight Hundred Eighty Nine and Forty Six Paisa Only) |  |  |  |
|  | Providing and Fixing 6”x2” or 6”x3” C.I. floor trap of the approved self cleaning design with a C.I. screwed down grating with or without a vent arm complete with & i/c. making requisite number of holes in walls, plinth & floor for pipe connections & making good cement concrete 1:2:4 (S.I. 20/6). | 2 Nos. | 2042/43 | Each | 4085/- |
|  |  | (Rupees Two Thousand Forty Two and Forty Three Paisa Only) |  |  |  |
|  | Providing and Fixing 15”x12” beveled edge mirror of Belgium glass complete with 1/8” thick hard bound and C.P. screws fixed to wooden pleat (b) superior pattern (S.I. 4-a/7). | 1 No. | 1161/60 | Each | 1162/- |
|  |  | (Rupees One Thousand One Hundred Sixty One and Sixty Paisa Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 39875/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – B Rs. |  |  |  |  |  |

TERMS AND CONDITIONS:

- Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 12th July 2012 publication No. 52 & 54 as approved by the standing rates committee Sindh, Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4.

- Water shall be arranged by the contractor at site of work without any extra payment.

- No premium shall be paid on non – Schedule Items.

- No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C. Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically viberated.

- Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.

- All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by

- the contractors for which no extra cartages shall be paid.

- The work will be carried out as per PWD Specifications.

| CONTRACTOR | ASSISTANT ENGINEER Provincial Building Sub Division-VII Karachi | EXECUTIVE ENGINEER Provincial Building Division-II Karachi |
| --- | --- | --- |