Name of Work:	M/R TO BARRACK 17 & 18 SINDH SECRETARIAT BLOCK-4/A, KARACHI.

SCHEDULE – B

PART – A	 CIVIL WORK (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Removing door with chowkats (S.I. 33-a/2). | 1 No. | 142.18/- | P. No. | 142.18 |
|  |  | (Rupees One Hundred Forty Two and Eighteen Paisa Only) |  |  |  |
|  | Scraping (b) Ordinary distemper, iol bound distemper or paint on walls. (S.I. 54-b/13). | 6775.67 Sft. | 226/88 | % Sft. | 15145/- |
|  |  | (Rupees Two Hundred Twenty Six and Eighty Eight Paisa Only) |  |  |  |
|  | Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface). 2nd & subsequent coat. (S.I. 36-a+b/55). | 3491.75 Sft. | 2717/- | % Sft. | 94871/- |
|  |  | (Rupees Two Thousand Seven Hundred Seventeen Only) |  |  |  |
|  | Distempering (b) Two coats (S.I. 24-b/54). | 2069.06 Sft. | 1043/90 | % Sft. | 21599/- |
|  |  | (Rupees One Thousand Forty Three and Ninety Paisa Only) |  |  |  |
|  | Providing and fixing G.I frames /Chowkhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I. 29/93). | 17.0 Sft. | 228/90 | P. Rft. | 3891/30 |
|  |  | (Rupees Two Hundred Twenty Eight and Ninety Paisa Only) |  |  |  |
|  | Providing and fixing in position, Doors, Windows and Ventilators of first class deodar wood frames, and 1 3/4" thick commercial , ply veneer shutters of first class deodar skeleton (Hollow) and commercial ply wood (3 ply) on both sides. (S.I. 9/58) without chowkat. | 21.0 Sft. | 856/53 | P. Sft. | 17987/- |
|  |  | (Rupees Eight Hundred Fifty Six and Fifty Three Paisa Only) |  |  |  |
|  | Painting old surfaces (c) Painting doors and windows any type (i) First coat (ii) Each subsequent coat. (S.I. 4-c (i+ii)/68). | 910.0 Sft. | 1160/06 | % Sft. | 10557/- |
|  |  | (Rupees One Thousand One Hundred Sixty and Six Paisa Only) |  |  |  |
|  | Painting old surfaces. (d) Painting guard bars, gates iron bars gratings , railings including standard braces (etc.) and similar open work. (I) First Coat. (ii) Each subsequent coat. (S.I. 4-d-i+ii/69) (2 Coats). | 42.00 Sft. | 674/60 | % Sft. | 283/- |
|  |  | (Rupees Seven Hundred Seventy Four and Sixty Paisa Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 164476/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – A Rs. |  |  |  |  |  |

PART – B	 Non-Schedule Items:

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | P/F Porcelain Tiles 16”x16” or 24”x24” x ¼ as approved size specified approved quality make design & colour i/c. jointing in which cement i/c. washing of tiles and filling of joints with slurry of white cement in desired shape with finishing i/c. cutting of tiles to roper profile i/c. all respect labour and necessary required material as directed by Engineer Incharge. | 92.0 Sft. |  | P. Sft. |  |
| TOTAL PART – B Rs. |  |  |  |  |  |

PART – C	 ELECTRIC WORK (Non-Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | P/F Tube light complete with 40 watt 4-0 long rod chock starter with Philips components i/c. necessary electric connection and fixing on wall / ceiling etc. complete. | 40 Nos. |  | Each |  |
|  | S/F Tube rod 220 volts fitted on existing light frame on ceiling as directed by the Engineer Incharge (a) 40 watt rod. | 18 Nos. |  | Each |  |
|  | S/F Chock of 220 volts fitted on ceiling light upto required height as directed by Engineer Incharge (a) 40 watt. | 16 Nos. |  | Each |  |
|  | P/F Energy Saver superior Quality i/c. fixing on existing holder etc. complete. | 46 Nos. |  | Each |  |
|  | P/F Bulb Holder etc. | 30 Nos. |  | Each |  |
|  | P/F Starter 220 volts fitted on ceiling light upto required height as directed by the Engineer Incharge (a) 40 watts Starter. | 25 Nos. |  | Each |  |
|  | S/F Tube Rod 220 volts fitted on existing light frame on ceiling as directed by Engineer Incharge. | 25 Nos. |  | Each |  |
|  | S/F Bracket Fan Best quality Pak Royal make with necessary electric connection & wiring etc. complete. | 6 Nos. |  | Each |  |
| TOTAL PART – C Rs. |  |  |  |  |  |

| PART – A | CIVIL WORK (Schedule Item): | Rs. |
| --- | --- | --- |
| PART – B | Non Schedule Items: | Rs. |
| PART – C | ELECTRIC WORK (Non Schedule Items): | Rs. |
| TOTAL |  | Rs. |

TERMS AND CONDITIONS:

- Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 12th July 2012 publication No. 52 & 54 as approved by the standing rates committee Sindh, Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4.

- Water shall be arranged by the contractor at site of work without any extra payment.

- No premium shall be paid on non – Schedule Items.

- No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C. Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically viberated.

- Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.

- All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by

- the contractors for which no extra cartages shall be paid.

- The work will be carried out as per PWD Specifications.

| CONTRACTOR | ASSISTANT ENGINEER Provincial Building Sub Division-VII Karachi | EXECUTIVE ENGINEER Provincial Building Division-II Karachi |
| --- | --- | --- |