Name of Work:	M/R AT BARRACK NO. 8-A (SPPRA DEPARTMENT) BARRACK SINDH SECRETARIAT BLOCK 4-A, KARACHI.

SCHEDULE – B

PART – A	 CIVIL WORK (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Scraping (b) Ordinary distemper, iol bound distemper or paint on walls. (S.I. 54-b/13). | 2251.0 Sft. | 226/88 | % Sft. | 5107/- |
|  |  | (Rupees Two Hundred Twenty Six and Eighty Eight Paisa Only) |  |  |  |
|  | Removing Cement Plaster etc. complete (S.I. 53/13). | 237.0 Sft. | 121/- | % Sft. | 287/- |
|  |  | (Rupees One Hundred Twenty One Only) |  |  |  |
|  | Cement plaster 1:4 upto 12' height. (c) 3/4" thick. (S.I. 11-c/52). | 237.0 Sft. | 3191/76 | % Sft. | 7564/- |
|  |  | (Rupees Three Thousand One Hundred Ninety One and Seventy Six Paisa Only) |  |  |  |
|  | Distempering (b) Two coats (S.I. 24-b/54). | 420.0 | 1043/90 | % Sft. | 4384/- |
|  |  | (Rupees One Thousand Forty Three and Ninety Paisa Only) |  |  |  |
|  | Preparing the surface and painting with matt finish I/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface). 2nd & subsequent coat. (S.I. 36-a+b/55). | 2344.0 | 2717/- | % Sft. | 68686/- |
|  |  | (Rupees Two Thousand Seven Hundred Seventeen Only) |  |  |  |
|  | Painting old surfaces (c) Painting doors and windows any type (i) First coat (ii) Each subsequent coat. (S.I. 4-c (i+ii)/68). | 608.0 Sft. | 1160/06 | % Sft. | 7053/- |
|  |  | (Rupees One Thousand One Hundred Sixty and Six Paisa Only) |  |  |  |
|  | Painting old surfaces. (d) Painting guard bars, gates iron bars gratings , railings including standard braces (etc.) and similar open work. (I) First Coat. (ii) Each subsequent coat. (S.I. 4-d-i+ii/69) (2 Coats). | 147.00 Sft. | 674/60 | % Sft. | 992/- |
|  |  | (Rupees Seven Hundred Seventy Four and Sixty Paisa Only) |  |  |  |
|  | Cement concrete plain i/c. placing compecting finishing and curring complete (i/c. screening and washing at stone aggregate without shuttering (i) Ratio 1:4:8 (S.I.; 5-i/16). | 208.00 Sft. | 11288.75 | % Sft | 23481/- |
|  |  | (Rupees Eleven Thousand Two Hundred Eighty Eight and Seventy Five Paisa Only) |  |  |  |
|  | Providing and Fixing Jute felt paper of 60 lbs over roof in/c. cleaning of roof with wire brush on removing dust applying bitumen coat at the rate of 34 lbs per % Sft. As premix inter coats and then laying felt paper with 10% over laps, then applying and spreading hill sand at the rate of 1 Cft. For 100 Sft. The cost also in/c. necessary fire material kerosene oil wood etc. (S.I. 42/39). | 966.0 Sft. | 106/73 | P. Sft. | 103101/- |
|  |  | (Rupees One Hundred Six and Seventy Three Paisa Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 215655/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – A Rs. |  |  |  |  |  |

PART – B	 Non-Schedule Items:

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Providing grafitto paint to wall surface to provide durable and anthestic surface having thickness between 16-20mm in specified color / shade & working upto height of 90-0’ using scaffolding as directed by Engineer Incharge. | 489.0 Sft. |  | P. Sft. |  |
|  | P/F cement paving block flooring having light red size 197x197 60mm of city guddra cobble shape with pigment having strength b/w 5000 PSI to 8500 PSI filling the joints with hill sand and laying over khakka & compacting with electric compactor etc. complete as directed by Engineer Incharge. | 416.0 Sft. |  | P. Sft. |  |
| TOTAL PART – B Rs. |  |  |  |  |  |

PART – C	 WATER SUPPLY & FITTING (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | S/F in position brass bib cock (b) ½” dia brass bib cock standard patterns (S.I. 1-b/16). | 4 Nos. | 337/92 | Each | 1352/- |
|  |  | (Rupees Three Hundred Thirty Seven and Ninety Two Paisa Only) |  |  |  |
|  | P/F 15”x12” beveled edge mirror of Belgium glass complete with 1/8” thick hard board & CP screws fixed to wooden pleat (b) superior pattern (S.I. 4-b/7). | 2 Nos. | 2047.76 | Each | 4096/- |
|  |  | (Rupees Two Thousand Forty Seven & Seventy Six Paisa Only) |  |  |  |
|  | P/F Handle Valve (China) (i) ½” dia (S.I. 5-i/17) | 2 Nos. | 200/42 | Each | 401/- |
|  |  | (Rupees Two Hundred Forty Two Paisa Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 52344/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – C Rs. |  |  |  |  |  |

PART – D	 ELECTRIC WORK  (Non Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F Energy Saver Superior quality i/c fixing on existing holder etc complete. | 24-Nos |  | Each |  |
| 2 | P/F False Ceiling spot light fancy type round shape with glass 2 holder and energy saver of approved make & quality i/c fixing in false ceiling by cutting holeas directed by the E.ngineer incharge. | 18-Nos |  | Each |  |
| 3 | P/F Bulb Holder as required. | 12-Nos |  | Each |  |
| TOTAL RS. |  |  |  |  | 52344/- |

| PART – A | CIVIL WORK (Schedule Item): | Rs. |
| --- | --- | --- |
| PART – B | Non Schedule Items: | Rs. |
| PART – C | W/S & S/F (Schedule Item): | Rs. |
| PART-D | ELECTRIC WORK Non Schedule Item | Rs. |
| TOTAL |  | Rs. |

TERMS AND CONDITIONS:

- Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 12th July 2012 publication No. 52 & 54 as approved by the standing rates committee Sindh, Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4.

- Water shall be arranged by the contractor at site of work without any extra payment.

- No premium shall be paid on non – Schedule Items.

- No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C. Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically viberated.

- Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.

- All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by

- the contractors for which no extra cartages shall be paid.

- The work will be carried out as per PWD Specifications.

| CONTRACTOR | ASSISTANT ENGINEER Provincial Building Sub Division-VII Karachi | EXECUTIVE ENGINEER Provincial Building Division-II Karachi |
| --- | --- | --- |