Name of Work:	M/R TO SINDH SERVICES HOSPITAL KARACHI GOVERNMENT OF SINDH KARACHI (ELECTRIC WORK)

SCHEDULE – B

PART – A	 ELECTRIC WORK (Schedule Item):

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.I. 124/15). | 50 Nos. | 1130/- | P. Point | 56500/- |
|  |  | (Rupees One Thousand One Hundred Thirty Only) |  |  |  |
|  | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.I. 126/15). | 19 Points | 985/- | P. Point | 18715/- |
|  |  | (Rupees Nine Hundred Eighty Five Only) |  |  |  |
|  | P/F (Main or Sub Main) PVC insulated wire size 2-7/.029 copper conductor in ¾” dia PVC conduit (S.I. 10/2). | 285 Mtr. | 222/- | P. Mtr. | 63270/- |
|  |  | (Rupees Two Hundred Twenty Two Only) |  |  |  |
|  | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required. (S.I. 203/31). | 32 Nos. | 916/- | Each | 29312/- |
|  |  | (Rupees Nine Hundred Sixteen Only) |  |  |  |
|  | Providing & fixing circuit breaker 3,5,10,15,20, & 30amp TP (XS-30NS (NB) on prepared board as required. (S.I. 205/31). | 13 Nos. | 5301/- | Each | 68913/- |
|  |  | (Rupees Five Thousand Three Hundred One Only) |  |  |  |
|  | Providing & fixing ammeters size 96/96mm direct 15A, 30A, 50A, 60A, 100A as required & as per instruction of E.I. (S.I. 284/41). | 3 Nos. | 1054/- | Each | 3162/- |
|  |  | (Rupees One Thousand Fifty Four Only) |  |  |  |
|  | Providing & fixing voltmeter size 96/96mm 500 volt as required as per instruction of E.I. (S.I. 285/41). | 3 Nos. | 999/- | Each | 2997/- |
|  |  | (Rupees Nine Hundred Ninety Nine Only) |  |  |  |
|  | Manufacturing Providing & Fixing GI Single Arm Double arch as per site requirement instruction of EI with following specification GI pipe 2” dia 10 SWG 5” long 2 Nos. MS clamps with nuts & Bolts (S.I. 143/21). | 3 Nos. | 1546/- | Each | 4638/- |
|  |  | (Rupees One Thousand Five Hundred Forty Six Only) |  |  |  |
|  | P/F of Street light 250 watts (SON) having IP 54 classification with 250W lamp choke, capacitor & internal wiring complete in all respect at the height with the help of hydraulic at the height upto 31 ft as per site requirement aqnd inst. Of E.I. (S.I. 161/25). | 3 Nos. | 10105/- | Each | 30315/- |
|  |  | (Rupees Ten Thousand One Hundred Five Only) |  |  |  |
| TOTAL RS. |  |  |  |  | 275820/- |
| Add / Deduct Premium / Below Rs. |  |  |  |  |  |
| TOTAL PART – A Rs. |  |  |  |  |  |

PART – B	Non Schedule Items:

| S/No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
|  | Providing and Fixing One way 5 amp switch flush type. | 56 Nos. |  | Each |  |
|  | Providing and Fixing Three Pin 5 Amp Plug & Socket | 10 Nos. |  | Each |  |
|  | P/F Fan Dimmer best Quality as approved by Engineer Incharge | 12 Nos. |  | Each |  |
|  | P/F 2-40 Watts tube light complete with 40 watts 4”-0 long rod chock starter and putty with fluorescent component i/c. necessary electric connection & fixing on a wall or ceiling etc. as per approved by Engineer Incharge. | 30 Nos. |  | Each |  |
|  | P/F 1-40 watts single tube light complete with 40 watts 4”-0 long rod chock starter and putty with fluorescent component i/c. necessary electric connection & fixing on a wall or ceiling etc. as per approved by Engineer Incharge. | 18 Nos. |  | Each |  |
|  | Providing and Fixing ceiling fan best quality etc complete as per approved by engineer Incharge. | 8 Nos. |  | Each |  |
|  | P/F Bracket Fan Best Quality etc. complete with electric connection as directed by the Engineer Incharge. | 4 Nos. |  | Each |  |
|  | P/F Pilot Lamp for main board best quality etc. complete | 3 Nos. |  | Each |  |
|  | P/F Piston Pump 2 HP approved make as directed by Engineer Incahrge | 1 No. |  | Each |  |
|  | P/F 5 HP Motor with pump approved quality & make as directed by E.I. | 1 No. |  | Each |  |
|  | Providing & Fixing Energy Saver 18 to 24 watts approved quality etc. complete | 40 Nos. |  | Each |  |
| TOTAL PART – B Rs. |  |  |  |  |  |

| PART – A | ELECTRIC WORK (Schedule Item): | Rs. |
| --- | --- | --- |
| PART – B | ELECTRIC WORK Non Schedule Items: | Rs. |
| TOTAL |  | Rs. |

TERMS AND CONDITIONS:

- Any typographical errors in the schedule “B” are subject to correction with the reference to the schedule of rates General Item & Water Supply and Sanitary Item 2012 in force from 12th July 2012 publication No. 52 & 54 as approved by the standing rates committee Sindh, Karachi.

- 100% well graded trushed bajri shall be used in item of RCC 1:2:4.

- Water shall be arranged by the contractor at site of work without any extra payment.

- No premium shall be paid on non – Schedule Items.

- No Cartage or any items of material either supplied by the Department or arranged by the contractor shall be paid.

- C.C. Block shall be machine made.

- All RCC/CC cast in situ shall be mechanically vibrated.

- Contractor has to bring samples of the material and handed to the Engineer Incharge free of cost.

- All buildings debries & surplus stuff not req. for use and construction shall be removed from the site the suitable disposal off by

- the contractors for which no extra cartages shall be paid.

- The work will be carried out as per PWD Specifications.

| CONTRACTOR | ASSISTANT ENGINEER Provincial Building Sub Division-VII Karachi | EXECUTIVE ENGINEER Provincial Building Division-II Karachi |
| --- | --- | --- |