| NAME OF WORK :- | M/R TO SINDH SECRETRIAT BUILDING NO-II (TUGHLAQ HOUSE) KARACHI. (RENOVATION OF GENERAL BATH ROOM @ 3RD FLOOR PETROL PUMP SIDE WITH SEWERAGE PIPE ) |
| --- | --- |

“ SCHEDULE ‘’B’  “

| S.# | DESCRIPTION OF ITEMS. | QTY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |
|  | Part (A). Schedule Items (Civil Works) |  |  |  |  |
| 1 | Dismantling glazed or encaustic tiles etc (SI.55/P-13 ). | 904.00 Sft | 786/50 | %Sft | 7109/- |
|  | Rupees. Seven hundred eighty six. And. Fifty. Paisa |  |  |  |  |
| 2 | Dismantling cement block masonry ( SI.14 / P-10 ). | 105.00 Sft | 1134/38 | %Sft | 1191/- |
|  | Rupees. One thousand one hundred thirty four. And. Thirty eight. Paisa |  |  |  |  |
| 3 | Providing and laying 1: 3: 6 Cement concrete solid Block masonry wall above 6” in thickness set in 1: 6 cement mortar in G.F ground floor superstructure including raking out joints & curing etc. complete. ( SI.23 / P-19 ). | 120.00 Cft | 14621/44 | %Cft | 17546/- |
|  | Rupees. Fourteen thousand six hundred twenty one. And. Forty four. Paisa |  |  |  |  |
| 4 | Cement plaster 1:4 upto 12” height (d) 3/4" thick (only for block masonry work ) ( SI.11-d / P-52 ). | 1469.25 Sft. | 3191/76 | %Sft | 46895/- |
|  | Rupees. Three thousand one hundred ninety one. And. Seventy six. Paisa |  |  |  |  |
| 5 | Providing and fixing G.I frames /Chowkats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet in/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also in/c all carriage , tools and plants used in making and fixing. ( SI.29/P-93 ). | 118.00 Rft | 228/90 | P.Rft | 27010/- |
|  | Rupees. Two hundred twenty eight. And. Ninety. Paisa |  |  |  |  |
| 6 | Providing and fixing in position doors, windows and ventilators of 1st class deodar wood frames and 1-1/2” thick Teak wood ply shutters of 2nd class deodar wood skeleton ( solid ) styles and rails core of partal wood and commercial ply wood ( 3-Ply ) on both side in/c hold fasts, hinges, Iron tower blots, handles and cleats with cord etc complete. ( SI.58 / P-65 ) – ( SI.25-b / P-61 ) Rs.1077/06 ( - ) Rs.370/83 = 706/23 | 140.00 Sft | 706/23 | P.Sft | 98872/- |
|  | Rupees. Seven hundred & six. And. Twenty three. Paisa |  |  |  |  |
| 7 | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. ( SI.60/P-47 ). | 1071.00 Sft | 30509/77 | %Sft | 326760/- |
|  | Rupees. Thirty thousand five hundred & nine. And. Seventy seven. Paisa |  |  |  |  |
| 8 | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 1094.00 Sft | 226/88 | %Sft | 2482/- |
|  | Rupees. Two hundred twenty six. And. Eighty. Eight. Paisa |  |  |  |  |
| 9 | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 1094.00 Sft | 1772/38 | %Sft | 19389/- |
|  | Rupees. One hundred seven hundred seventy two. And. Thirty eight. Paisa |  |  |  |  |
| 10 | Distempering ( b ) Two Coats ( SI.24-b / P-54 ). | 623.00 Sft | 1043/90 | %Sft | 6503/- |
|  | Rupees. One thousand & forty three. And. Ninety paisa |  |  |  |  |
| 11 | Painting new surfaces( c ). Preparing surface and painting of doors and Windows any type, ( including edges ). ( i ) Priming coat. ( ii ) Each subsequent coat of paint.( SI.5c-i / P-70 ) + ( SI.5c-ii / P-70 ) | 560.00 Sft | 2116/41 | %Sft | 11852/- |
|  | Rupees. Two thousand one hundred sixteen. And. Forty one. Paisa |  |  |  |  |
|  |  | Total Rs. |  |  | 565609 |
|  | Deduct % below on Item No. 6 & 7 (-) Rs. |  |  |  |  |
|  |  | (A). Total Rs. |  |  |  |
|  | Part (B). Non Schedule Items |  |  |  |  |
| 1 | P/F U.PVC soil and vent pipe 4” dia of AGM or Pak Arab make schedule SDR- 41(B) pipe without fittings which will be paid separately. This includes fixing on walls with clamps or Jubilee clips upto height of in vertical or horizontal position using Jhoola or long ladder or scaffolding and jointing pipe & fittings with approved cement solvent / JTG solution. The rate includes all cost of labour, material, and cartage, as directed by Engineer Incharge. | 73.00 Rft. |  | P/Rft. |  |
| 2 | P/F U.PVC fittings of schedule 40(E) ASTM –D-1785 Standard (AGM or Pak Arab make) with the cost of breaking through walls and roof in/c jointing with PVC solvent/JTG solution and fixing at any height/floor using Jhoola or long ladder or scaffolding in horizontal or vertical position as directed by the Engineer Incharge . |  |  |  |  |
| a. | 4” dia Socket | 09 Nos |  | Each |  |
| b. | 4” dia Plain Tee | 08 Nos |  | Each |  |
| c. | 4” dia Plain Elbow 90/45 Degree | 05 Nos |  | Each |  |
| d. | 4” dia Plug elbow | 05 Nos |  | Each |  |
| e. | 4” dia Wye 45 degree /Plug Tee | 08 Nos |  | Each |  |
| f. | 4” dia Double Wye 45 Degree / Double Tee | 04 Nos |  | Each |  |
| g. | 4” dia Jubilee Clips | 10 Nos |  | Each |  |
| h. | 4” dia cowl / Terminal Guard | 06 Nos |  | Each |  |
| i. | 4” dia P- Trap | 07 Nos |  | Each |  |
| 3 | P/F UPVC floor trap jali or top tile size 6”x 6”of approved color & design as directed by the Engineer Incharge. | 08 Nos |  | Each |  |
| 4 | P/F UPVC thumble 4” dia of approved quality & make as directed by the Engineer Incharge. | 08 Nos |  | Each |  |
| 5 | P/F GI pipe of IIL (L) or equivalent with fittings of TG or equivalent recessed in wall or columns in/c cutting pipe, the threading,, fixing and wrapping bitumen tape all around and making required No. of holes in wall, floor or plinth for pipe connection and making good in CC 1:2:4 as directed by Engineer Incharge., |  |  |  |  |
| (a) | 3/4" dia pipe with fitting | 85.00 Rft |  | P/Rft |  |
| (b) | 1/2" dia pipe with fitting | 90.00 Rft |  | P/Rft |  |
| 6 | Providing & Fixing G.I Gate Valve Heavy of approved quality & make as directed by the Engineer Incharge. |  |  |  |  |
| (a) | 1/2" dia Gate valve | 01 No |  | Each. |  |
| (b) | 3/4" dia Gate valve | 01 No |  | Each. |  |
| 7 | P/F white/colored glazed earthen ware quatting/Indian type W.C pan of not less than 23” (ACL make or equivalent) with low level flush tank (Push button type) having capacity of 3.0 gallon in/c necessary lead connection with pipe & bend etc making requisite number of holes in wall, plinth & floor for pipe connection and making good in c.c. 1:2:4 as per instruction of the Engineer Incharge. . | 04 Nos |  | Each |  |
| 8 | Providing and fixing White or colored glazed earthen ware Vanity Basin (Asif local or equivalent ) Standard size including cutting of marble top fixed with paste or Jelly with fine finishing etc. complete as directed by Engineer Incharge. | 02 Nos | 5300/- | Each |  |
| 9 | P/F marble top 1” thick (botesina or teravera or equivalent) having size upto 8’-0x2’-0 in/c cutting into proper size, making round gola & cutting for fixing vanity basin or sink bowl and filling joints with white cement or jelly in/c grinding and chemical polishing etc complete as directed by the Engineer Incharge. | 10.00 Sft |  | P/Sft |  |
| 10 | Supplying & fixing white or colored glazed earthen ware European commode set (ACL make or equivalent) coupled with flush tank of 3.0-gallon capacity & seat cover complete with internal fittings, fixtures, clamps, necessary lead connection and making requisite No of holes in wall, plinth or floor for pipe connection & making good CC 1:2:4as directed by the Engineer Incharge. | 01 No |  | Each |  |
| 11 | P/F white or colored glazed earthen ware Urinal basin 17” height (Asif Ceramics or equivalent) with 01-gallon automatic flush tank in/c necessary waste pipe, nylon connection, screws etc complete as directed by Engineer Incharge | 01 No |  | Each |  |
| 12 | P/F sanitary fitting chrome plated heavy gauge of approved quality (Sonex make/Master) fitted with completed accessories as directed by the Engineer Incharge. |  |  |  |  |
| a. | Stop Cock ½” dia | 07 Nos |  | Each |  |
| b. | Bib Cock. ½” dia | 07 Nos |  | Each |  |
| c. | Tee Cock. ½” dia | 08 Nos |  | Each |  |
| d. | Muslim shower. ½” dia. | 01 No |  | Each |  |
| 13 | P/F Double Bib Cock / Long Bib Cock 1/2” dia plastic coated A Class as directed by the Engineer Incharge. (Irfan Make) | 01 No |  | Each |  |
| 14 | S/F looking glass or mirror of Belgium or Italian make of approved quality & make in/c fixing with clips as directed by the Engineer Incharge | 10.00 Sft |  | P/Sft |  |
| 15 | Removing debries from Sindh Secretariat Buildings in/c collecting from different floors, throwing to stair to ground floor at proper place and then loading on truck and throwing out of city government premises, fuel & hire charges of truck, loading & unloading etc complete. | 01 Truck |  | P/Truck |  |
| 16 | Supplying and fixing in position Aluminum channels framing for sliding windows & ventilators of Lucky or equivalent made with 5mm thick tinted glass glazing (Belgium) and aluminum fly screen, handles, stoppers and locking arrangement etc complete. (b) Deluxe Model (Bronze of Champion color) | 16.00 Sft. |  | P/Sft. |  |
|  | Total Part (B) Rs. |  |  |  |  |
|  | Total Part (A) Rs. |  |  |  |  |
|  | G. Total Part (A + B) Rs. |  |  |  |  |
|  | Say Rs. |  |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |