| NAME OR WORK :- | M/R TO SINDH SECRETARIAT BUILDING NO- IIII (OLD KDA BUILDING) , KARACHI (ROOF TREATMENT WITH TWO COATS OF BITUMEN). |
| --- | --- |

“ SCHEDULE  ‘B’  “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORKS ) |  |  |  |  |
| 1 | Roof treatment with two coats of bitumen 80/100 penetration in/c cleaning of roof with wire brush, removing dust, applying bitumen coat at the rate of 34-lbs per %Sft in two coats & then spreading hill sand at the rate of 01-Cft for 100-Sft. The cost in/c necessary fire material, kerosene oil, wood etc & carriage from shop to site & lifting to 4th floor roof. | 17348.80 Sft. |  | P.Sft |  |
|  |  | G. Total Rs. |  |  |  |
|  |  | Say Rs. |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with                       reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-I, KARACHI. |
| --- | --- |