| NAME OR WORK :- | M/R TO SINDH SECRETARIAT NO. III (OLD KDA BUILDING) KARACHI (COLORING / PAINTING, P/F CEILING FANS, FALSE CEILING SPOT LIGHT & ELECTRIC WORK ETC AT 4TH FLOOR CORRIDOR. |
| --- | --- |

“ SCHEDULE-B “

| S.# | DESCRIPTION OF ITEMS | QTY: | RATE |  | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
|  | SCHEDULE ITEMS PART-“A” ( CIVIL WORK ) |  |  |  |  |  |
| 1. | Scraping ( b) Ordinary distemper oil bound distemper or Pain on Walls. ( SI.54-(b) / P-13 ). | 5283.27 Sft | 226/88 |  | %Sft | 11987/- |
|  | ( Rupees Two Hundred Twenty Six & Eighty Eight Paisa ) Only. |  |  |  |  |  |
| 2. | Preparing the surface and painting with matt finish paint of approved make to old matt finish ( b ). 2nd & subsequent coat. ( SI.37(A+B) / P-55 ). | 5283.27 Sft | 1772/38 |  | %Sft | 93640/- |
|  | ( Rupees Two Hundred Twenty Six & Eighty Eight Paisa ) Only. |  |  |  |  |  |
| 3. | Painting old surfaces.(c ).Painting doors and Windows any type.( i )First coat(ii ).Each subsequent coat. ( SI.4(c )(i+ii ) / P-68 ) | 1274.00 Sft | 1160/06 |  | %Sft | 14779/- |
|  | ( Rupees One Thousand One Hundred Sixty & Six Paisa ) Only. |  |  |  |  |  |
| 4. | Painting old surfaces ( d ) painting guard bars, gates iron bars gratings, railings including standard braces ( etc ) and similar open work.( i ). First Coat.Rs.371/80 ( ii ). Each subsequent coat.Rs.302/80 ( i ) + ( ii ) = Rs.674/60 ( SI.4d( i+ii ) / P-69 ). | 91.88-Sft | 674/60 |  | % Sft | 620/- |
|  | ( Rupees Six Hundred Seventy Four & Sixty Paisa ) Only. |  |  |  |  |  |
|  |  | ( A ) Total Rs. |  |  |  | 121026/- |
|  | SCHEDULE ITEM PART-“B” ( SANITARY WORK ) |  |  |  |  |  |
| 1. | P/F / erection in position tank of 1/8” thick GI sheet complete with in/c cost of (angle 1-1/4” x 1-1/4”x1/8”) iron frame CI mosquite proof required cover and frame over flow of required size holes for inlet and outlet and GI fitting for them in/c painting the tank inside with two coats bitumen and out side two coats of white zinc paint with pigment to match the color of building over a primary coat of red oxide.( SI.02 / P-21 ). | 281.25-Gallon | 95/26 |  | P.Gallon | 26792/- |
|  | ( Rupees Ninety Five & Twenty Six Paisa ) Only. |  |  |  |  |  |
|  |  |  | Total Rs. |  |  | 26792/- |
|  |  | Add: % above Rs. |  |  |  |  |
|  |  | ( B ) Total Rs. |  |  |  |  |
|  | SCHEDULE ITEMS PART ‘C’ ELECTRIC ITEM. |  |  |  |  |  |
| 1 | Providing & fixing one way SP 10 / 15amp switch surface type.( SI.218 / P-33 ). | 60-Nos | 58/- |  | P.No | 3480/- |
|  | ( Rupees Fifty Eight ) Only. |  |  |  |  |  |
|  |  | Total Part-“C” Rs. |  |  |  | 3480/- |
|  | NON-SCHEDULE ITEMS PART-“D” |  |  |  |  |  |
| 1. | P/F false ceiling spot light fancy type round shape with glass and 2 holder and energy saver of approved make & quality including fixing in false ceiling by cutting hole as directed by the Engineer Incharge. | 45-Nos |  |  | Each |  |
| 2. | P/F ceiling fan 56” sweep Pak/Royal/GFC or equivalent Deluxe model in/c carriage from shop to site of work, fixing & necessary lead connection as directed by the Engineer Incharge. | 08-Nos |  |  | Each |  |
| 3. | S/F 1-40 watts tube light with 40 watts rod, chock, starter & base fitted on wall ceiling with 23/.076 flexible wire in/c connection to ceiling rose as directed by the Engineer Incharge.(Phillips make ) or equivalent | 08-Nos |  |  | Each |  |
| 4. | P/F Flush Tank Golden make with waste pipe of approved quality as directed by the Engineer Incharge. | 02-Nos |  |  | Each |  |
| 5. | P/F sanitary fitting chrome plated heavy gauge of approved quality (Irfan or equivalent make) fitted with completed accessories as directed by the Engineer Incharge Bib Cock ½” dia | 6-Nos |  |  | Each |  |
| 6. | P/F sanitary fitting chrome plated heavy gauge of approved quality (Irfan or equivalent make) fitted with completed accessories as directed by the Engineer Incharge. Side Pillar Cock . ½” dia | 02-Nos |  |  | Each |  |
| 7. | S/F bath room accessories set (Master make) (7 pieces) in/c soap dish, looking mirror shelf tray, tower rails, paper holder etc complete. | 01-No |  |  | Each |  |
| 8. | P/F exhaust fan 8” dia size plastic / metal body in/c making hole in wall to required size in/c cutting, chiseling, & making corner with cement sand mortar 1:4 (Pak/Millet/Royal) make in/c removing dismantled material from site to out side of premises in proper place as directed by the Engineer Incharge. | 02-Nos |  |  | Each |  |
|  |  | Total Part-“D” Rs. |  |  |  |  |
|  |  | Total Part-“C” Rs. |  |  |  |  |
|  |  | Total Part-“B” Rs. |  |  |  |  |
|  |  | Total Part-“A” Rs. |  |  |  |  |
|  | G: Total Part ( A+B+C+D ) Rs. |  |  |  |  |  |
|  |  | Say Rs. |  |  |  |  |

CONDITION.

1).	Typographical errors in the schedule-“B” are the subject to the correction with reference to the schedule of rate ( Gen: Vol: III, Part-II, inforced: 2012, as approved by the standing rates committee.

2).	No Cartage will be paid on any items of works.

3).	No premium shall be paid on Non-Schedule items.

4).	Water shall be arranged by the Contractor.

CONTRACTOR.

| ASSISTANT ENGINEER PROVINCIAL BUILDINGS SUB-DIVISION-V, KARACHI. | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION-II, KARACHI. |
| --- | --- |