SCHEDULE B.

NAME OF WORK: -     S/R TO SECRETARY BUNGALOW NO.12 AT GOR BATH IS LAND KARACHI

| S.NO | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of glazed or encaustic tiles (S.NO.55/13) | 2337.0 | 786/50 | %Sft | 18381 |
| 2 | Removing door with chowkats(S.I.33-a/12). | 1-Nos | 142/18 | Each | 142 |
| 3 | Removing widows and sky light with chowkats (S.I.33-b/12). | 3-Nos | 102/85 | Each | 309 |
| 4 | First class deodar wood wrought joinery in doors and windows etc fixed in position including chowkats hold fasts hinges, iron tower bolts chocks cleats handles and cords with hooks etc deodar paneled or paneled and glazed or fully glazed (b)1-3/4” thick(S.I.NO.7-b/58). | 584.61 Sft | 1273/76 | Sft | 744653 |
| 5 | French polishing complete on old work (SI.7-b/p-71) | 631.0 | 1952/50 | %Sft | 12320 |
| 6 | P/F approved quality mortise lock | 10-Nos | 1786/13 | Each | 17860 |
|  | Total |  |  |  | 793665 |
|  | Part B Electric Item |  |  |  |  |
| 1 | Wiring for light or fan point with (3./029)PVC insulated wire in casing and capping(S.I.NO.123/15) | 119-Nos | 797/- | Each | 94843 |
| 2 | Wiring for plug point with (3/.029 ) pvc insulated wire(S.I.NO.125/15) | 30-Nos | 669/- | Each | 20070 |
| 3 | Providing and fixing bacolite ceiling rose with two terminals (S.I.228/33). | 24- Nos | 72/- | Each | 1728 |
| 4 | P/F Brass ceiling Fan 56” good quality | 12-Nos | 3185/- | Each | 38220 |
| 5 | P/L main or sub main PVC insulated with size 2-7/044 copper conductor in ¾”dia PVC conduit on surface.(S.I.5/1) | 320-Meter | 305/- | Meter | 97600 |
| 6 | P/L main or sub main PVC insulated with size 2-7/029 copper conductor in ¾”dia PVC conduit on surface.(S.I.3/1) | 1473-Meter | 171/- | “ | 251883 |
| 7 | P/L (Main or Sub-Main) PVC insulated & PVC sheeted with 4-core copper conductor 600/1000 volts sze 25mm2(S.I.103/12) | 50-Meter | 1909/- | P.Meter | 95450 |
| 8 | P/F circuit bracker 6,10,15,20,30,40,50 & 63amp SP (TB-5S) on prepared board as required.(S.I.203/31) | 85-Nos | 916/- | Each | 77860 |
| 9 | Providing & fixing circuit bracker 6,10,15,20 30,40,50 & 63 amp DP (TB-5S)on prepared board as required.(S.I.204/31). | 10-Nos | 2456/- | Each | 24560 |
| 10 | P/F circuit bracker 15,20,30,40,50 & 60 amp TP (XE-100CS(CB)on prepared board as required.(S.I.206/31) | 1Nos | 5521/- | Each | 5521 |
| 11 | P/F circuit bracker 15,20,30,40,50 & 100 amp TP (XE-100CS(CB)on prepared board as required.(S.I.207/31) | 2-Nos | 9261/- | Each | 18522 |
| 12 | P/F ammeters size 96/96mm direct 15A 30A 50A 60A & 100 A as required & as per instruction of EI.(S.I.284/41) | 2-No | 1054/- | Each | 2108 |
| 13 | P/F Volt meters size 96/96 mm 500 volt as required & as per instruction of EI.(S.I.285/41) | 2-No | 999/- | Each | 1998 |
| 14 | P/F circuit bracker 125,150.200,& 225 amp TP (XE-225 NS(CB)on prepared board as required.(S.I.208/31) | 1-No | 25541/- | Each | 25541 |
|  | Total |  |  |  | 755904 |
|  | Part C NSI |  |  |  |  |
| 1 | Providing and laying fancy type Spanish floor and dado tiles 24”x24” & ¼ ” thick as approved size specified approved quality /make /design and colour including laying with bond solution sand mortar including jointing in white cement including washing of tiles and filling of joints with slurry of white cement in desired shape with finishing including cutting of tiles to proper profile i/c all respect labour and necessary required material as directed by the engineer incharge etc complete. | 2337.00 |  | Sft |  |
| 2 | Providing and fixing universal light plug 3 pin 13 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 78-Nos |  | Each |  |
| 3 | Providing and fixing universal power plug 3 pin 13 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 14-nos |  | Each |  |
|  | Total C |  |  |  |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS AND CONDTION.

- Any typographical errors in the schedule B are subject to the correction with Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as Approved by the S R C, Sindh Karachi

- No premium shall be paid on a Non schedule items.

- 100% WELL Graded crushed bajri shall be used in items of work without any extra payment

- No Any items of exvceed then the Quantity provided in the Schedule B without                           Prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                         ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.