Name of work:  M/R to Secretary Bungalow 6 Town Houses GOR III Kyc

SCHEDULE ‘B’

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Scraping ordinary distempering oil bound distemper or paint on walls (s.i.No.54-b/13). | 910.70 | 226/88 | % Sft. | 2066 |
| 2 | Distempering two Coats (S.I 24-b/54) | 1123.20 | 1043/90 | %Sft | 11725 |
| 3 | Applying chemical polish on existing mosaic marble flooring dado i/c cleaning granding and paper and applying chemical polish on surface. | 483.75 | 36/60 | Sft | 17705 |
| 4 | P/L 3”thick topping CC (1.2.4) i/c surface finishing & dividing into panels (S.I.42/16-C(2”thick) | 163.64 | 3275/50 | %Sft | 5380 |
| 5 | Preparing the surface & Painting applying rock wall shield/Natural wall texture coating to provide durable crust to wall thickness b/w 2mm to 32mm (1/8”)with acrylic co-polymer emulsion selected marble chips adhesive and bacterides water resistance and fire and termite resistance (upto 20.0’ft height)(S.I 43/56) | 1368,90 | 4504/50 | %Sft | 81662 |
| 6 | Dismentalling CC Plain 1.4.8(S.I.19-c/10) | 9.08 | 1663/75 | %Cft | 151 |
| 7 | Removing of mud plaster from wall | 144.28 | 60/50 | %Sft | 870 |
| 8 | White Glazed tile dado ¼”thick laid in pigment over 1.2 cement sand mortor ¾”thick i/c finishing.(S.I.38/45). | 144.28 | 28253/61 | %SFt | 40764 |
| 9 | Laying floor of approved with glazed tile ¼”thick in white cement 1.2 over ¾”thick cement mortor 1.2 complete.(S.I.24/43) | 29.90 Sft | 27678/86 | %Sft | 11044 |
| 10 | P/F in position doors & windows and ventilators of first class deodar wood frame and 1-3/4 thick commercial ply venner shutter of first class deodar skeleton (hollow) and commercial ply wood (3-ply)on both sides.(S.I.9/58) | 47.25 | 1227/36 | Sft | 57993 |
| 11 | P/F in position doors & windows and ventilators of first class deodar wood frame and 1-3/4”thick commercial ply venner shutter of first class deodar skeleton (hollow) and commercial ply wood (3-ply)on both sides.(S.I.9/58)(25-b)/61)1227/36(-)370/83 | 27.00 | 856/53 | Sft | 23126 |
| 12 | S/F in Position Alluminum channel framing for hinged doors of alcop made with 5mm thick tinted glass glazing (Belgium) & Alluminum fly screen i/c handles stoppers & locking arrangement etc complete.(Dulex Model (White).(S.I.84-a/108) | 54.68 | 1507/66 | Sft | 82439 |
| 13 | Dismantling glazed or encaurtic tiles (s.i.No.55/13). | 358.71 | 786/50 | % Sft. | 2801 |
| 14 | Alluminum Wire Guaze 144 mesh per square fixed to wooden cleats with 1/2 “deodar strips and screwes (S.I.64-A/66) | 180.66 | 222/40 | Sftr | 40177 |
| 15 | P/F GI expended metal 1/2”to ¾” mesh 16 guage fixed to chowkats without deodar patti (S.I.65B/66) | 35.32 | 60.43 | Sft | 2405 |
| 16 | First class deodar wood wrought joinery wire gauze in doors and windows etc fixed in position i/c chowkats hol;d fasts hinges iron tower bolts chocks cleats handles and cords with hooks etc (b) 1-3/4”thick (S.I.54/7-b) | 19.98 | 562/98 | Sft | 11248 |
| 17 | P/F with sunk iron screwes wooden archichtravi with approved design shape having with not less then 2-1/2 inches as directed Engineer Incharge | 632.00 | 49/97 | Sft | 31583 |
| 18 | Preparing the surface & Painting of doors & windows any type i/c edges 2nd & each subsequent coat (S.I 4-C-(i+ii)/68) | 2469.00 | 1160/06 | %SFt | 28642 |
| 19 | Layinjg white marble flooring fine dressed on the surface windows set in lime plaster mortor 1.2 i/c rubbing & polihsig etc complete. | 191.94 | 567/48 | Sft | 108922 |
|  | Total |  |  |  | 539899 |
|  | Less % Below |  |  |  |  |
|  | Part A-II NSI |  |  |  |  |
| 1 | P/F approved quality floor tiles (Imported quality) size upto 20”x20” laid over cement chemical bond i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile for floor or dado i/c all cost of material labour & cartage etc complete. | 277.28 |  | P. Sft. |  |
| 2 | P/F Bath Room tiles 18”x12” ‘laid on ¾” over cement sand mortor ratio 1.2 i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile i/c all cost of material labour & cartage etc complete. | 266.18 |  | Sft |  |
| 3 | M/F Cabinet i/c shutter of ¾”thick lassani sheet and frame work with deodar wood 1-1/2”x1” patal with classic formica sheet of tark venner shutter i/c lassani sheet shelf fixed as per required depth upto 1/8”thick also making draws etc approved design and shape i/c necessary fittings etc complete. | 127.66 |  | Sft |  |
| 4 | P/F Oven 5 Burner imported quality as directed by Engineer Incharge. | 1-No |  | Each |  |
| 5 | P/F Oven Hobve /c necessary exhaust pipe with complete necessary fitting etc complete. | 1-No |  | Each |  |
| 6 | M/F Woofden dressing i/c shutter of ¾”thick lassani sheet and frame work with deodar wood 1-1/2”x1” patal with classic formica sheet of tark venner shutter i/c lassani sheet shelf fixed as per required depth upto 1/8”thick also making draws etc | 54.16 |  | Sft |  |
| 7 | Repair of wooden dressing almirah with replacement of demage partition work new ply sheet i/c fixing new pipe fixing i?c handle lock catcherts etc complete. | 103.00 |  | Sft |  |
| 8 | P/F Sink Bowl Stainless steel std size i/c cutting of marble top and fixed with jelly or pert material etc complete. | 1-No |  | Each |  |
| 9 | p/F water Heater Geyser 30 gallons (Singer make)USA make thermostate i/c necessary fitting etc complete | 2-Nos |  | “ |  |
| 10 | P/F UPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.1” dia. | 175.00 |  | Rft |  |
| B | --do—3/4” | 50-Rft |  | Rft |  |
| 112 | P/F Handle valve heavy pattern as quality etc complete |  |  |  |  |
| B | 1-1/2”dia | 2-No |  | Each |  |
| C | 1”dia | 4-Nos |  | “ |  |
| D | /3/4”dia | 4-Nos |  | “ |  |
| 12 | P/F Looking mirror fixing with helogen glass with with clips etc complete. | 5-Nos |  | “ |  |
| 13 | Removing & dismentalled material etc complete fro site to out KMC limit etc complete | 4-Truick |  | “ |  |
| 14 | P/F stainless steel railing upto 3 ft horizontal with 2”dia etc complete | 73.54 |  | Sft |  |
|  | Total |  |  |  |  |
|  | Part B W/S & S?F |  |  |  |  |
| 1 | P/F squatting type white glazed earthen ware wc pan with front flush into & complete with including the cost of cistern with internal fitting and flush type bends and making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1.2.4 (foreign equilent)(b) WC 19”clear earthen ware low level flush tank 3-gallons (ii) with 4”dia earthen ware & plastic themble | 4-Nos | 5486/80 | Each | 21947 |
| 2 | S/F Bath Room Accessories set (7-Pieces ) i/c towel rod brush holder soap tray shelf of approved design i/c cost of screwes nuts etc complete (Master Brand). | 5-Nos | 10322/40 | “ | 51612 |
| 3 | P/F 22x16 lavatory basin in white glazed earthen ware complete with and i/c the cost of WI or CI ventilator brackets 6”built into walls pointed white in two coats after a primary coat of red head of paint a pair of 1-1/2 dia rubber plug and chrome plated brass chain 1-1/4 dia maloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement mortor 1.2.4 Foreig or equilent)(S.I.13/4) | 1-No | 6237/- | Each | 6237 |
| 4 | Add extra for labour for providing and laying of earthen ware pedestal white or coloured glazed foreign or equilent.(S.I 11/3) | 1-No | 2533/47 | Each | 2533 |
| 5 | P/F CI Trape with 4”dia inlet & out let of the approved self cleaning wth or with out venty arm for cost of nuts i/c making requisite nuber of holes for pipe connection CC 1.2.4 | 3-Nos | 1671/58 | “ | 5015 |
| 6 | S/F in position CP long bib cock 1/2”thick CP bib cock light pattern(S.I 13- | 4-Nos | 1109/46 | Each | 4438 |
| 7 | P/F Swantype pillaer cock of superior quality. | 1-No | 877/80 | “ | 878 |
|  | Toptal |  |  |  | 81687 |
|  | Add % above |  |  |  |  |
|  | Part C Electric Items |  |  |  |  |
| 1 | Wiring for light or fan point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.129/18) | 18-Nos | 1130 | Each | 20340 |
| 2 | Wiring for Plug point with 3/029 PVC insulated wire in 20mm ¾”PVC channel patti on surface as required126/15) | 16-Nos | 985 | Each | 9850 |
| 3 | Wiring for call bell point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.131/18) | 1-Nos | 1380/- | Each | 1380 |
| 4 | P/F Bacolite ceiling Rose with two terminals.(S.I.228/33). | 14-Nos | 72/- | “ | 1008 |
| 5 | P/F Brass Batten Holder (S.I 232/33) | 38-Nos | 70/- | “ | 2660 |
|  | Total |  |  |  | 35238 |
|  | Part D N.S.I |  |  |  |  |
| 1 | P/F Ceiling Fan 56” Sweep make Pak or equelent quality i/c necessary electric connection etc complete. | 11-Nos |  | “ |  |
| 2 | P/F Fancy type dimmer i/c necessary electric connection | 11-Nos |  | “ |  |
| 3 | P/F Fancy Switch Socket with board as per approved quality by the Engineer Incharge etc complete. | 164-Nos |  | “ |  |
| 4 | P/F Universal 5 amps with PVC board i/c necessary electric connection etc complete. | 25-Nos |  | “ |  |
| 5 | P/F Power Plug 15 amps with board | 5-Nos |  | “ |  |
| 6 | P/F Tube Light double 2-40 fancy shade i/c chowk starter i/c necessary electric connection etc complete. | 10-Nos |  | “ |  |
| 7 | P/F Energy Saver 25 watt i/c holder as per approved quality i/c necessary electric connection etc complete. | 98-Nos |  | “ |  |
| 8 | P/F Wall mounted light double fancy type superior quality i/c electric connection etc complete | 25-Nos |  | “ |  |
| 9 | P/F Ceiling light double fancy type superior quality i/c electric connection etc complete | 13-Nos |  | “ |  |
| 10 | P/F Compound wall light double fancy type superior quality i/c electric connection etc complete | 4-Nos |  | “ |  |
| 11 | P/F Exhaust Fan Plastic Body 10”dia equelent quality i/c necessary electric connection etc complete | 6-Nos |  | “ |  |
|  | Total D |  |  |  |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi