SCHEDULE B.

NAME OF WORK: S/R TO SECRETARY FLAT C-112 AT CLIFTON KARACHI (RESIDENCE OF MR, SAJID JAMAL ABRO M.D)

| S.NO. | DESCRAPTION OF ITEMS | QUTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismantling of glazed or encaustic tiles (S.NO.55/13)386.56 | 665.00 Sft | 786/50 | %Sft | 5230 |
| 2 | S/f and fixing in position aluminium channel framing for sliding windows & ventilators alcop made with 5 mm thick tinted glass glazing (Belgium)& aluminium glass glazing (Belgium) & Aluminium fly Screen i/c handles stoppers & locking Arrangement etc complete(DeluxeModelWhite)(S.I.NO.p84-A/1 | 285.00 | 1592/69 | P.Sft | 453916 |
| 3 | Providing and laying tiles glazed 6” x6”x1/4” on floor or wall facing in required colour and pattern of stile specification jointed in white cement and pigment over a base of 1.2. grey cement mortar ¾” thick including washing and filling of joints with slaury of white cement and pigement in desired shpae with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile.(S.I.NO.60/47) | 665.00 | 30509/77 | %Sft | 202890 |
| 4 | Scraping ordinary disremper oil bound distemper otr paint on wall (s.i.No.54/13). | 3948.00 | 226/88 | %. Sft | 8957 |
| 5 | Preparing the surface & painting with matt finish paint of approved makr to old matt finish surface 2nd & subsqequent coat. (s.i.No.37/55). | 3948.00 | 1772/38 | % Sft. | 69974 |
|  | Total |  |  |  | 740967 |
|  | Less % below on item No. 2 & 3 |  |  |  |  |
|  | A |  |  |  |  |
|  | PART B N.S.I |  |  |  |  |
| 1 | French Polishing of doors & windows i/c scrapping with scrape machine & preparing surface & polishing by using Indian Lakh dana, sprit,pigment i/c using compressor machine for applying lacker sealer tarpine oil etc complete as directed by Engineer Incharge. | 1106.00 Ft |  | Sft |  |
| 2 | Making and fixing wooden kitchen cabinet with shutters of lasani wood sheet ¾” thick frame work of first class deodar wood 2”x1” pasted with classic Formica and 18” deep includinmaking etc complete as directed by the engineer Incharge etc complete | 127.42 Ft |  | Sft |  |
| 3 | Providing and fixing Granite top ¾” thick matching colour with design & necessary edges in round shape filling joints with matching colour pigment etc also i/c all cost of labour and cartage etc complete as directed by the Engineer Incharge etc complete. | 24.00 Sft |  | Sft |  |
| 4 | P/f false ceiling of gypsum board in panels of required design & size i/c frame work of aluminumT section hanged with nails, wire to ceiling etc complete as per directed by the Engineer Incharge. Rtes also i/c all cost of material/ labour etc complete. | 168.0 |  | Sft |  |
| 5 | S/F fancy type spot light for false ceiling approved quality etc complete | 12-Nos |  | Each |  |
| 6 | S/F fancy type wall bracket light with glass and fancy frame work as approved design and shape i/c reassembling and necessary electric wiring and connection etc complete. | 16-Nos |  | Each |  |
| 7 | Providing and fixing oven 5 burner 34” in size vave tech or as approved quality fire burner with double door/Sutter including all cost of labour material cartage and fixing charges in all respect | 1-No |  | Each |  |
| 8 | Providing and fixing Micro Vave Oven vave tech or as approved quality including all cost of labour material cartage and fixing charges in all respect | 1-No |  | Each |  |
| 9 | P/F Indian WC i/c flushing cistern and also etc complete in all respect.(Marachi Imported make) | 2-Nos |  | Each |  |
| 10 | P/F wash basin with pedestal etc complete in all respect (Marachi Imported make) | 2-Nos |  | Each |  |
| 11 | P/F English Commode i/c all kinds of fittings, flush tank making requisite No of holes, repairing cement mortor etc complete.(Marachi Imported make). | 2-nos |  | Each |  |
| 12 | S/F tee stop cock of superior quality with cp head ½”dia .(USA Claver make) | 6-Nos |  | Each |  |
| 13 | S/F long bib cock of superior quality with cp head ½”dia (USA Claver make) | 4-Nos |  | Each |  |
| 14 | S/F Bath hower set with , shower necessary fittings, coated complete in all respect (Imported USA Claver make) | 2-Nos |  | Each |  |
| 15 | S/F wash basin mixture of superior quality with CP head ½”dia ( Imported USA Claver make) | 2-Nos |  | Each |  |
| 16 | P/F Bath Accessories Imported make as approved quality etc complete.(S.S Imported make) | 2-Nos |  | Each |  |
| 17 | S/f sink mixture of approved quality plastic coated to required colour heavy pattern as required. | 1-No |  | Each |  |
| 18 | S/F of Steel Sink Bowl as approved shape &size fixing with existing marble top etc complete | 1-No |  | Each |  |
| 19 | Providing and fixing turbo imported make double excess fan touch screen glass tope or as approved quality including all cost of labour material cartage and fixing charges in all respect | 1-No |  | Each |  |
| 20 | P/F Stain less steel floor trape jalli Imported make etc complete. | 4-Nos |  | Each |  |
| 21 | S/F muslim shower with double bib cock.approved quality etc complete.(Imported USA Claver make) | 2-Nos |  | Each |  |
| 22 | Providing and fixing U PVC pipe ½ ” dia including cutting making and jointing with solution pest with special approved quality including all cost of labour as directed by the engineer incharge etc complete. | 40-Rft |  | Rft |  |
| 23 | Providing and fixing C PVC pipe ½ ” dia including cutting making and jointing with solution pest with special approved quality including all cost of labour as directed by the engineer incharge etc complete. | 40-Rft |  | Rft |  |
| 24 | P/F UPVC pipe 4”dia (Pak Arab or equilent ) i/c cutting fitting with collars clamps & rubber solvent.this rate also i/c making holes in walls plinth floor and roof for fixing pipe and making good in CC 1.2.4testing pressure head 200 fe | 70-Rft |  | Rft |  |
| 25 | P/F UPVC Fitting 4” |  |  |  |  |
| A | Plain Bend 4” | 2-Nos |  | Each |  |
| B | Plain Tee 4” | 2-Nos |  | Each |  |
| C | Plug Bend | 2-Nos |  | Each |  |
| D | Cowel | 2-Nos |  | Each |  |
| 26 | Providing and fixing universal POWER plug 3 pin 13 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 4-Nos |  | Each |  |
| 27 | Providing and fixing universal light plug 3 pin 13 amps fancy type imported quality with fancy PVC concealed board and necessary screws and electric wiring and connection (N.S.I) | 4-Nos |  | Each |  |
|  | Total B. |  |  |  |  |
|  | G Total |  |  |  |  |

TERMS AND CONDTION.

- Any typographical errors in the schedule B are subject to the correction with Reference to the Schedule of rate General 2012 enforced from 12.07.2012 as Approved by the S R C, Sindh Karachi

- No premium shall be paid on a Non schedule items.

- 100% WELL Graded crushed bajri shall be used in items of work without any extra payment

4.   No Any items of exvceed then the Quantity Provided in the Schedule B without Prior of the Executive Engineer.

5.   All sample of items should be got approved by the Executive Engineer.

CONTRACTOR       SUB ENGINEER                         ASSISTANT ENGINEER

PROVINCIAL BUILDINGS SUB DIVISION-I

KARACHI.