Name of work:  M/R TO PUBLIC HEALTH SCHHOL KARACHI (COLOURING PAINTING CC TOPPING RENOVATION OF BATH ROOM WOOD WORK ETC)

SCHEDULE ‘B’

| S.No. | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Dismentalling CC Plain 1.2.4 (S.I.19-c/10) | 1418.56 Cft | 3327/50 | %Cft | 47203 |
| 2 | Dismantling glazed or encaurtic tiles (s.i.No.55/13). | 855.00 Sft | 786/50 | % Sft. | 6725 |
| 3 | P/L 3”thick topping CC (1.2.4) i/c surface finishing & dividing into panels (S.I.42/16-C(2”thick) | 1418.56 Sft | 4411/82 | %Sft | 62584 |
| 4 | Scraping ordinary distempering oil bound distemper or paint on walls (s.i.No.54-b/13). | 41068.19 Sft | 226/88 | % Sft. | 93175 |
| 5 | P/F in position doors & windows and ventilators of first class deodar wood frame and 1-3/4”thick commercial ply venner shutter of first class deodar skeleton (hollow) and commercial ply wood (3-ply)on both sides.(S.I.9/58)(25-b)/61)1227/36(-)370/83 | 239.00 Sft | 856/53 | Sft | 204711 |
| 6 | Distempering two Coats (S.I 24-b/54) | 17627.26 Sft | 1043/90 | %Sft | 184011 |
| 7 | Preparing surface and painting with emulsion paint (s.i.No.29-a+b/72). | 23441.33 Sft. | 1305/37 | % Sft. | 305993 |
| 8 | Preparing the surface & Painting of doors & windows any type i/c edges 2nd & each subsequent coat (S.I 4-C-(i+ii)/68) | 1967.90 Sft | 1160/06 | %SFt | 22818 |
| 9 | Painting old surface painting guard bars gates iron bars grating railing i/c standard braces etc complete and similar open work (i)first coat each subsequent coat (S.I.4-d i+ii/69) | 4384.18 Sft | 674/60 | %sft | 29576 |
| 10 | Glazing with panes (240z to 260z)using putty and deodar wooden Ist class fillets.(S.I 45b/63) | 326.00 Sft | 142/90 | Sft | 46585 |
| 11 | P/F approved quality mortice lock (S.I.21/60) | 16-Nos | 1786/13 | Each | 28578 |
| 12 | P/F slidding bolt to doors (ii)12”long (S.I.19-A-ii/60). | 16-Nos | 222/40 | Each | 3558 |
| 13 | Nyloon wire guze 144 mesh per square inch fixed to chowkats without deodar patti (S.I.63a/68) | 156.00 Sft | 193/53 | Sft | 30191 |
| 14 | Fixing expended metal with 1”deodar wooden strips and screwes (S.I.22-a/61) | 156.00 Sft | 296/05 | Sft | 46184 |
|  | Total |  |  |  | 1111890 |
|  | Less % Below Item No5 |  |  |  |  |
|  | A |  |  |  |  |
|  | Part B W/S & S/F |  |  |  |  |
| 1 | P/F squatting type white glazed earthen ware wc pan with front flush into & complete with including the cost of cistern with internal fitting and flush type bends and making requisite number of holes in walls plinth & floor for pipe connection & making good in cement concrete 1.2.4 (foreign equilent)(b) WC 19”clear earthen ware low level flush tank 3-gallons (ii) with 4”dia earthen ware & plastic themble | 4-Nos | 5486/80 | Each | 21947 |
| 2 | P/F 22x16 lavatory basin in white glazed earthen ware complete with and i/c the cost of WI or CI ventilator brackets 6”built into walls pointed white in two coats after a primary coat of red head of paint a pair of 1-1/2 dia rubber plug and chrome plated brass chain 1-1/4 dia maloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement mortor 1.2.4 Foreig or equilent)(S.I.13/4) | 2-No | 6237/- | Each | 12474 |
| 3 | Add extra for labour for providing and laying of earthen ware pedestal white or coloured glazed foreign or equilent.(S.I 11/3) | 2-No | 2533/47 | Each | 5067 |
| 4 | S/F Swan type Piller Cock of superior quality single cp head ½dia (S.I 16-a/19) | 1-Nos | 877/80 | Each | 878 |
| 5 | S/F concealed tee stop cock of superior quality with cp head ½” thick (S.Ị/12-a) | 2-Nos | 889/46 | Each | 1779 |
| 6 | S/F CP Muslim Shower with double bib cock & Ring Pipe etc complete.(S.I.19-b/19) | 4-Nos | 3432/- | Each | 13728 |
| 7 | P/F 24”x18” beveled edge mirror of Belgium glass complete with 1/8”thick hard board and cp screwes fixed to wooden cleats (b) Superior quality.(S.I.3-b/7) | 2-Nos | 2376/- | Each | 4752 |
| 8 | S/F in position CP long bib cock 1/2”thick CP bib cock light pattern(S.I 13- | 2-Nos | 1109/46 | Each | 2219 |
| 9 | P/F CI trape with 4” dia inlet and out let of the approved self cleaning design with a CI gratting with or without a vent arm i/c cost of making requisite number holes in walls plinth & floor for pipe connection and making good cement concrete 1.2.4(S.I.21/6) | 5-Ns | 1671/58 | Each | 8358 |
|  | Total |  |  |  | 71202 |
|  | Add % above |  |  |  |  |
|  | B |  |  |  |  |
|  | Part C Electric Items |  |  |  |  |
| 1 | Wiring for light or fan point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.129/18) | 16-Nos | 910/- | Each | 14560 |
| 2 | Wiring for Plug point with 3/029 PVC insulated wire in 20mm ¾”PVC channel patti on surface as required126/15) | 8-Nos | 742/- | Each | 5936 |
| 3 | Wiring for call bell point with 3/029 PVC insulated wire in 20mm (3/4)channel patti on surface as required.(S.I.131/18) | 1-Nos | 1590/- | Each | 1590 |
| 4 | P/F Circuit Brackers 6,10,15,20, 30,40,50 & 63 amps SP (TB SS) on a prepared board as required.(S.I.203/31) | 8-Nos | 916/- | Each | 7328 |
| 5 | P/F Circuit Brackers ,6,10,15,20,30,40,50,&63 amp DP (TBSS) on prepared board as required.,(S.I.204/31) | 4-Nos | 2456/- | Each | 9824 |
| 6 | P/F circuit bracker 6,10,15,20,30 40,50,&63 amp TP EX(100)CS (CB) on Prepared board as required.(S.I.31/204) | 2-Nos | 5521/- | Each | 11042 |
| 7 | P/F circuit bracker ,15,20,30 40,50,60,75,&100 amp TP EX(100)CS (CB) on Prepared board as required.(S.I.31/207) | 1-No | 9261/- | Each | 9261 |
| 8 | P/L main or Sub main PVC insulated with size 2-7/029 (4mm2) copper conductor in ¾ ” dia PVC conduit on surface.(S.I.4/1) | 82.00 Meter | 171/- | p.Meter | 13630 |
| 9 | P/L main or Sub main PVC insulated with size 2-7/036 (4mm2) copper conductor in ¾ ” dia PVC conduit on surface.(S.I.4/1) | 40.00 Meter | 200/- | p.Meter | 8000 |
| 10 | P/F Bacolite ceiling Rose with two terminals.(S.I.228/33). | 16-Nos | 72/- | “ | 1152 |
| 11 | P/F Brass Batten Holder (S.I 232/33) | 16-Nos | 70/- | “ | 1120 |
|  | Total |  |  |  | 83493 |
|  | Part D N.S.I |  |  |  |  |
| 1 | P/F Bath Room tiles 18”x12” ‘laid on ¾” over cement sand mortor ratio 1.2 i/c filling the joints with white cement or tiles grout in desired shape i/c finishing and cutting tiles to proper profile i/c all cost of material labour & cartage etc complete. | 855.00 Sft |  | Sft |  |
| 2 | P/F UPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.1/2”dia | 80.00 |  | Rft |  |
| 3 | P/F UPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.3/4”dia | 120.00 |  | Rft |  |
| 4 | P/F UPVC Pipe of AGM Pak Arab or equilent quality make sch 80 © water supply for roof and water and joints with AGM solution and making hole in walls plinth and floor for pipe connection etc complete as directed by the Engineer Incharge.4” dia. | 165.00 |  | Rft |  |
| 5 | P/F UPVC Sanitary fitting make Pak or equilent quality jointing with AGM solution as directed by the Engineer Incharge. |  |  |  |  |
| A | 4”dia Y- Tee | 3-Nos |  | Each |  |
| B | 4”diaplain Bend | 10-Nos |  | “ |  |
| C | 4”dia Plug Tee | 5-Nos |  | “ |  |
| D | 4”dia Bend | 8-Nos |  | “ |  |
| E | Elbow | 3-Nos |  | “ |  |
| 6 | P/F upvc valve ½ dia valve jointing with water supply line make (Baven) or equilent quality as directed by the Engineer Incharge. | 3-Nos |  | “ |  |
| 7 | P/F Floor Trape Jalli SS standard make etc complete. | 5-Nos |  | “ |  |
| 8 | Repair of wooden door i/c chowkats hold fats hinges & screwes etc complete. | 23-Nos |  | “ |  |
| 9 | Repair of Patch work ceiling over roof floating coat with 2-coat of cement plaster 1-1/2”x2”thick etc complete. | 530.00 Sft |  | Sft |  |
| 10 | Repair of Alluminum windows i/c change of slidding bolts bottom channel with ribted, rubber packing etc complete. | 144.00 Sft |  | Sft |  |
| 11 | P/F Tube Light double 2-40 fancy shade i/c chowk starter i/c necessary electric connection etc complete. | 12-Nos |  | Each |  |
| 12 | P/F Fancy Switch Socket with board as per approved quality by the Engineer Incharge etc complete. | 40-Nos |  | “ |  |
| 13 | P/F Power Plug 15 amps with board | 6-Nos |  | “ |  |
| 14 | P/F Universal 5 amps with PVC board i/c necessary electric connection etc complete. | 4-Nos |  | “ |  |
| 15 | P/F Energy Saver 25 watt i/c holder as per approved quality i/c necessary electric connection etc complete. | 24-Nos |  | “ |  |
| 16 | Removing and debries site to KMC limit as directed by the Engineer Incharge etc complete. | 4-Truck |  | “ |  |
|  | Total D |  |  |  |  |
|  | G Total |  |  |  |  |
|  | Say Rs |  |  |  |  |

TERMS & CONDITION

- Any typographical errors in the schedule B are subject to the correct condition with Reference to the schedule of rate General 2012 enforced from 12-07-2012 as approved by the SRC Sindh.

- No Premium shall be paid on Non Schedule Items

- 100% well Graded crushed bajri shall be used in items of work without any extra payment.

- No any items of exveceed then the quantity provided in the schedule B without prior of the Executive Engineer.

- All sample of items should be got approved by the Executive Engineer.

Contractor

Assistant Engineer,

Provincial Buildings sub Division-IX,

Karachi