| OFFICE OF THE EXECUTIVE ENGINEER (B&R) DMC (WEST) BALDIA ZONE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ESTIMATE COST |  | 9,97,318/- | TIME LIMIT |  |  | 30 Days |  |  |
| TENDER FEES |  | 1500/- | PANELTY PER DAY |  |  | 1500/- |  |  |
| SUBJECT: - P/L 2” thickness C.C. Flooring at different street in UC-01 DMC (W) Baldia Zone. |  |  |  |  |  |  |  |  |
| S.NO | DISCREPTION |  |  | QTY | RATE |  | PER | AMOUNT |
| 1 | Dismantling cement concrete plain 1:4:8 |  |  | 6525 | 1663.75 |  | %Cft | 108560/- |
| 2 | Earth work Excavator undressed lead up to a single throws of Kassi Phawvah or Shavel. |  |  | 350 | 1361.25 |  | %0Cft | 476/- |
| 3 | P/L cement concrete brick or stone ballast 1 ½” to 2” gauge 1:4:8. |  |  | 4307 | 9416.28 |  | %Cft | 405559/- |
| 4 | P/L 2” thick topping cement concrete 1:2:4 i/c surface finishing and diving into panels etc complete. |  |  | 13050 | 3275.50 |  | %Sft | 427453/- |
| 5 | Carriage of 100 cft tons of all kinds’ material like Cole bricks i/c loading unloading 10 miles. |  |  | 6875 | 595.80 |  | %Cft | 40961/- |
| 6 | P/R C-I M/H Cover frame i/c cast of 1 kg material etc. |  |  | 50 | 140-W |  | P-Kg | 7000/- |
| 7 | M/S R.C.C M/H cover cast silo 1:2:4 C.C. 3 Inch deep in center reinforced with 3/8” dia M.S Bar welded on M.S Sheet i/c curing transportation |  |  | 08-Nos | 913.63 |  | Each | 7309/- |

A.E (B&R)							             A.E.E (B&R)

I/We hereby quoted rate@_________% above/below the schedule of rates.

Contractor’s Signature__________________________

Address_____________________________________

___________________________________________