| OFFICE OF THE EXECUTIVE ENGINEER (B&R) DMC (WEST) BALDIA ZONE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ESTIMATE COST |  | 9,58,259/- | TIME LIMIT |  |  | 30 Days |  |  |
| TENDER COST |  | 1500/- | PANELTY PER DAY |  |  | 1500/- |  |  |
| SUBJECT: - P/F Kerb stone and line marking at 5J road Saeedabad in UC-05, DMC (West) Baldia Zone. |  |  |  |  |  |  |  |  |
| S.NO | DISCREPTION |  |  | QTY | RATE |  | PER | AMOUNT |
| 01 | Providing & fixing precast Edge Block (Kerb stone ) 3750 PSI industrial made size 6” thick x12 inches long x 1 ½” ft high i/c the caste of cartage excavation form work for hunching 1450 PSI lean concrete 2250 PSI concrete for hunching 1:4 cement sand mortar. |  |  | 2600-Rft | 297.01 |  | P/Rft | 772226/- |
| 02 | Preparing the surface and point with plastic emulsion point of all make i/c rubbing the surface with sand paper filling the voids with chalk / plastic. |  |  | 2600-Sft | 1659.35 |  | %Sft | 43143/- |
| 03 | Dis: Cement blocks masonary. |  |  | 5638-Cft | 1134.38 |  | %Cft | 63956/- |
| 04 | Carriage of 100 cft tons of all kind material like Cole, brick i/c loading unloading 10 miles. |  |  | 5638-Cft | 595.80 |  | %Cft | 33591/- |
| 05 | Thermo Plastic Point pavement marking reflective thermo plastic point for lines of 6 in width. |  |  | 5200-Rft | 41.24 |  | P/Rft | 214448/- |

Nomenclature, quantities and rates

Etc checked and found correct.

A.E (B&R)								        A.E.E (B&R)

I/We hereby quoted rate@_________% above/below the schedule of rates.

Contractor’s Signature_____________________

Address_______________ _________________

_____________________ _________________