| OFFICE OF THE EXECUTIVE ENGINEER (B&R) DMC (WEST) BALDIA ZONE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ESTIMATE COST |  | 9,98,934/- | TIME LIMIT |  |  | 30 Days |  |  |
| TENDER FEES |  | 1500/- | PANELTY PER DAY |  |  | 1500/- |  |  |
| SUBJECT: - M/S R.C.C. Manhole cover R.C.C. Ring slab in UC-02 & 03 DMC (W) Baldia Zone |  |  |  |  |  |  |  |  |
| S.NO | DISCREPTION |  |  | QTY | RATE |  | PER | AMOUNT |
| 08 | Manufacturing and supplying R.C.C main hole covers cast in situ 1:2:4 C.C. 3” inch deep in center reinforced with 3/8” dia M.S Bars welded on M.S. sheet i/c curing transportation. 21” dia. 24” dia. |  |  | 676-Nos | 913.63 |  | Each | 617614/- |
| 09 | Manufacturing and supplying of R.C.C Ring Slab of 21” inside 36” dia out side 75 wide and to thick i/c 3/8” dia tor steel bar two concentric rings with 3/8” dia Nos. cross links bars welded and two sunk type hook, lasted in 1:1-1/2:3 concrete with embedded 15kg C.I frame in per feet position i/c terms partition charges for an average lead of 20 km per trip from casting yard to town office (A minimum of 25 slabs per trip will be transported.) |  |  | 200-Nos | 1906.60 |  | Each | 381320/- |

A.E (B&R)							             A.E.E (B&R)

I/We hereby quoted rate@_________% above/below the schedule of rates.

Contractor’s Signature__________________________

Address_____________________________________

___________________________________________