| OFFICE OF THE EXECUTIVE ENGINEER (B&R) DMC (WEST) BALDIA ZONE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ESTIMATE COST |  | 9,98,347/- | TIME LIMIT |  |  | 30 Days |  |  |
| TENDER COST |  | 1500/- | PANELTY PER DAY |  |  | 1500/- |  |  |
| SUBJECT:- P/L 2” thick cc Topping at Khawaja Baba Street to Shansha Katchi Muslim Mujahid Colony in UC-07, DMC (West) Baldia Zone. |  |  |  |  |  |  |  |  |
| S.NO | DISCREPTION |  |  | QTY | RATE |  | PER | AMOUNT |
| 1 | Excavation for pipe line in trenches, and pits in all kind of soil of Murum Shape Leveling of beds of trenches to correct lever & grade, surplus earth within a one chain as directed by Eng incharge. |  |  | 675cft | 4650 |  | %0Cft | 3139/- |
| 2 | P/L reinforced cement concrete pipes with rubber rings i/c cartage, loading unloading at site of work fixing in trenches cutting fitting, jointing with rubber rings etc complete KWSB Approved Rate, M/S Balochistan R.C.C Pipe Co. M/S Pakistan construction (Pvt.) Ltd. M/S Kamal R.C.C Pipe Co. 12”dia pipe |  |  | 50Rft | 412 |  | P/Rft | 18350/- |
| 3 | Construction of 4” dia manhole inside complete with 21”dia c c 1:2:4 pre cast C.I frame 15kg i/c the cost of M.S bars reinforcement and two handles 5” clear depth c c 1:2:4 cast in situ walls with 50% screened graded bajri of 9” thick i/c bending and channel i/c inside walls surface complete i/c cutting asphalt roads excavation in all kind of soil back filling and disposal of surplus stuff (KW&SB) approved rate. |  |  | 02Nos | 9307.86 |  | Each | 18616/- |
| 4 | Extra depth beyond 5” ft or less then 5 deducted at the same rate (KWSB) approved rate. |  |  | (-)1ft | 1609.15 |  | P/ft | (-)1909/- |
| 5 | Refilling the excavated stuff & surplus Earth etc. complete. |  |  | 607cft | 2760 |  | %Cft | 1675/- |
| 6 | Dismantling cement black masonry. |  |  | 1800cft | 1134.38 |  | % 0Cft | 20419/- |
| 7 | Dismatting cement concerte plane. |  |  | 7250cft | 1663.75 |  |  | 120622/- |
| 8 | P/L cement concrete brick or stone 6 ballast 1 ½” to 2” gauge 1:4:8. |  |  | 4785cft | 9416.28 |  | % Cft | 450569/- |
| 9 | P/L 2” thick topping cement concrete 1:2:4 i/c surface finishing and diving into panels etc complete. |  |  | 14500sft | 3275.50 |  | % Sft | 474948/- |
| 10 | Carriage of 100 cft tons of all kinds’ material like Cole bricks i/c loading unloading 10 miles. |  |  | 9118cft | 595.80 |  | % Cft | 54325/- |
| 11 | Manufacturing and supplying of R.C.C Ring Slab of 21” inside 36” dia out side 75 wide and to thick i/c 3/8” dia tor steel bar two concentric rings with 3/8” dia Nos. cross linkes bars welded and two sunk type hook, lasted ina 1:1-1/2:3 concrete with embedded 15kg C.I frame in per feet position i/c terms partition charges for an average lead of 20 km per trip from casting yard to town office (A minimum of 25 slabs per trip will be transported.) |  |  | 03Nos | 1906.60 |  | Each | 5720/- |
| 12 | Manufacturing and supplying R.C.C main hole covers cast in situ 1:2:4 C.C. 3” inch deep in center reinforced with 3/8” dia M.S Bars welded on M.S. sheet i/c curing transportation 21” dia 24” dia. |  |  | 03Nos | 913.63 |  | Each | 2741/- |
| 13 | Rate analysis for shifting to the site and fixing 26” dia Ring Slab in perfect position on damage manhole i/c cutting of damage portion of mentioned in past shape and lying of cement concrete mortar of 2” thickness and disport. |  |  | 03Nos | 563.09 |  | Each | 1689/- |

Nomenclature, quantities and rates

Etc checked and found correct.

A.E (B&R) 			       				                              A.E.E (B&R)

I/We hereby quoted rate@_________% above/below the schedule of rates.

Contractor’s Signature_____________________                            Address_______________ _________________