| OFFICE OF THE EXECUTIVE ENGINEER (M&E) DMC (WEST) BALDIA ZONE |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ESTIMATE COST |  | O/R | TIME LIMIT |  |  | 30 Days |  |  |
| TENDER COST |  | 1500/- | PANELTY PER DAY |  |  | 1500/- |  |  |
| SUBJECT: - P/F of Street Lights 125w & R/M of 250w Son Lights at Jam Nagar, Madina Colony & Sector 5/G, DMC (West) Baldia Zone. |  |  |  |  |  |  |  |  |
| S.NO | DISCREPTION |  |  | QTY | RATE |  | PER | AMOUNT |
| 01 | M.PF. 125w street light fitting consist of fiber glass body disk plate imported aluminum reflector with polluting coated transparent plastic shed i/c electric connection facility with three pin lamp holder plate with heat resistance pain proper lock fitting for transparent cover with lamp and choke of Philip make complete as required under the approval of the engineer incharge. |  |  | 40-Nos |  |  |  |  |
| 02 | P/F of “T” Lamp Son 250w best quality. |  |  | 70-Nos |  |  |  |  |
| 03 | P/F of Son Choke 250w best quality. |  |  | 50-Nos |  |  |  |  |
| 04 | P/F of Lgniter for 250w Lights (round shap). |  |  | 100-Nos |  |  |  |  |
| 05 | P/F of Capacitor for 250w Lights. |  |  | 100-Nos |  |  |  |  |
| 06 | P/F o of Holder for 250w Lights. |  |  | 35-Nos |  |  |  |  |
| 07 | P/F of switch 10amp best quality. |  |  | 150-Nos |  |  |  |  |
| 08 | P/L of wire 3/.029 Pvc single core million make. |  |  | 30-Coils |  |  |  |  |
| 09 | P/L of Nito tape best quality. |  |  | 24-Nos |  |  |  |  |
| 10 | Providing and fixing of double arch bracket set 1 ½” dia G.I pipe for installation of mercury light fitting on steel tabular pole within out reach of five feet bracket to be clamped with tabula pole with 2-Nos G.I clamp with nut bolt coupled as required. |  |  | 30-Nos |  |  |  |  |
| 11 | P/F of moon lights complete with 85w energy sever best quality. |  |  | 50-Nos |  |  |  |  |

Nomenclature, quantities and rates

Etc checked and found correct.

A.E (M&E)								        A.E.E (M&E)

I/We hereby quoted rate@_________% above/below the schedule of rates.

Contractor’s Signature_____________________

Address_______________ _________________

_____________________ _________________