## Sch-B (1-i)
Construction of Office Complex at Taluka Shujabad District Mirpurkas.
Schedule-"B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount.
Part (A) Main Building.
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 37125 | -Cft: | 3176.25 | %-0Cft: | 117918
2 | Earth for slush or Daldal including dewatering. (S.I.No:16, P-04) | 37125 | -Cft: | 2420 | %-0Cft: | 89843
3 | Bailing or pumping out sub soil water during excavation concreting, cost in situ concrete or masonary work in foundation etc. (P.H.E.S.I.No:18, P-75) | 111375 | -Cft: | 543 | %0-Cft: | 60477
4 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:4:8. (S.I.No:04(b) P-15) | 6708 | -Cft: | 9416.28 | %-Cft: | 631644
5 (i) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) | 13054 | -Cft: | 337 | P-Cft: | 4399198
(ii) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for Ground Floor) (337.00 (S.I.No:06, P-17) (S.I.No:06, P-17) | 18396 | -Cft: | 337 | P-Cft: | 6199452
(iii) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for First Floor) (337.00 + 12.10 = 349.10) (S.I.No:06, P-17) | 5614 | -Cft: | 349.1 | P-Cft: | 1959847
(iv) | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (Add Extra for Second Floor) (337.00 + 12.10 + 12.10 = 361.20) (S.I.No:06, P-17) | 5614 | -Cft: | 361.2 | P-Cft: | 2027777
6 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (b) Using Tor bars. (S.I.No:08(b) P-17) | 1613.25 | -Cwt: | 5001.7 | P.Cwt: | 8068993
7 | Extra labour for lifting of steel above first floor for every additional floor. (S.I.No:29, P-19) | 300.91 | -Cwt: | 151.25 | P.Cwt: | 45513
8 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (h) Ratio 1:3:6. (S.I.No:05(h), P-16) | 3641 | -Cft: | 12595 | %-Cft: | 458584
9 | Erection and removal of centering for R.C.C. or plain cement concrete works of deodar wood (2nd: class) (b) for partial wood. (ii) Vertical. (S.I.No:19(b-ii) P-18) | 2513 | -Sft: | 3127.41 | %-Sft: | 78592
10 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 326 | -Cft: | 11948.36 | %-Cft: | 38952
11 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) | 12375 | -Cft: | 1512.5 | %0-Cft: | 18717
12 | Supplying and filling sand under floor and plugging in walls. (S.I.No:29, P-26) | 16266 | -Cft: | 1141.25 | %-Cft: | 185636
13 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:29, P-93) | 1281 | -Rft: | 228.9 | P.Rft: | 293221
14 | P/F G.I. frames / chowkits of size 7" x 2" or 4-1/2" x 3" for windows using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing. (S.I.No:28, P-93) | 31 | -Rft: | 240.5 | P.Rft: | 7456
15 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (only Shutter) (S.I.No:07(b) P-58) | 347 | -Sft: | 902.93 | P.Sft: | 313317
16 | P/F in position doors, windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply, veneer shutters of first class deodar skeleton (Hollow) and commercial ply wood (3 ply) on both side i/c hold fasts, hinges iron tower bolts, handles & cleats with cord & one mortice locks and hooks. (S.I.No:09, P-58) (only Shutters) (Full Rate 1227.36 - 370.83 = 856.53) | 763 | -Sft: | 856.53 | P.Sft: | 653532
17 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" inches as directed by Engineer Incharge. (S.I.No:09, P-58) | 797 | -Rft: | 49.97 | P.Rft: | 39826
18 (i) | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 12674.36 | %-Cft: | 581119
(ii) | Pacca brick work in First floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 13112.99 | %-Cft: | 601231
(iii) | Pacca brick work in Second floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 4585 | -Cft: | 13687.74 | %-Cft: | 627583
19 (i) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) | 20190 | -Sft: | 2206.6 | %-Sft: | 445513
(ii) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (Extra Rate for First Floor) (S.I.No:13(b) P-52) | 19173 | -Sft: | 2346.6 | %-Sft: | 449914
(iii) | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (Extra Rate for Second Floor) (S.I.No:13(b) P-52) | 19173 | -Sft: | 2486.6 | %-Sft: | 476756
20 (i) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 19173 | -Sft: | 2197.52 | %-Sft: | 421331
(ii) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (Extra Rate for First Floor) (S.I.No:11(a) P-52) | 19173 | -Sft: | 2337.52 | %-Sft: | 448173
(iii) | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (Extra Rate for Second Floor) (S.I.No:11(a) P-52) | 19173 | -Sft: | 2477.52 | %-Sft: | 475015
21 | Rough cost / stucco cement plaster 3/4" thick in proportion of 1:1-1/2" 1-1/2" in cement hill sand and bajri in patterns. (S.I.No:32, P-55) | 1017 | -Sft: | 2306.1 | %-Sft: | 23453
22 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 i/c rubbing in polishing of joint. (a) 3/4" thick flooring. (S.I.No:28(a) P-43) | 10846 | -Sft: | 567.48 | P.Sft: | 6154888
23 | P/F 3/8" thick marble tiles of approved quality & colour and shade size 8" x 4" x 6" x 4" in dado skirting & facing removal / tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, current finishing, cleaning and polishing etc complete. (i) For new works. (S.I.No:68(i) P-49) | 1187 | -Sft: | 186.04 | P.Sft: | 220829
24 | S/F in position iron / steel grill of 3/4” x 1/4” size flat iron of approved design i/c painting 3-coat etc complete. (weight not to be less than 3.7 Lbs / Sq: Foot of finished grill) (S.I.No:26, P-93) | 1469 | -Sft: | 180.5 | P.Sft: | 265155
25 (i) | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (d) 3” thick topping. (S.I.No:16(d), P-42) | 500 | -Sft: | 4411.82 | %-Sft: | 22059
(ii) | 2” thick topping. | 5729 | -Sft: | 3729.26 | %-Sft: | 213649
26 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) | 5729 | -Sft: | 1887.4 | %-Sft: | 108129
27 | P/F iron collapsible gate with channel framing of section 3/4" x 5/16" at 4" c/c i/c revitted with 3/4" x 1/8" flat iron patti placed diagonally and provided with top & bottom T-section 1" x 1" x 1/8" along with rollers also i/c locking arrangement and fixing in floor / ceiling or wall etc. completed. (S.I.No:32, P-94) | 128 | -Sft: | 387.04 | P-Sft: | 49541
28 | Making and fixing grating in opening including fixing at site with flat iron 2” x 3/8” and 3/4” Sq: bars at 4" centre to centre. (S.I.No:25, P-92) | 495 | -Sft: | 293.15 | P.Sft: | 145109
29 | Hard wood railing of any shape and design i/c bands and corners fixed in position i/c polishing complete as directed. (a) Shisham wood. (S.I.No.30(a) P-62) | 165 | -Rft: | 375.78 | P.Rft: | 62004
30 | Laying floor of approved white glazed tiles 1/4” thick in white cement 1:2 over 3/4” thick cement mortar 1:2 complete. (S.I.No:24, P-43) | 811 | -Sft: | 27678.86 | %-Sft: | 224476
31 | White glazed tiles 1/4” thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:37, P-45) | 1810 | -Sft: | 28253.61 | %-Sft: | 511390
32 | Supplying and fixing in position aluminum channel framming for hinged door or alcop made with 5 mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles and stoppers etc. (b) Deluxe model (Bronze) (S.I.No:83(b) P-108) | 68 | -Sft: | 1507.66 | P.Sft: | 102521
33 | Supplying and fixing in position aluminum channels framing for sliding windows and ventilators of Alcop made with 5 mm thick linted glass glazing (Belgium) and Aluminum fly screen i/c handles, stoppers & locking arrangement etc complete. (b) Deluxe model (Bronze) (S.I.No:84(b), P-108) | 481 | -Sft: | 1647.69 | P.Sft: | 792539
34 | Providing & fixing approved quality mortice lock. (S.I.No.21, P-60) | 8 | -Nos: | 1786.13 | Each. | 14289
35 | Jungle clearance and removing within 100-feet. (a) Light. (S.I.No:04(a) P-95) | 60000 | -Sft: | 75.63 | %-Sft: | 45378
36 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 6228 | -Sft: | 442.75 | %-Sft: | 27574
37 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 6228 | -Sft: | 1079.65 | %-Sft: | 67241
38 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete. (new surface) (03-coat) (S.I.No:36(c), P-55) | 18343 | -Sft: | 3444.38 | %-Sft: | 631803
39 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) | 2133 | -Sft: | 2116.41 | %-Sft: | 45143
40 | Preparing the surface and applying rock wall / shield (Natural wall texture) coating to provide durable crust to wall, thickness b/w 2 mm to 32 mm (1/8") with acrylic co-polymer emulsion, selected marble chips, adhesive and bactericdes, water resistance and fire and termite resistance (Upto 20'-0 height). (S.I.No:43, P-56) | 1304 | -Sft: | 4504.5 | %-Sft: | 58739
|  | T o t a l :- |  |  |  | 40001039
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-ii)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (i) Construction of Mosque.
Schedule-"B"
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount.
Part (A) Main Building.
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) | 1592 | -Cft: | 3176.25 | %0-Cft: | 5057
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) | 838 | -Cft: | 8694.95 | %-Cft: | 72864
3 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) | 1354 | -Cft: | 11948.36 | %-Cft: | 161781
4 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) | 995 | -Cft: | 337 | P-Cft: | 335315
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars.(S.I.No:08(b) P-16)
(a) | Tar Bar | 60 | -Cwt: | 5001.7 | P.Cwt: | 300102
(b) | Mild Steel | 40 | -Cwt: | 4820.2 | P.Cwt: | 192808
6 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) | 1061 | -Cft: | 1512.5 | %0-Cft: | 1605
7 | Filling, watering & ramming earth under floor with new earth (excavated from out side) lead upto one chain and lift upto 5 ft: (S.I.No:22, P-04) | 2561 | -Cft: | 3630 | %0-Cft: | 9296
8 | Extra lead for 06-miles. (S.I.No:01, P-01) (Schedule Carriage) | 1061 | -Cft: | 771.96 | %-Cft: | 8190
9 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) | 1423 | -Cft: | 12674.36 | %-Cft: | 180356
10 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) | 5527 | -Sft: | 2206.6 | %-Sft: | 121959
11 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) | 5527 | -Sft: | 2197.52 | %-Sft: | 121457
12 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (S.I.No:07(b) P-58) | 94 | -Sft: | 1273.76 | P.Sft: | 119733
13 | Supplying and fixing in position aluminum channel framming for hinged door or alcop made with 5 mm thick tinted glass glazing (Belgium) and alpha (Japan) locks i/c handles and stoppers etc. (b) Deluxe model (Bronze)(S.I.No:83(b) P-108) | 85 | -Sft: | 1507.66 | P.Sft: | 128151
14 | Supplying and fixing in position aluminum channels framing for sliding windows and ventilators of Alcop made with 5 mm thick linted glass glazing (Belgium) and Aluminum fly screen i/c handles, stoppers & locking arrangement etc complete. (b) Deluxe model (Bronze) (S.I.No:84(b), P-108) | 220 | -Sft: | 1647.69 | P.Sft: | 362492
15 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) | 190 | -Cft: | 14429.25 | %-Cft: | 27416
16 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortar 1:2. (S.I.No:25, P-43) | 790 | -Sft: | 27747.06 | %-Sft: | 219202
17 | Glazed tile dado 1/4” thick laid in cement pigment over 1:2 cement sand mortar 3/4” thick including finishing. (S.I.No:38, P-45) | 816 | -Sft: | 28299.3 | %-Sft: | 230922
18 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and cost of wax polish etc. complete i/c cutting tiles to proper profile. (SI.No:60, P-47) | 115 | -Sft: | 30509.77 | %-Sft: | 35086
19 | Laying white marble flooring fine dressed on the surface without winding set in lime mortar 1:2 i/c rubbing in polishing of joint. (a) 3/4" thick flooring. (S.I.No:28(a) P-43) | 150 | -Sft: | 567.48 | P.Sft: | 85122
20 | Khapriel of cement concrete 12” x 8” x 1” of approved design / shape laid flat in 1:2 grey cement mortar over a bed of 3/4” thick grey cement mortor 1:2. (S.I.No:39, P-38) | 23 | -Sft: | 8977.9 | %-Sft: | 2065
21 | P/F iron steel grill using solid square bars of size 1/2” x 1/2" placed at 4” c/c and frame of flat iron patti of 3/4” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3-coats with Ist: coat of red oxide paint etc. (S.I.No:30, P-94) | 110 | -Sft: | 194.16 | P.Sft: | 21358
22 | First class deodar wood wrought joinery work in wire guaze door and windows with 22 S.W.G. Galvanized wire guaze 144 mesh per square inch iron fittings complete. (a) 1-3/4" thick deodar wood framing i/c wire gauze with ordinary hinges. (S.I.No:14(a), P-59) | 51 | -Sft: | 454.19 | P.Sft: | 23164
23 | Applying chemical polishing on existing mosaic / marble flooring / dado i/c cleaning grinding with carborandum stone / sand paper and applying chemical polish as per requirment. (S.I.No:70, P-55) | 150 | -Sft: | 36.6 | P.Sft: | 5490
24 | P/F plaster of paris ceiling border of 8" - 10" with of specified design & thickness i/c fixing besides ceiling with nails / screws with jetties. (S.I.No:44, P-39) | 212 | -Rft: | 104.22 | P.Rft: | 22095
25 | Providing and Fixing plaster of paris center pieces of 2'-0 dia i/c fixing in ceiling with nails / screws.(S.I.No:45 P-38) | 10 | -Nos: | 346.5 | Each. | 3465
26 | French polishing complete (a) new work. (S.I.No:07(a) P-77) | 188 | -Sft: | 3841.75 | %-Sft: | 7222
27 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (b) 1-1/2” thick topping. (S.I.No:16(a), P-42) | 1392 | -Sft: | 2548.29 | %-Sft: | 35472
28 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) | 212 | -Sft: | 1887.4 | %-Sft: | 4001
29 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) | 34 | -Sft: | 2116.41 | %-Sft: | 720
30 | Primary coat of chalk under distemper. (S.I.No:23, P-54) | 790 | -Sft: | 442.75 | %-Sft: | 3498
31 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) | 790 | -Sft: | 1079.65 | %-Sft: | 8529
32 | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink / chalk / plaster of paris mixture, applying first coat. (new surface) (03-coat)(S.I.No:36(c), P-55) | 1136 | -Sft: | 3444.38 | %-Sft: | 39128
33 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting with waether coat 03-coats. (new surface) (S.I.No:38(c), P-56) | 3181 | -Sft: | 2567.95 | %-Sft: | 81686
34 | Painting new surface. (b) Preparing surface and painting sashes, fan light glazed or guazed doors any type 02-coats. (S.I.No:05(b) P-69) | 51 | -Sft: | 896.39 | %-Sft: | 457
35 | Pacca brick work other than building i/c skirting of joints upto 20’ height in (I-e) cement sand mortar ratio 1:6. (S.No:07(I-e) P-22) | 577 | -Cft: | 12346.65 | %-Cft: | 71240
36 | Providing and fixing deodar wooden wardrobe i/c boxing with back shelves, shutters drawers and brass fitting such as handles locking arrangement hanger rod shoe rod and mirror measuring 2' x 1’ complete as per approved design. (SI.No:24, P-61) | 24 | -Sft: | 2364.63 | P.Sft: | 56751
|  | T o t a l :- |  |  |  | 3105255
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-iii)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (i) Construction of All-Round Compound Wall And Garrage (6-Nos).
Schedule-"B"
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount.
Part (A) Garrage (06-Nos).
1 | Excavation in foundation of Building Bridges and other structure i/c dagbelling dressing, refilling around structure with excavated earth watering and remming lead upto 5 ft: (b) In ordinary soil. (S.I.No:18(b) P-04) |  | 2040 | -Cft: | 3176.25 | %0-Cft: | 6480
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) |  | 1234 | -Cft: | 8694.95 | %-Cft: | 107296
3 | Pacca brick work in foundation and plinth in (I-e) cement sand mortor 1:6 (S.I.No:04(I-e), P-20) |  | 1645 | -Cft: | 11948.36 | %-Cft: | 196551
4 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (i) Ratio 1:2:4 90 Lbs: cement 2-Cft: sand 4-Cft: shingle 1/8” to 1/4” guaze. (S.I.No:06, P-17) |  | 1258 | -Cft: | 337 | P-Cft: | 423946
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars.(S.I.No:08(b) P-16)
(a) | Tar Bar |  | 113 | -Cwt: | 5001.7 | P.Cwt: | 565192
(b) | Mild Steel |  | 75 | -Cwt: | 4820.2 | P.Cwt: | 361515
6 | Filling, watering and ramming earth in floors with surplus earth from foundation lead upto one chain and lift upto 5 ft: (S.I.No:21, P-04) |  | 1360 | -Cft: | 1512.5 | %0-Cft: | 2057
7 | Filling, watering & ramming earth under floor with new earth (excavated from out side) lead upto one chain and lift upto 5 ft: (S.I.No:22, P-04) |  | 3848 | -Cft: | 3630 | %0-Cft: | 13968
8 | Extra lead for 06-miles. (S.I.No:01, P-01) (Schedule Carriage) |  | 1360 | -Cft: | 771.96 | %-Cft: | 10499
9 | Pacca brick work in Ground floor in (I-e) cement sand mortor 1:6. (S.I.No:05(I-e) P-21) |  | 1970 | -Cft: | 12674.36 | %-Cft: | 249685
10 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) |  | 4892 | -Sft: | 2206.6 | %-Sft: | 107947
11 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) |  | 4892 | -Sft: | 2197.52 | %-Sft: | 107503
12 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) |  | 310 | -Cft: | 14429.25 | %-Cft: | 44731
13 | Colour cement tiles 8"x8"x3/4" of approved shade and pattern laid flat in 1:2 cement mortar over a bed 3/4" thick gret cement mortar of 1:2.(S.I.No:58, P-46) |  | 1826 | -Sft: | 10964.99 | %-Sft: | 200221
14 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels. (b) 1-1/2” thick topping. (S.I.No:16(a), P-42) |  | 1966 | -Sft: | 2548.29 | %-Sft: | 50099
15 | Two coats of bitumen laid hot using 34-Lbs: for %-Sft: over roof and blinded with sand at one Cft: per %-Sft: (S.I.No:13, P-35) |  | 1826 | -Sft: | 1887.4 | %-Sft: | 34464
16 | Primary coat of chalk under distemper. (S.I.No:23, P-54) |  | 6718 | -Sft: | 442.75 | %-Sft: | 29744
17 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) |  | 6718 | -Sft: | 1079.65 | %-Sft: | 72531
18 | P/F G.I. sheet rolling shutter using 2 gauge G.I. sheet for shutter, side iron channel of 12 gauge for rolling on 2" dia C.I. pipe i/c bracket of 20 gauge, springs of requisite size and rolling pulley, necessary hold fasts, nuts bolts, welding, greasing, all carraige, T&P required, for making and fixing in masonry bor. (S.I.No:33, P-94) |  | 792 | -Sft: | 264.96 | P-Sft: | 209848
19 | First class deodar wood wrought, joinery work in doors and windows etc, fixed in position i/c chowkits hold fasts hinges, iron towers bolts, chocks cleats, handles and cords with hooks, etc. Deodar panelled or panelled and glazed or fully glazed (b) 1-3/4” thick. (S.I.No:07(b) P-58) |  | 18 | -Sft: | 1273.76 | P.Sft: | 22928
20 | P/F iron steel grill using solid square bars of size 1/2” x 1/2" placed at 4” c/c and frame of flat iron patti of 3/4” x 3/4” i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3-coats with Ist: coat of red oxide paint etc. (S.I.No:30, P-94) |  | 18 | -Sft: | 194.16 | P.Sft: | 3495
21 | Painting new surface. (c) Preparing surface and painting doors and windows any type 03-coats. (S.I.No:05(c-iii) P-70) |  | 36 | -Sft: | 2116.41 | %-Sft: | 762
22 | Painting old surface. (d) Painting guard bars, gates iron bars gratings, railings i/c standard braces (etc) and similar open work any type 03-coats. (S.I.No:04(d) P-69) |  | 1584 | -Sft: | 976.58 | %-Sft: | 15469
|  |  | T o t a l :- |  |  |  | 2836931
Part (B) Al Round Compound Wall.
1 | Execvation and foundation of building bridges and other structure i/c dagbelling dressing and refilling around the structure with excavated earth watering and remming lead upto one chain and lift upto 5’ft(b) In ordinary soil. (S.I.No: 18(b) P-4) |  | 8056 | -Cft: | 3176.25 | %0-Cft: | 25588
2 | Cement concrete brick or stone ballast 1-1/2” thick to 2” gauze ratio 1:5:10. (S.I.No:04(c) P-15) |  | 2188 | -Cft: | 8694.95 | %-Cft: | 190246
3 | Pacca brick work in foundation and plinth in cement sand mortor 1:6 (S.I.NO;4 P-24) |  | 2535 | -Cft: | 11948.36 | %-Cft: | 302891
4 | R.C.C work including all labour and material except the cost of steel reinforcement for bending and binding which will be paid separately. this rate also includes all kinds of forms mould lifting shuttering curing and washing of shingle(A) R.C work including roofslab, beams colums ,rafts lintels and other structure member laid (SI.No: 6, P-15) |  | 2748 | -Cft: | 337 | P-Cft: | 926076
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending laying in position making joints and festeining including cost of binding wire (also includes removal rust from bars) (a) Tor bars. (S.I.No:08(b) P-16)
(a) | Tar Bar |  | 109.92 | -Cwt: | 5001.7 | P.Cwt: | 549787
(b) | Mild Steel |  | 54.96 | -Cwt: | 4820.2 | P.Cwt: | 264918
6 | Pacca brick work other than building i/c skirting of joints upto 20’ height in (I-e) cement sand mortar ratio 1:6. (S.No:07(I-e) P-22) |  | 4500 | -Cft: | 12346.65 | %-Cft: | 555599
7 | Cement plaster 1:6 upto 20" height (b) 1/2" thick. (S.I.No:13(b) P-52) |  | 19500 | -Sft: | 2206.6 | %-Sft: | 430287
8 | Cement plaster 1:4 upto 20" height (a) 3/8" thick. (S.I.No:11(a) P-52) |  | 19500 | -Sft: | 2197.52 | %-Sft: | 428516
9 | Cement concrete plain including placing compacting, finishing and curing, complete i/c screening and washing stone aggregate without shuttering. (f) Ratio 1:2:4. (S.I.No:05(f), P-16) |  | 185 | -Cft: | 14429.25 | %-Cft: | 26694
10 | Making and fixing steel grated doors with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No:24, P-92) |  | 180 | -Sft: | 726.72 | P.Sft: | 130810
11 | P/L tiles glazed 6” x 6” x 1/4” on floor or wall facing in required coloured and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortor 3/4” thick (SI.No:60, P-47) |  | 1020 | -Sft: | 30509.77 | %-Sft: | 311200
12 | Coloured cement tiles (Pattern 8"x8"x3/4" of approved shade and pattern laid flat in 1:2 grey cement mortor over a bed of 3/4 thick grey mortor 1:2. (S.I.No:58, P-46) |  | 560 | -Cft: | 10962.34 | %-Cft: | 61389
13 | Primary coat of chalk under distemper. (S.I.No:23, P-58) |  | 19500 | -Sft: | 442.75 | %-Sft: | 86336
14 | Distempering on walls 03-coats. (S.I.No:24(c) P-54) |  | 19500 | -Sft: | 1079.65 | %-Sft: | 210532
15 | Painting new surface. (b) Preparing surface and painting sashes, fan light glazed or guazed doors and type (i/c edges) any type 03-coats. (S.I.No:05(b) P-69) |  | 360 | -Sft: | 1270.83 | %-Sft: | 4575
|  | 311200 | T o t a l :- |  |  |  | 4505444
N O T E :-
1) | Only hill sand will be used.
2) | Premium on non schedule item will not be allowed.
3) | Cartage of any item either supplied y the Department if the contractor will be not allowed.
4) | Water arrangement will be made by the contractor at his own risk and cost.
5) | Income tax at 7.50% will be deducted from each bill of the contractor as per out standing orders.
6) | The Material used in the work or finished project can be got tested from any approved lab: as the direction by Engineer In charge or his representative and all the expenses in this connection with such testing shall be borne by the contractor executively.
Contractor
Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-iv)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I Work of Main Building)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 400 | -Nos: | 1130 | P.Point. | 452000 | 452000
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 80 | -Nos: | 985 | P.Point. | 78800 | 78800
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) | 6 | -Nos: | 1764 | P.Point. | 10584 | 10584
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 1500 | -Met: | 222 | P.Met: | 333000 | 333000
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 700 | -Met: | 341 | P.Met: | 238700 | 238700
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.064 (16 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.14, P-02) | 300 | -Met: | 641 | P.Met: | 192300 | 192300
7 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) | 105 | -Rft: | 4722 | P.Rft: | 495810 | 495810
8 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) | 1 | -No: | 69014 | P.No: | 69014 | 69014
9 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 40 | -Nos: | 916 | P.No: | 36640 | 36640
10 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 10 | -No: | 2456 | P.No: | 24560 | 24560
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) | 10 | -Nos: | 9261 | P.No: | 92610 | 92610
12 | P/F circuit breaker 400 amp T.P. setting 250-400 amp (XS-400CJ) on prepared board as required. (S.I.No.210, P-31) | 2 | -No: | 39401 | P.No: | 78802 | 78802
13 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 80 | -Nos: | 72 | Each. | 5760 | 5760
14 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 320 | -Nos: | 70 | P.No: | 22400 | 22400
15 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) | 8 | -Nos: | 1054 | P.No: | 8432 | 8432
16 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 8 | -Nos: | 999 | P.No: | 7992 | 7992
17 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 10 | -No: | 6365 | Each. | 63650 | 63650
|  | T o t a l :- |  |  |  | 2211054 | 2211054
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 300 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 80 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 80 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 80 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 70 | -Nos: |  | Each. | 0
6 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. | 2 | -No: |  | Each. | 0
7 | P/F bus bar four pole 200 to 250 amps with copper 4 strips insulator brass mut & bolt complete with energization. | 1 | -No: |  | Each. | 0
8 | S/F fancy capsol light with plastic body complete with holder etc as required. | 20 | -Nos: |  | Each. | 0
9 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. | 20 | Sft |  | P-Sft | 0
10 | P/F A.C. or D.C. Electric bell 200 / 250 volts. | 8 | -Nos: |  | Each. | 0
11 | S/F exhaust fan plastic body 12" complete with connection Pak, G.F.C. Royal as per required. | 10 | -Nos: |  | Each. | 0
12 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) | 2 | -No: |  | Each. | 0
13 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 20 | -No: |  | Each. | 0
14 | S/F mix metallic switch socket & bell push etc as required. | 479 | -Nos: |  | Each. | 0
15 | P/F fancy down light with necessary connection etc complete as required. | 10 | -Nos: |  | Each. | 0
16 | P/F flash type light flash type dimmer imported quality. | 80 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-v)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I work of Mosque)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 30 | -Nos: | 1130 | P.Point. | 33900 | 33900
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 5 | -Nos: | 985 | P.Point. | 4925 | 4925
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 61 | -Met: | 222 | P.Met: | 13542 | 13542
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 45 | -Met: | 341 | P.Met: | 15345 | 15345
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 5 | -Nos: | 916 | P.No: | 4580 | 4580
6 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 1 | -No: | 2456 | P.No: | 2456 | 2456
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 6 | -Nos: | 72 | Each. | 432 | 432
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 25 | -Nos: | 70 | P.No: | 1750 | 1750
9 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) | 1 | -Nos: | 1054 | P.No: | 1054 | 1054
10 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 1 | -Nos: | 999 | P.No: | 999 | 999
11 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 1 | -No: | 6365 | Each. | 6365 | 6365
|  | T o t a l :- |  |  |  | 85348 | 85348
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 20 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 5 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 5 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 5 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 5 | -Nos: |  | Each. | 0
6 | S/F fancy capsol light with plastic body complete with holder etc as required. | 3 | -Nos: |  | Each. | 0
7 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 1 | -Nos: |  | Each. | 0
8 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 3 | -No: |  | Each. | 0
9 | S/F mix metallic switch socket & bell push etc as required. | 35 | -Nos: |  | Each. | 0
10 | P/F flash type light flash type dimmer imported quality. | 5 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch-B (1-vi)
Construction of Office Complex at Taluka Shujabad District Mirpurkhas. (Providing E.I work of Garrage. (06-Nos)
Schedule "B".
Sr. No: | Items of Work. | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) | 50 | -Nos: | 1130 | P.Point. | 56500 | 56500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) | 6 | -Nos: | 985 | P.Point. | 5910 | 5910
3 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) | 92 | -Met: | 222 | P.Met: | 20424 | 20424
4 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) | 112 | -Met: | 341 | P.Met: | 38192 | 38192
5 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) | 6 | -Nos: | 916 | P.No: | 5496 | 5496
6 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) | 6 | -No: | 2456 | P.No: | 14736 | 14736
7 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) | 12 | -Nos: | 72 | Each. | 864 | 864
8 | Providnig & fixing brass button holder. (S.I.No.232, P-33) | 35 | -Nos: | 70 | P.No: | 2450 | 2450
9 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) | 6 | -Nos: | 999 | P.No: | 5994 | 5994
10 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No.159 P-25) | 2 | -No: | 6365 | Each. | 12730 | 12730
|  | T o t a l :- |  |  |  | 163296 | 163296
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. | 32 | -Nos: |  | Each. | 0
2 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. | 6 | -No: |  | Each. | 0
3 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. | 4 | -No: |  | Each. | 0
4 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan | 6 | -Nos: |  | Each. | 0
5 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. | 6 | -Nos: |  | Each. | 0
6 | S/F fancy capsol light with plastic body complete with holder etc as required. | 6 | -Nos: |  | Each. | 0
7 | P/F Main Panal Board Double Shutter Accordable Heavy duty Circuit bracket Bas bar i/c painting with Embaled painting for other simple has on surface. | 6 | -Nos: |  | Each. | 0
8 | P/F Universal 15 amps fixed on a board and nesessary connection as required. | 6 | -No: |  | Each. | 0
9 | S/F mix metallic switch socket & bell push etc as required. | 55 | -Nos: |  | Each. | 0
10 | P/F flash type light flash type dimmer imported quality. | 6 | -Nos: |  | Each. | 0
|  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  |  | Executive Engineer Buildings Division Mirpurkhas

## Sch.B (2-i)
Up-Gradation R.H.C to the Level of T.H.Q Hospital Mirwah District Mirpurkhas. (i) Providing E.I Work of Main Building) (E.I. Work)
Schedule "B".
Sr. No: | Items of Work. |  | Qty: |  | Rate. | Unit. | Amount. | Amount.
Part (A) Electric Schedule Items.
1 | Wiring for light or fan point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:124, P-15) |  | 250 | -Nos: | 1130 | P.Point. | 282500 | 282500
2 | Wiring for plug point with (3/.029) PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No:126, P-15) |  | 49 | -Nos: | 985 | P.Point. | 48265 | 48265
3 | Wiring for call bell point with 3/.029 PVC insulated wire in 20 mm (3/4") PVC conduit recessed in the wall or column as required. (S.I.No.128, P-15) |  | 4 | -Nos: | 1764 | P.Point. | 7056 | 7056
4 | Providing & laying (Main or Sub Main) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit recessed in wall or column as required. (S.I.No:10, P-02) |  | 1000 | -Met: | 222 | P.Met: | 222000 | 222000
5 | P/L (Main or Sub Main) PVC insulated with size 2-7/.044 (6 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.12, P-02) |  | 500 | -Met: | 341 | P.Met: | 170500 | 170500
6 | P/L (Main or Sub Main) PVC insulated with size 2-7/.064 (16 mm 2) copper conductor in 3/4" dia PVC conduit recessed in the wall or column as requried. (S.I.No.14, P-02) |  | 250 | -Met: | 641 | P.Met: | 160250 | 160250
7 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor 600/1000 volts size 70 mm 2. (S.I.No.106, P-12) |  | 110 | -Rft: | 4722 | P.Rft: | 519420 | 519420
8 | Providnig & fixing DP i/c change over switch 500 volts 600 amp on a prepared board. (S.I.No.202, P-30) |  | 1 | -No: | 69014 | P.No: | 69014 | 69014
9 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp SP (TB-5S) on prepared board as required. (S.I.No.203, P-31) |  | 40 | -Nos: | 916 | P.No: | 36640 | 36640
10 | P/F circuit breaker 6, 10, 15, 20, 30, 40, 50 & 63 amp DP (TB-5S) on prepared board as required. (S.I.No.204, P-31) |  | 10 | -No: | 2456 | P.No: | 24560 | 24560
11 | P/F circuit breaker 15, 20 30, 40, 50, 60, 75 & 100 amp TP (XS-100NS) on prepared board as required. (S.I.No.207, P-31) |  | 8 | -Nos: | 9261 | P.No: | 74088 | 74088
12 | P/F circuit breaker 400 amp T.P. setting 250-400 amp (XS-400CJ) on prepared board as required. (S.I.No.210, P-31) |  | 2 | -No: | 39401 | P.No: | 78802 | 78802
13 | Providing & fixing bakelite ceiling rose with two terminals. (S.I.No.228, P-33) |  | 45 | -Nos: | 72 | Each. | 3240 | 3240
14 | Providnig & fixing brass button holder. (S.I.No.232, P-33) |  | 174 | -Nos: | 70 | P.No: | 12180 | 12180
15 | P/F Amp: meter size 96/96 mm Direct 15A, 30A, 50A, 60A & 100A as required & as per instruction of Engineer Incharge. (S.I.No.284, P-41) |  | 8 | -Nos: | 1054 | P.No: | 8432 | 8432
16 | P/F Volt meter size 96/96 mm 500 volt as required & as per instruction of Engineer Incharge. (S.I.No.285, P-41) |  | 8 | -Nos: | 999 | P.No: | 7992 | 7992
17 | P/F of street light watts (HPMV) having LP54 classification with watt lamp, choke, capister & Internal wiring complete in all respect at the height upto 31 ft as per site requirement and installation of EI make of the above light in as follow. EI.(S.I.No |  | 6 | -No: | 6365 | Each. | 38190 | 38190
|  |  | T o t a l :- |  |  |  | 1763129 | 1763129
Part (B) Electric Non - Schedule Items.
1 | P/F Energy Saver 24 volt superior quality i/c fixing on existing holder etc complete. |  | 174 | -Nos: |  | Each. | 0
3 | Erection of Ceiling fan i/c wiring of down rod with 1/1.13 mm (3/.029) PVC wire fixing of regulators blade canopy etc as required. |  | 45 | -No: |  | Each. | 0
4 | P/F mild steel bar fan clamp 15.8 mm (5/8") dia suitable for R.C.C. roof. |  | 45 | -No: |  | Each. | 0
5 | S/F A.C. ceiling fan 56" sewp ceiling fan complete with rod falde canopy etc required Pak, Milat Fan |  | 45 | -Nos: |  | Each. | 0
6 | S/F mix metallic sheet 2.4.6.8 hole i/c frame and PVC board clip switch etc as required. |  | 60 | -Nos: |  | Each. | 0
7 | Excavation for earthing set with copper plat 1x1 & copper conductor 8 S.W.G. in G.I. pipe 1/2 dia jointed with plate i/c koala, salt & refilling the same. |  | 2 | -No: |  | Each. | 0
8 | P/F bus bar four pole 200 to 250 amps with copper 4 strips insulator brass mut & bolt complete with energization. |  | 1 | -No: |  | Each. | 0
9 | S/F fancy capsol light with plastic body complete with holder etc as required. |  | 20 | -Nos: |  | Each. | 0
10 | P/F main pannel board double shutter to accommodate heavy duty circuit breaker, bus bars i/c painting with enemelled paint, for other similar jobs on surface. |  | 20 | Sft |  | P-Sft | 0
11 | P/F A.C. or D.C. Electric bell 200 / 250 volts. |  | 4 | -Nos: |  | Each. | 0
12 | S/F exhaust fan plastic body 12" complete with connection Pak, G.F.C. Royal as per required. |  | 5 | -Nos: |  | Each. | 0
13 | P/F SNF (HPIT) fuxture (Philips) type complete, with sun lamp bolts ingnitor chowk dapacitor futher more 99% pure aluminum used for reflector & tempered glass with heat resistant gas kit ensuring 400 watt lights required (Philips or German made Parts) |  | 2 | -No: |  | Each. | 0
14 | P/F Universal 15 amps fixed on a board and nesessary connection as required. |  | 20 | -No: |  | Each. | 0
15 | S/F mix metallic switch socket & bell push etc as required. |  | 300 | -Nos: |  | Each. | 0
16 | P/F flash type light flash type dimmer imported quality. |  | 45 | -Nos: |  | Each. | 0
|  |  | G. T o t a l :- |  |  |  | 0
N O T E :-
1) | Premium on non schedule items will no be allowed.
2) | Carriage of any items either supplied by the contractors of Department will not be allowed.
3) | Income tax at 7.50 % will be deducted from each bill of the contractor as per out standing orders.
Contractor |  | Assistant Engineer Electrical Sub-Division Mirpurkhas |  | Executive Engineer Buildings Division Mirpurkhas